中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L3584）

名称: 江苏添福产品服务有限公司广州分公司

地址：广东省广州市黄埔大道西平云路163号通讯大楼5楼

签发日期：2011年08月31日        有效期至：2014年08月30日

更新日期：2011年08月31日

认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 领域 代码 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 1 | 计算机 | 1 | 性能测试 | 0509 | EPRI交流-直流和直流-直流内部电源能效计算通用测试方法 版本6.4.2 |  |  |
|  |  |  |  | 0509 | 单路输出交流-直流和交流-交流外部电源能效测试方法 2004-8-11 |  |  |
|  |  |  |  | 0509 | IEC62301:2005( Ed 1.0) 家用电器-待机功耗测试 |  |  |
|  |  |  |  | 0509 | 能源之星计算机测试方法，能源之星对计算机的项目要求，版本5.2，第22页 |  |  |
| 2 | 显示器 | 1 | 性能测试 | 0438 | VESA平板显示器测量标准，版本2.0 |  |  |
| 2 | 显示器 | 1 | 性能测试 | 0438 | IEC62301:2005( Ed 1.0) 家用电器-待机功耗测试 |  |  |
|  |  |  |  | 0438 | IEC62087 :2008(Ed 2.0): 音视频设备和相关设备的功耗测试方法 |  |  |
|  |  |  |  | 0438 | 能源之星显示器测试方法，能源之星对显示器的项目要求，版本5.1,第11页 |  |  |
| 3 | 电视机 | 1 | 性能测试 | 0438 | IEC62301:2005( Ed 1.0) 家用电器-待机功耗测试 |  |  |
|  |  |  |  | 0438 | IEC62087 :2008(Ed 2.0): 音视频设备和相关设备的功耗测试方法 |  |  |
|  |  |  |  | 0438 | ANSI/CEA-2037 关于电视机平均能效的判定（2009年12月） |  |  |
|  |  |  |  | 0438 | CEA：DAM测试程序 |  |  |
|  |  |  |  | 0438 | 能源之星电视机测试方法，能源之星对电视机的项目要求，2010年8月修改版 |  |  |
| 4 | 音视频产品 | 1 | 性能测试 | 0508 | 能源之星音视频产品测试方法，能源之星对音视频产品的项目要求，2010年8月修改版 |  |  |
| 5 | 住宅用冷藏箱和冷藏冷冻箱 | 1 | 性能测试 | 0507 | 10 CFR 430，子部分B， 附录A1（美国联邦法规 ） |  |  |
|  |  |  |  |  | 能源之星对住宅用冷藏箱和冷冻箱的项目要求，版本4.1 |  |  |
| 6 | 住宅用冷冻箱 | 1 | 性能测试 | 0507 | 10 CFR 430，子部分B， 附录B1（美国联邦法规 ） |  |  |
|  |  |  |  |  | 能源之星对住宅用冷藏箱和冷冻箱的项目要求，版本4.1 |  |  |
| 7 | 冷水机 | 1 | 性能测试 | 0507 | 能源之星冷水机测试方法，2010年10月 |  |  |
|  |  |  |  |  | 能源之星对冷水机的程序要求，版本1.3 |  |  |
| 8 | 商用冰箱及冷柜 | 1 | 性能测试 | 0507 | ANSI/ASHRAE 72-2005商用冰箱及冷柜测试方法 |  |  |
|  |  |  |  |  | 能源之星对商用冷藏箱和冷冻柜的程序要求，版本2.1 |  |  |
| 9 | 中央空调及空气源热泵 | 1 | 性能测试 | 0507 | ANSI/AHRI 210/240-2008 单元式空调以及空气源热泵设备的性能等级 |  |  |
|  |  |  |  |  | AHRI 210/240-1994 单元式空调以及空气源热泵设备的性能等级 |  |  |
|  |  |  |  |  | 能源之星对空气源型热泵和中央空调器的程序要求，版本4.1 |  |  |
| 10 | 除湿机 | 1 | 性能测试 | 0507 | CAN/CSA-C749-94(Reaffirmed 2000), 除湿机性能 |  |  |
|  |  |  |  |  | 能源之星对除湿机的程序要求，版本2.1 |  |  |
| 11 | 热水器 | 1 | 性能测试 | 0507 | 10 CFR 430，子部分B， 附录E（美国联邦法规 ） | 只测:热泵型热水器 |  |
|  |  |  |  |  | 能源之星对住宅用热水器的程序要求，版本1.1 |  |  |
| 12 | 轻型商用HVAC | 1 | 性能测试 | 0507 | ANSI/AHRI 210/240-2008, 单元式空调和空气源热泵设备的性能等级 | 只测: HVAC <65,000 Btu/h |  |
|  |  |  |  |  | 能源之星对轻型商用HVAC的程序要求，版本2.2 |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L3584)

NAME: Jiangsu TüV Product Service Ltd. Guangzhou Branch

ADDRESS: 5/F., Communication Building, No.163, Pingyun Road, West of Huangpu Avenue, Guangzhou, Guangdong, China

Date of Issue: 2011-08-31                    Date of Expiry: 2014-08-30

Date of Update：2011-08-31

SCOPE OF ACCREDITED ENERGY STAR TESTING

| № | Test Object | Item/Parameter | Code of Field | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |  |
| 1 | computer | 1 | performance | 0509 | EPRI Generalized Test Protocol for Calculating the Energy Efficiency of Internal Ac-Dc and Dc-Dc Power Supplies Version 6.4.2 |  |  |
|  |  |  |  | 0509 | Test Method for Calculating the Energy Efficiency of Single-Voltage External Ac-Dc and Ac-Ac Power Supplies, Aug. 11, 2004 |  |  |
| 1 | computer | 1 | performance | 0509 | IEC 62301:2005(Ed 1.0) Household Electrical Appliances - Measurement of Standby Power |  |  |
|  |  |  |  | 0509 | ENERGY STAR Computer Test Method, ENERGY STAR Program Requirements Product Specification for Computers, Version 5.2, page 22 |  |  |
| 2 | display | 1 | performance | 0438 | VESA FPDM Standard 2.0 |  |  |
|  |  |  |  | 0438 | IEC 62301:2005(Ed 1.0): Household Electrical Appliances – Measurement of Standby Power |  |  |
|  |  |  |  | 0438 | IEC 62087:2008(Ed 2.0): Methods of Measurement for the Power Consumption of Audio, Video and Related Equipment |  |  |
| 2 | display | 1 | performance | 0438 | ENERGY STAR Test Method for Displays, ENERGY STAR Program Requirements Product Specification for Displays, Version 5.1, page 11 |  |  |
| 3 | television | 1 | performance | 0438 | IEC 62301:2005(Ed 1.0): Household electrical appliances – measurement of standby power |  |  |
|  |  |  |  | 0438 | IEC 62087:2008(Ed 2.0): Methods of Measurement for the Power Consumption of Audio, Video and Related Equipment |  |  |
|  |  |  |  | 0438 | ANSI/CEA-2037: Determination of Television Average Power Consumption (December 2009) |  |  |
|  |  |  |  | 0438 | CEA: Procedure for DAM Testing |  |  |
| 3 | television | 1 | performance | 0438 | ENERGY STAR Test Method for Televisions, ENERGY STAR Program Requirements for Televisions, Rev. Aug-2010 |  |  |
| 4 | audio/video products | 1 | performance | 0508 | ENERGY STAR Test Method for Audio/Video, ENERGY STAR Program Requirements Product Specification for Audio/Video, Rev. Aug-2010 |  |  |
| 5 | Residential Refrigerators | 1 | performance | 0507 | 10 CFR 430, Subpart B, Appendix A1 (Electronic Code of Federal Regulations) |  |  |
|  |  |  |  |  | ENERGY STAR Program Requirements for Residential Refrigerators and Freezers,Version 4.1 |  |  |
| 6 | Residential Freezers | 1 | performance | 0507 | 10 CFR 430, Subpart B, Appendix B1 (Electronic Code of Federal Regulations) |  |  |
|  |  |  |  |  | ENERGY STAR Program Requirements for Residential Refrigerators and Freezers,Version 4.1 |  |  |
| 7 | Water Coolers | 1 | performance | 0507 | ENERGY STAR Test Method for Water Coolers, October 2010. |  |  |
|  |  |  |  |  | ENERGY STAR Program Requirements Product Specification for Water Coolers, Version 1.3 |  |  |
| 8 | Commercial Refrigerators & Freezers | 1 | performance | 0507 | ANSI/ASHRAE Standard 72-2005, Method of Testing Commercial Refrigerators and Freezers |  |  |
|  |  |  |  |  | ENERGY STAR Program Requirements for Commercial Refrigerators and Freezers,Version 2.1 |  |  |
| 9 | Central ACs and Air-Source Heat Pumps | 1 | performance | 0507 | ANSI/AHRI 210/240-2008, Performance Rating of Unitary Air-Conditioning & Air-Source Heat Pump Equipment |  |  |
|  |  |  |  |  | AHRI 210/240-1994 “Performance Rating of Unitary Air-Conditioning & Air-Source Heat Pump Equipment” |  |  |
|  |  |  |  |  | ENERGY STAR Program Requirements Product Specification for Air Source Heat Pump and Central Air Conditioner Equipment,Version 4.1 |  |  |
| 10 | Dehumidifiers | 1 | performance | 0507 | CAN/CSA-C749-94(Reaffirmed 2000), Performance of Dehumidifiers |  |  |
|  |  |  |  |  | ENERGY STAR Program Requirements Product Specification for Dehumidifiers，Version 2.1 |  |  |
| 11 | Water Heaters | 1 | performance | 0507 | 10 CFR 430, Subpart B, Appendix E (Electronic Code of Federal Regulations) | Accredited only for: Heat Pump Type Units Units |  |
|  |  |  |  |  | ENERGY STAR Program Requirements Product Specification for Residential Water Heaters,Version 1.1 |  |  |
| 12 | Light Commercial HVAC | 1 | performance | 0507 | ANSI/AHRI 210/240-2008, Performance Rating of Unitary Air-Conditioning & Air-Source Heat Pump Equipment | Accredited only for: HVAC <65,000 Btu/h |  |
|  |  |  |  |  | ENERGY STAR Program Requirements Product Specification for Light Commercial HVAC, Version 2.2 |  |  |