中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L1659）

名称: 中检集团南方电子产品测试（深圳）有限公司

地址：广东省深圳市南山区西丽街道西丽工业区石鼓东28、29栋

认可依据：ISO/IEC 17025:2005、EPA能源之星以及CNAS特定认可要求

签发日期：2012年09月29日         有效期至：2015年09月28日

更新日期：2012年09月29日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 领域 代码 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 1 | 电视机 | 1 | 全项目 | 04 | 能源之星电视机测试方法，能源之星对电视机的项目要求，版本5.3 2010 |  |  |
|  |  | 2 | 功耗 | 04 | 音视频设备和相关设备的功耗测试方法 IEC 62087:2008 |  |  |
|  |  | 3 | 平均功耗 | 04 | 电视机平均功耗的检测 CEA-2037 (2009.12) |  |  |
|  |  | 4 | 待机功耗 | 04 | 家用电器的待机功耗测量 IEC 62301:2005 |  |  |
| 1 | 电视机 | 5 | DAM状态能耗 | 04 | CEA DAM测试流程：电视机 修订版 0.3 2010.9.8 |  |  |
| 2 | 音视频产品 | 1 | 能效 | 04 | 能源之星音视频产品测试方法，能源之星对音视频产品的项目要求，版本2.1 2010.8. |  |  |
| 3 | 机顶盒 | 1 | 能效 | 04 | 能源之星机顶盒产品测试方法，能源之星对机顶盒的项目要求，版本3.0 2011.8. |  |  |
| 4 | 电话通讯设备 | 1 | 能效 | 04 | 能源之星电话机产品测试方法，能源之星对电话机的项目要求 版本2.2 2010.8. |  |  |
| 5 | 计算机 | 1 | 全项目 | 04 | 能源之星计算机测试方法，能源之星项目要求，版本5.2 2010.8. |  |  |
|  |  | 2 | 能效 | 04 | EPRI 能源效率通用测试准则 AC-DC及DC-DC内置电源 6.4.3版 2009 |  |  |
|  |  | 3 | 待机功耗 | 04 | 家用电器的待机功耗测量 IEC 62301:2005 |  |  |
|  |  | 4 | 能效 | 04 | 单路输出交流-直流和交流-交流外部电源能效测试方法 2004-8-11 |  |  |
| 6 | 计算机显示器 | 1 | 全项目 | 04 | 能源之星显示器测试方法，能源之星项目要求，显示器产品规范，版本5.1 2010.8. |  |  |
|  |  | 2 | 图像设置 | 04 | VESA平板显示器测量标准，版本2.0 |  |  |
|  |  | 3 | 能效 | 04 | EPRI 能源效率通用测试准则 AC-DC及DC-DC内置电源 6.4.3版 2009 |  |  |
|  |  | 4 | 待机功耗 | 04 | 家用电器的待机功耗测量 IEC 62301:2005 |  |  |
|  |  | 5 | 能效 | 04 | 单路输出交流-直流和交流-交流外部电源能效测试方法 2004-8-11 |  |  |
|  |  | 6 | 功耗 | 04 | 音视频设备和相关设备的功耗测试方法 IEC 62087 :2008 |  |  |
| 7 | 成像设备 | 1 | 全项目 | 04 | 能源之星成像设备测试方法, 能源之星项目要求，版本1.2 2010.12. |  |  |
|  |  | 2 | 能效 | 04 | EPRI 能源效率通用测试准则 AC-DC及DC-DC内置电源 6.4.3版 2009 |  |  |
|  |  | 3 | 能效 | 04 | 单路输出交流-直流和交流-交流外部电源能效测试方法 2004-8-11 |  |  |
|  |  | 4 | 待机功耗 | 04 | 家用电器的待机功耗测量 IEC 62301:2005 |  |  |
| 8 | 计算机服务器 | 1 | 全项目 | 04 | 能源之星计算机服务器项目要求 评判标准 能源之星计算机服务器项目要求 测试方法，版本1.1 2010.8. |  |  |
|  |  | 2 | 能效 | 04 | EPRI 能源效率通用测试准则 AC-DC及DC-DC内置电源 6.4.3版 2009 |  |  |
|  |  | 3 | 能效 | 04 | 单路输出交流-直流和交流-交流外部电源能效测试方法 2004-8-11 |  |  |
|  |  | 4 | 待机功耗 | 04 | 家用电器的待机功耗测量 IEC 62301:2005 |  |  |
| 9 | 灯具 | 1 | 部分项目 | 04 | 能源之星对灯具的项目要求 合格评定标准，版本1.1 2011 | 只测：荧光灯及固态照明 |  |
|  |  | 2 | 性能测试 | 0438 | 自镇流紧凑型荧光灯的性能规格 ANSI C78.5-2003 |  |  |
|  |  | 3 | 性能测试 | 0438 | 日光灯镇流器测量 ANSI C82.2-2002 |  |  |
|  |  | 4 | 性能测试 | 0438 | 光源显色性测量 Pub.No. 13.3-1995 |  |  |
|  |  | 5 | 性能测试 | 0438 | 比色法 Pub.No.15.2004 |  |  |
|  |  | 6 | 性能测试 | 0438 | IESNA LM-9-09 荧光灯管的电性能及光性能测量 |  |  |
|  |  | 7 | 性能测试 | 0438 | LM-40-01荧光灯管寿命测试 |  |  |
|  |  | 8 | 性能测试 | 0438 | IES LM-65-01 自镇流荧光灯寿命测试 |  |  |
| 9 | 灯具 | 9 | 性能测试 | 0438 | IESNA LM-66-00 单端自镇流荧光灯电性能及光性能测量 |  |  |
|  |  | 10 | 性能测试 | 0438 | LM-10-11 室外荧光灯光性能测量 |  |  |
|  |  | 11 | 性能测试 | 0438 | LM-41-11 室内荧光灯光性能测量 |  |  |
|  |  | 12 | 性能测试 | 0438 | LM-79-08 固态照明产品的电性能及光性能测量方法 |  |  |
|  |  | 13 | 性能测试 | 0438 | LM-58-11 分布光度计测量方法 |  |  |
|  |  | 14 | 性能测试 | 0438 | 谐波限值-灯具的功率质量要求 ANSI C82.77-2002 |  |  |
|  |  | 16 | 性能测试 | 0438 | LM-82-11 LED灯具电源及整体式LED灯的电性能及光性能 |  |  |
| 10 | 紧凑型荧光灯 | 1 | 全项目 | 04 | 能源之星对紧凑型荧光灯的项目要求，版本4.3 2010 |  |  |
|  |  | 2 | 快速循环测试 | 0438 | IES LM-65-01自镇流荧光灯寿命测试 |  |  |
|  |  | 3 | 性能测试 | 0438 | IESNA LM-66-00单端自镇流荧光灯电性能及光性能测量 |  |  |
|  |  | 4 | 性能测试 | 0438 | ANSI C78.5-2003自镇流紧凑型荧光灯的性能规格 |  |  |
| 10 | 紧凑型荧光灯 | 5 | 性能测试 | 0438 | Pub.No. 13.3-1995 光源显色性测量 |  |  |
|  |  | 6 | 性能测试 | 0438 | IESNA LM-9-09 荧光灯管的电性能及光性能测量 |  |  |
| 11 | 不间断电源设备（UPS） | 1 | 全项目 | 0438 | 能源之星对不间断电源的项目要求 版本1.0 2012 |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L1659)

NAME:CCIC Southern Electronic Product Testing (Shenzhen) Co., Ltd.

ADDRESS:Building 28/29, Shigudong, Xili Industrial Area, Xili Street, Nanshan District, Shenzhen, Guangdong, China

Accreditation Criteria:ISO/IEC 17025:2005 , requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2012-09-29                      Date of Expiry:2015-09-28

# Date of Update：2012-09-29

APPENDIX 4   ACCREDITED ENERGY STAR TESTING

| № | Test Object | Item/Parameter | Code of Field | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |  |
| 1 | Television | 1 | All items | 1206 | Energy Star Test Method for Televisions, Energy Star Program Requirements for Televisions, Version5.3 2010 |  |  |
|  |  | 2 | Signal setting | 04 | Methods of Measurement for the Power Consumption of Audio, Video and Related Equipment IEC 62087:2008 |  |  |
| 1 | Television | 3 | Average Power | 04 | CEA-2037: Determination of Television Average Power Consumption of Audio, Video and Related Equipment December 2009 |  |  |
|  |  | 4 | Standby power | 04 | Household electrical appliances – measurement of standby power IEC 62301:2005 |  |  |
|  |  | 5 | DAM stiutaiton | 04 | CEA: Procedure for DAM Testing Rev. 0.3 2010.9.8 |  |  |
| 2 | Audio /Video | 1 | Energy Efficiency | 04 | ENERGY STAR Program Requirements Product Specification for Audio/Video Version 2.1 2010.8. |  |  |
| 3 | Set-top Boxes | 1 | Energy Efficiency | 04 | ENERGY STAR Program Requirements for Set-top Boxes Version 3.0 2011.8. |  |  |
| 4 | Telephony | 1 | Energy Efficiency | 04 | ENERGY STAR Program Requirements Product Specification for Telephony Version2.2 2010.8. |  |  |
| 5 | Computer | 1 | All items | 04 | Energy Star Computer Test Method, Energy Star Program Requirements, Version 5.2 2010.8. |  |  |
|  |  | 2 | Energy Efficiency | 04 | EPRI Generalized Test Protocol for Calculating the Energy Efficiency of Internal Ac-Dc and Dc-Dc Power Supplies, Rev. 6.4.3 2009 |  |  |
|  |  | 3 | Standby power | 04 | Household Electrical Appliances - Measurement of Standby Power IEC 62301:2005 |  |  |
|  |  | 4 | Energy Efficiency | 04 | Test Method for Calculating the Energy Efficiency of Single-Voltage External Ac-Dc and Ac-Ac Power Supplies, Aug. 11, 2004 |  |  |
| 6 | Computer Display | 1 | All items | 04 | Energy Star Test Method for Displays, Energy Star Program Requirements Product Specification for Displays Rev 5.1 2010.8. |  |  |
|  |  | 2 | Signal setting | 04 | VESA FPDM Standard 2.0 |  |  |
|  |  | 3 | Energy Efficiency | 04 | EPRI Generalized Test Protocol for Calculating the Energy Efficiency of Internal Ac-Dc and Dc-Dc Power Supplies, Rev. 6.4.3 2009 |  |  |
|  |  | 4 | Standby power | 04 | Household Electrical Appliances - Measurement of Standby Power IEC 62301:2005 |  |  |
|  |  | 5 | Energy Efficiency | 04 | Test Method for Calculating the Energy Efficiency of Single-Voltage External Ac-Dc and Ac-Ac Power Supplies, Aug. 11, 2004 |  |  |
| 6 | Computer Display | 6 | Power Consumption | 04 | Methods of Measurement for the Power Consumption of Audio, Video and Related Equipment IEC 62087, Ed 2.0 2008 |  |  |
| 7 | Image equipment | 1 | All items | 04 | Energy Star Imaging Equipment Test Method, Energy Star Program Requirements Version 1.2, Product Specification for Imaging Equipment 2010.12. |  |  |
|  |  | 2 | Energy Efficiency | 04 | EPRI Generalized Test Protocol for Calculating the Energy Efficiency of Internal Ac-Dc and Dc-Dc Power Supplies, Rev. 6.4.3 2009 |  |  |
|  |  | 3 | Energy Efficiency | 04 | Test Method for Calculating the Energy Efficiency of Single-Voltage External Ac-Dc and Ac-Ac Power Supplies, Aug. 11, 2004 |  |  |
| 7 | Image equipment | 4 | Standby power | 04 | Household electrical appliances – measurement of standby power IEC62301:2005 |  |  |
| 8 | Computer Sever | 1 | All items | 04 | Energy Star Program Requirements for Computer Servers Version 1.1 2010.8. |  |  |
|  |  | 2 | Energy Efficiency | 04 | EPRI Generalized Test Protocol for Calculating the Energy Efficiency of Internal Ac-Dc and Dc-Dc Power Supplies, Rev. 6.4.3 2009 |  |  |
|  |  | 3 | Energy Efficiency | 04 | Test Method for Calculating the Energy Efficiency of Single-Voltage External Ac-Dc and Ac-Ac Power Supplies, Aug. 11, 2004 |  |  |
|  |  | 4 | Standby power | 04 | Household electrical appliances – measurement of standby power IEC62301:2005 |  |  |
| 9 | luminaire | 1 | Part of Items | 04 | Energy Star Program Requirements Product Specification for Luminaires Version 1.1 2011 | Accredited only for Fluorescent lamps and SSL |  |
|  |  | 2 | Performance testing | 0438 | Specifications for Performance of Self-ballastedd Compact fluorescent ANSI C78.5-2003 |  |  |
|  |  | 3 | Performannce testing | 0438 | Method ofMeausrement of Fluorescent lampballast ANSI C82.2-2002 |  |  |
|  |  | 4 | Performance testing | 0438 | Method of Measuring and Specifying Color Rendering of Light Sources Pub.No. 13.3-1995 |  |  |
|  |  | 5 | Performance Testing | 0438 | Colorimetry Pub.No.15.2004 |  |  |
|  |  | 6 | PerformanceTesting | 0438 | IESNA LM-9-09 Electric and Photometric Measurements f Fluorescent Lamps |  |  |
|  |  | 7 | Performance Testing | 0438 | LM-40-01 Life Testing of Fluorescent lamp |  |  |
| 9 | luminaire | 8 | Performance Testing | 0438 | IES LM-65-01 Life Testing of Compact Fluorescent Lamps |  |  |
|  |  | 9 | Performace Testing | 0438 | IESNA LM-66-00 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps |  |  |
|  |  | 10 | Performace Testing | 0438 | LM-10-11 Photometric Testing of Outdoor Fluorescent Luminaires |  |  |
|  |  | 11 | Performace Testing | 0437 | LM-41-11 ApprovedMethod for Photometric Testing of Inddor Fluorescent Luminaires |  |  |
|  |  | 12 | Performace Testing | 0438 | LM-79-08 Electrical and Photometric Meaurements of Solid-State Lighting Products |  |  |
|  |  | 13 | Performace Testing | 0438 | LM-58-11 Guide to Spectroradiometric Measuremnts |  |  |
|  |  | 14 | Performace Testing | 0438 | Harmonic Emission Limits-Related Power Quality Requiremnts for Lighting Equipment ANSI C82.77-2002 |  |  |
| 9 | luminaire | 16 | Performace Testing | 0438 | LM-82-11 Characterization of LED light engines and Integrated LED Lamps for Electrical and Photometric Properties as a function of temperature |  |  |
| 10 | Compact Fluorescant Lamp | 1 | All items | 04 | Energy Star Program Requiremnts for Compact Fluorescent Lamps(CFLs) Version4.3 2010 |  |  |
|  |  | 2 | Rapid Cycle Stress Test | 0438 | IES LM-65-01 Life Testing of Compact Fluorescent Lamps |  |  |
|  |  | 3 | Performace Testing | 0438 | LM-66-00 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps |  |  |
|  |  | 4 | Performace Testing | 0438 | ANSI C78.5-2003Specifications for Performance of Self-ballastedd Compact fluorescent |  |  |
| 10 | Compact Fluorescant Lamp | 5 | Performace Testing | 0438 | Pub.No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
|  |  | 6 | Performace Testing | 0438 | IESNA LM-9-09 Electric and Photometric Measurements f Fluorescent Lamps |  |  |
| 11 | Uninterruptible Power Supplies（UPS） | 1 | All items | 4 | Energy Star Program Requiremnts for Uninterruptible Power Supplies (UPSs) Version 1.0 2012 |  |  |