中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L5181）

名称: 莱茵技术-商检（青岛）有限公司

地址：山东省青岛市株洲路175号2号楼6层

认可依据：ISO/IEC 17025:2005、EPA能源之星以及CNAS特定认可要求

签发日期：2014年04月14日         有效期至：2017年04月13日

更新日期：2014年04月14日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 领域 代码 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 1 | 家用电冰箱及/或冷冻箱 | 1 | 全部项目 | 0438 | 能源之星对家用电冰箱及/或冷冻箱的要求 |  |  |
|  |  | 2 | 全部项目 | 0438 | 电冰箱及冷藏冷冻箱能耗测试统一试验方法 Appendix A&A1 To Subpart B Of Part 430 |  |  |
| 1 | 家用电冰箱及/或冷冻箱 | 3 | 全部项目 | 0438 | 冷冻箱能耗测试统一试验方法 Appendix B&B1 To Subpart B Of Part 430 |  |  |
|  |  | 4 | 全部项目 | 0438 | （10）能源和水消耗的测试程序 10 CFR 430.23 (a) (10) |  |  |
|  |  | 5 | 部分项目 | 0438 | 制冷器具的能效及内容积 AHAM HRF-1-2007 | 不测： 10.2 运输及储存测试（家用冷藏箱和家用冷冻箱） |  |
|  |  | 6 | 全部项目 | 0438 | 制冷器具的能效及内容积 AHAM HRF-1-2008 |  |  |
| 2 | 商用冷藏箱及/或冷冻箱 | 1 | 部分项目 | 0438 | 商用冷藏箱及/或冷冻箱的测试方法 ANSI/ASHRAE Standard 72-2005 | 不测： 7.5液体流量测试 7.6远置式冰箱的其他测试 7.9远置式冰箱-附加的数据 8.0计算（仅针对远置式冰箱） |  |
|  |  | 1 | 全部项目 | 0438 | 能源之星对商用冷藏箱及/或冷冻箱的要求 |  |  |
|  |  | 1 | 性能-冷藏箱和冷藏食品运输柜 | 0438 | 商用冷藏箱冷冻箱 ANSI/NSF 7-2009 |  |  |
|  |  | 2 | 性能-冷冻箱 | 0438 |  |  |  |
|  |  | 3 | 性能-冷藏自助 设备和冷藏食品制备设备 | 0438 |  |  |  |
| 2 | 商用冷藏箱及/或冷冻箱 | 4 | 性能-冷藏及冷 冻展示柜 | 0438 | 商用冷藏箱冷冻箱 ANSI/NSF 7-2009 |  |  |
|  |  | 5 | 性能-快速冷却 冷藏箱及冷冻箱 | 0438 |  |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L5181)

NAME:TUV Rheinland/CCIC(Qingdao) Co., Ltd.

ADDRESS:6/F., Building 2, No.175, Zhuzhou Road, Qingdao, Shandong, China

Accreditation Criteria:ISO/IEC 17025:2005 , requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2014-04-14                      Date of Expiry:2017-04-13

# Date of Update：2014-04-14

APPENDIX 4   ACCREDITED ENERGY STAR TESTING

| № | Test Object | Item/Parameter | Code of Field | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |  |
| 1 | Residential refrigerators or/and freezers | 1 | All Items | 0438 | ENERGY STAR Program Requirements for Residential refrigerators and freezers |  |  |
| 1 | Residential refrigerators or/and freezers | 2 | All Items | 0438 | Uniform Test Method for Measuring the Energy Consumption of Electric Refrigerators and Electric Refrigerator-Freezers Appendix A&A1 To Subpart B Of Part 430 |  |  |
|  |  | 3 | All Items | 0438 | Uniform Test Method for Measuring the Energy Consumption of Freezers Appendix B&B1 To Subpart B Of Part 430 |  |  |
|  |  | 4 | All Items | 0438 | Test procedures for the measurement of energy and water consumption. 10 CFR 430.23 (a) (10) |  |  |
| 1 | Residential refrigerators or/and freezers | 5 | Partial Items | 0438 | Energy and Internal Volume of Refrigerating Appliances AHAM HRF-1-2007 | Except for: 10.2 Handing and Storage Test(Household Refrigerators and Household Freezers) |  |
|  |  | 6 | All Items | 0438 | Energy and Internal Volume of Refrigerating Appliances AHAM HRF-1-2008 |  |  |
| 2 | Commercial Refrigerators and Freezers | 1 | Part of items | 0438 | Method of Testing Commercial Refrigerators and Freezers ANSI/ASHRAE Standard 72-2005 | Except for: 7.5 Liquid Flow Measurement; 7.6 Remote Refrigerator Other Measurements; 7.9 Remote Refrigerators-Additional Data; 8 Calculations (Remote Refrigerators only) |  |
| 2 | Commercial Refrigerators and Freezers | 1 | All Items | 0438 | ENERGY STAR Program Requirements for Commercial refrigerators and freezers |  |  |
|  |  | 1 | Performance-Storage refrigerators and refrigerated food transport cabinets | 0438 | Commercial refrigerators and freezers ANSI/NSF 7-2009 |  |  |
|  |  | 2 | Performance-storage freezers |  |  |  |  |
|  |  | 3 | Performance-Refrigerated buffet units and refrigerated food preparation units |  |  |  |  |
|  |  | 4 | Performance-Display refrigerators and freezers |  |  |  |  |
|  |  | 5 | Performance-Rapid pull-down refrigerators and freezers | 0438 | Commercial refrigerators and freezers ANSI/NSF 7-2009 |  |  |