中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L7059）

名称:通用电气（中国）有限公司西安照明检测中心

地址：陕西省西安市高新区锦业一路29号龙旗科技园G栋

认可依据：ISO/IEC 17025:2005、EPA能源之星以及CNAS特定认可要求

签发日期：2014年08月12日         有效期至：2017年08月11日

更新日期：2014年08月12日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 领域 代码 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 1 | 普通照明用自镇流LED灯 | 1 | 光效 | 0438 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款9.1 2.固态照明产品电学和光学参数测量方法 IES LM-79-08，条款11 |  |  |
| 1 | 普通照明用自镇流LED灯 | 2 | 光输出 | 1610 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款9.2 2.固态照明产品电学和光学参数测量方法 IES LM-79-08，条款9 |  |  |
|  |  | 3 | 升温光输出比 | 1610 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款9.3 2.能源之星灯泡产品规格 V1.0 试验方法-升温光输出比 |  |  |
|  |  | 4 | 中心光强 | 1609 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款9.4 2.固态照明产品电学和光学参数测量方法 IES LM-79-08，条款10 |  |  |
|  |  | 5 | 光强分布 | 1609 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款9.5 2.固态照明产品电学和光学参数测量方法 IES LM-79-08，条款10 |  |  |
| 1 | 普通照明用自镇流LED灯 | 6 | 相关色温 | 1617 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款 9.6 2.固态照明产品电学和光学参数测量方法 IES LM-79-08， 条款12 3.色度学 CIE Pub. No.15：2004 4.固态照明产品色度规范 ANSI C78.377-2011 |  |  |
|  |  | 7 | 显色性 | 1617 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款 9.7 2.固态照明产品电学和光学参数测量方法 IES LM-79-08， 条款12 3.光源显色性测量和表述方法 CIE Pub. 13.3：1995 |  |  |
| 1 | 普通照明用自镇流LED灯 | 8 | 颜色维持 | 1617 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，章节 9.8 2.固态照明产品电学和光学参数测量方法 IES LM-79-08， 章节9和12 |  |  |
|  |  | 9 | 颜色角度均匀性 | 1617 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款 9.9 2.固态照明产品电学和光学参数测量方法 IES LM-79-08， 条款12 |  |  |
| 1 | 普通照明用自镇流LED灯 | 10 | 流明维持-室温寿命测试 | 0438 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款10.1 2.能源之星灯泡产品规格 V1.0 试验方法-室温寿命测试 3.光源长期流明维持率的推测 IES TM-21-11 4.LED光源流明维持率测试 IES LM-80-08 |  |  |
|  |  | 11 | 流明维持-高温寿命测试 | 0438 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款10.1 2.能源之星灯泡产品规格 V1.0 试验方法-高温寿命测试 3.光源长期流明维持率的推测 IES TM-21-11 4.LED光源流明维持率测试 IES LM-80-08 |  |  |
| 1 | 普通照明用自镇流LED灯 | 12 | 额定寿命 | 0438 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款10.2 2.能源之星灯泡产品规格 V1.0 试验方法-室温寿命测试 3.能源之星灯泡产品规格 V1.0 试验方法-高温寿命测试 4.LED光源流明维持率测试， IES LM-80-08 |  |  |
|  |  | 13 | 快速循环应力试验 | 0438 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款10.3 2.单端紧凑型荧光灯寿命测试方法 IES LM-65-10， 条款4,5,6 |  |  |
|  |  | 14 | 频率 | 0438 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款11.3 |  |  |
| 1 | 普通照明用自镇流LED灯 | 15 | 启动时间 | 0438 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款 11.4 2.能源之星灯泡产品规格 V1.0 试验方法-启动时间 |  |  |
|  |  | 16 | 尺寸要求 | 0438 | 1.能源之星灯泡产品规格的合格标准要求 V1.0，条款 14.1 2.电灯-A，G,PS及类似形状带E26中型螺口灯头 ANSI C78.20-2003 3.电灯-PAR和R型ANSI C78.21-2011 4.白炽灯-杂类ANSI C78.23-1995(R2003) |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L7059)

NAME: GE China Co., Ltd. Xi'an Lighting Test Center

ADDRESS: Building G, Longcheer Technology Park, No.29, Jinye Yilu, Hi-Tech Zone, Xi'an, Shaanxi, China

Accreditation Criteria:ISO/IEC 17025:2005 , requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2014-08-12                      Date of Expiry:2017-08-11

# Date of Update：2014-08-12

APPENDIX 4   ACCREDITED ENERGY STAR TESTING

| № | Test Object | Item/Parameter | Code of Field | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |  |
| 1 | Integral LED Lamps | 1 | Luminous Efficacy | 0438 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 9.1 2.Approved Method:Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08, Clause 11 |  |  |
| 1 | Integral LED Lamps | 2 | Light Output | 1610 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 9.2 2.Approved Method:Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08, Clause 9 |  |  |
| 1 | Integral LED Lamps | 3 | Elevated Temperature Light Output Ratio | 1610 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0 ,Clause 9.3 2.ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0 –Elevated Temperature Life Light Output Ratio |  |  |
| 1 | Integral LED Lamps | 4 | Center Beam Intensity | 1609 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 9.4 2.Approved Method:Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08, Clause 10 |  |  |
|  |  | 5 | Luminous Intensity Distribution | 1609 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 9.5 2.Approved Method:Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08, Clause 10 |  |  |
| 1 | Integral LED Lamps | 6 | Correlated Color Temperature | 1617 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 9.6 2.Approved Method:Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08, Clause 12 3.COLORIMETRY CIE Pub. No.15：2004 4.Specifications for the Chromaticity of Solid State Lighting Products ANSI C78.377-2011 |  |  |
| 1 | Integral LED Lamps | 7 | Color Rendering | 1617 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 9.7 2.Approved Method:Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08, Clause 12 3.Method of Measuring and Specifying Color Rendering of Light Sources CIE Pub. 13.3:1995 |  |  |
| 1 | Integral LED Lamps | 8 | Color Maintenance | 1617 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 9.8 2.Approved Method:Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08, Clause 9 and 12 |  |  |
|  |  | 9 | Color Angular Uniformity | 1617 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 9.9 2.Approved Method:Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08, Clause 12 |  |  |
| 1 | Integral LED Lamps | 10 | Lumen Maintenance- Ambient Temperature Life Test | 0438 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 10.1 2.ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0 -Ambient Temperature Life Testing 3.Projecting Long Term Lumen Maintenance of LED Light Sources IES TM-21-11 4.Measuring Lumen Maintenance of LED Light Sources IES LM-80-08 |  |  |
| 1 | Integral LED Lamps | 11 | Lumen Maintenance- Elevated Temperature Life Test | 0438 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 10.1 2.ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0 -Elevated Temperature Life Testing 3.Projecting Long Term Lumen Maintenance of LED Light Sources IES TM-21-11 4.Measuring Lumen Maintenance of LED Light Sources IES LM-80-08 |  |  |
| 1 | Integral LED Lamps | 12 | Rated Life | 0438 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 10.2 2.ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0- Ambient Temperature Life Testing 3.ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0- Elevated Temperature Life Testing 4.Measuring Lumen Maintenance of LED Light Sources IES LM-80-08 |  |  |
| 1 | Integral LED Lamps | 13 | Rapid Cycle Stress Test | 0438 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 10.3 2.Life Testing of Compact Fluorescent Lamps IES LM-65-10， Clauses 4,5,6 |  |  |
|  |  | 14 | Frequency | 0438 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 11.3 |  |  |
| 1 | Integral LED Lamps | 15 | Start Time | 0438 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 11.4 2.ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0 - Start Time |  |  |
| 1 | Integral LED Lamps | 16 | Dimension Requirements | 0438 | 1.ENERGY STAR Program Requirements Product Specification for Lamps Eligibility Criteria Version 1.0, Clause 14.1 2.Electric Lamps-A,G,PS and Similar Shapes with E26 Medium Screw Bases ANSI C78.20-2003 3.Electric Lamps-PAR and R Shapes ANSI C78.21-2011 4.Incandesent Lamps-Miscellaneous Types ANSI C78.23-1995(R2003) |  |  |