中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L5415）

名称:广州赛西光电标准检测研究院有限公司

地址：广东省广州市荔湾区桥中中路228号首层

认可依据：ISO/IEC 17025、EPA能源之星以及CNAS特定认可要求

签发日期：2014年12月23日         有效期至：2017年12月22日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | 非定向荧光灯具 | 1 | 光源上升时间 | 自镇流紧凑型荧光灯的性能规范 ANSI C78.5-2003 |  |  |
|  |  | 2 | 功率因数 | 荧光灯镇流器的测量方法 ANSI C82.2-2002 |  |  |
|  |  | 3 | 工作频率 |  |  |  |
| 1 | 非定向荧光灯具 | 4 | 显色指数 | 光源显色性测量和表述方法 CIE Pub.No.13.3-1995 荧光灯电学和光学参数测量方法 IES LM-9-09 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 |  |  |
|  |  | 5 | 相关色温 | 色度学 CIE Pub.No.15:2004 荧光灯电学和光学参数测量方法 IES LM-9-09 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 |  |  |
|  |  | 6 | 效能 | 荧光灯电学和光学参数测量方法 IES LM-9-09 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 |  |  |
|  |  | 7 | 光输出 |  |  |  |
| 1 | 非定向荧光灯具 | 8 | 流明维持率 | 荧光灯电学和光学参数测量方法 IES LM-9-09 荧光灯的寿命测量方法 IES LM-40-10 紧凑型荧光灯的寿命测量方法 IES LM-65-10 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 |  |  |
| 1 | 非定向荧光灯具 | 9 | 光源寿命 | 荧光灯的寿命测量方法 IES LM-40-10 紧凑型荧光灯的寿命测量方法 IES LM-65-10 |  |  |
| 2 | 定向荧光灯具 | 1 | 光源上升时间 | 自镇流紧凑型荧光灯的性能规范 ANSI C78.5-2003 |  |  |
|  |  | 2 | 功率因数 | 荧光灯镇流器的测量方法 ANSI C82.2-2002 |  |  |
|  |  | 3 | 工作频率 |  |  |  |
| 2 | 定向荧光灯具 | 4 | 显色指数 | 光源显色性测量和表述方法 CIE Pub.No.13.3-1995 荧光灯电学和光学参数测量方法 IES LM-9-09 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 |  |  |
|  |  | 5 | 相关色温 | 色度学 CIE Pub.No.15:2004 荧光灯电学和光学参数测量方法 IES LM-9-09 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 |  |  |
|  |  | 6 | 效能 | 荧光灯电学和光学参数测量方法 IES LM-9-09 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 室外荧光灯具的光度试验测量方法 IES LM-10-13 室内荧光灯具的光度试验测量方法 IES LM-41-13 |  |  |
|  |  | 7 | 光输出 |  |  |  |
| 2 | 定向荧光灯具 | 8 | 流明维持率 | 荧光灯电学和光学参数测量方法 IES LM-9-09 荧光灯的寿命测量方法 IES LM-40-10 紧凑型荧光灯的寿命测量方法 IES LM-65-10 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 |  |  |
| 2 | 定向荧光灯具 | 9 | 光源寿命 | 荧光灯的寿命测量方法 IES LM-40-10 紧凑型荧光灯的寿命测量方法 IES LM-65-10 |  |  |
|  |  | 10 | 区域流明分布 | 室外荧光灯具的光度试验测量方法 IES LM-10-13 室内荧光灯具的光度试验测量方法 IES LM-41-13 |  |  |
| 4 | 非定向固态照明灯具与子组件 | 1 | 效能 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 LED光引擎和LED灯电学和光学参数的温度特性描述方法 IES LM-82-12 |  |  |
|  |  | 2 | 光输出 |  |  |  |
| 4 | 非定向固态照明灯具与子组件 | 3 | 流明维持率 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 LED光引擎和LED灯电学和光学参数的温度特性描述方法 IES LM-82-12 |  |  |
|  |  | 4 | 颜色维持率 |  |  |  |
|  |  | 5 | 相关色温 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 色度学 CIE Pub.No.15:2004 LED光引擎和LED灯电学和光学参数的温度特性描述方法 IES LM-82-12 |  |  |
|  |  | 6 | 显色指数 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 光源显色性测量和表述方法 CIE Pub.No.13.3-1995 LED光引擎和LED灯电学和光学参数的温度特性描述方法 IES LM-82-12 |  |  |
| 4 | 非定向固态照明灯具与子组件 | 7 | 功率因数 | 谐波发射限值-照明设备的相关电源质量要求 ANSI C82.77-2002 |  |  |
|  |  | 8 | 光源寿命 | LED光引擎和LED灯电学和光学参数的温度特性描述方法 IES LM-82-12 |  |  |
| 5 | 定向固态照明灯具 | 1 | 区域流明分布 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 章节10与12 |  |  |
|  |  | 2 | 灯具光度 |  |  |  |
|  |  | 3 | 颜色空间均匀性 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 章节10与12 光谱测量导则 IES LM-58-13 |  |  |
| 5 | 定向固态照明灯具 | 4 | 显色指数 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 光源显色性测量和表述方法 CIE Pub.No.13.3-1995 |  |  |
| 5 | 定向固态照明灯具 | 5 | 相关色温 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 色度学 CIE Pub.No.15:2004 |  |  |
|  |  | 6 | 效能 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 |  |  |
|  |  | 7 | 光输出 |  |  |  |
|  |  | 8 | 流明维持率 |  |  |  |
|  |  | 9 | 颜色维持率 |  |  |  |
| 6 | LED器件/阵列/模块 | 1 | 光源寿命 | LED光源流明维持测量方法 IES LM-80-08 |  |  |
|  |  | 2 | 流明维持率 |  |  |  |
| 7 | 非定向室外卤素灯具 | 1 | 光源寿命要求 | 白炽灯寿命试验的测量方法 IES LM-49-01 白炽灯寿命试验的测量方法 IES LM-49-12 |  |  |
| 8 | 定向室外卤素灯具 | 1 | 光源寿命要求 | 白炽灯寿命试验的测量方法 IES LM-49-01 白炽灯寿命试验的测量方法 IES LM-49-12 |  |  |
|  |  | 2 | 区域流明分布 | 室外荧光灯具的光度试验测量方法 IES LM-10-96 用白炽灯和高压气体放电灯的道路照明光度试验测量方法 IES LM-31-91 室内荧光灯具的光度试验测量方法 IES LM-41-98 使用高压气体放电灯或白炽灯的室内灯具光学测量方法 IES LM-46-04 固态照明产品电学和光学参数测量方法 IES LM-79-08 章节10 |  |  |
| 10 | 全方位与装饰紧凑型荧光灯 | 1 | 效能 | 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 认证、符合性、消费品及商业和工业设备的实施 US DOE 10 CFR 429 消费产品的能源节约计划 US DOE10 CFR430附录W的B部分 |  |  |
|  |  | 2 | 光输出 | 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 |  |  |
|  |  | 3 | 中心光强 |  |  |  |
| 10 | 全方位与装饰紧凑型荧光灯 | 4 | 相关色温 | 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 荧光灯的色度规范 ANSI C78.376-2001 色度学 CIE Pub.No.15:2004 |  |  |
|  |  | 5 | 显色指数 | 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 光源显色性测量和表述方法 CIE Pub.No.13.3-1995 |  |  |
| 10 | 全方位与装饰紧凑型荧光灯 | 6 | 流明维持率 | 单端紧凑型荧光灯电学和光学参数测量方法 IES LM-66-11 紧凑型荧光灯的寿命测量方法 IES LM-65-10 认证、符合性、消费品及商业和工业设备的实施 US DOE 10 CFR 429 消费产品的能源节约计划 US DOE10 CFR430附录W的B部分 能源之星灯泡产品规范V1.0:高温寿命试验 |  |  |
|  |  | 7 | 寿命 |  |  |  |
|  |  | 8 | 快速循环应力试验 | 紧凑型荧光灯的寿命测量方法 IES LM-65-10 消费产品的能源节约计划 US DOE10 CFR430附录W的B部分 |  |  |
|  |  | 9 | 功率因数 | 荧光灯镇流器的测量方法 ANSI C82.2-2002 |  |  |
|  |  | 10 | 启动时间 | 能源之星灯泡产品规范V1.0：启动时间 |  |  |
|  |  | 11 | 上升时间 | 能源之星灯泡产品规范V1.0：上升时间 |  |  |
| 11 | 定向固态照明灯泡 | 1 | 效能 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 |  |  |
| 11 | 定向固态照明灯泡 | 2 | 光输出 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 |  |  |
|  |  | 3 | 中心光强 |  |  |  |
|  |  | 4 | 光强分布 |  |  |  |
|  |  | 5 | 颜色维持率 |  |  |  |
|  |  | 6 | 颜色空间均匀性 |  |  |  |
| 11 | 定向固态照明灯泡 | 7 | 相关色温 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 固态照明产品的色度规范 ANSI C78.377-2011 色度学 CIE Pub.No.15:2004 |  |  |
|  |  | 8 | 显色指数 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 光源显色性测量和表述方法 CIE Pub.No.13.3-1995 |  |  |
|  |  | 9 | 流明维持率 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 能源之星灯泡产品规范V1.0:高温寿命试验 能源之星灯泡产品规范V1.0:环境温度寿命试验 |  |  |
|  |  | 10 | 寿命 |  |  |  |
| 11 | 定向固态照明灯泡 | 11 | 功率因数 | 谐波发射限值-照明设备的相关电源质量要求 ANSI C82.77-2002 章节6与7 |  |  |
|  |  | 12 | 最小中心光强-PAR与MR灯泡 | 最小中心光强的计算工具 |  |  |
|  |  | 13 | 高温光输出比 | 能源之星灯泡产品规范V1.0：高温光输出比 |  |  |
|  |  | 14 | 启动时间 | 能源之星灯泡产品规范V1.0：启动时间 |  |  |
| 12 | 全方位与装饰固态照明灯泡 | 1 | 效能 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 |  |  |
|  |  | 2 | 光输出 |  |  |  |
|  |  | 3 | 中心光强 |  |  |  |
|  |  | 4 | 光强分布 |  |  |  |
|  |  | 5 | 颜色维持率 |  |  |  |
|  |  | 6 | 颜色空间均匀性 |  |  |  |
| 12 | 全方位与装饰固态照明灯泡 | 7 | 相关色温 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 色度学 CIE Pub.No.15:2004 |  |  |
| 12 | 全方位与装饰固态照明灯泡 | 8 | 显色指数 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 光源显色性测量和表述方法 CIE Pub.No.13.3-1995 |  |  |
|  |  | 9 | 流明维持率 | 固态照明产品电学和光学参数测量方法 IES LM-79-08 能源之星灯泡产品规范V1.0:高温寿命试验 能源之星灯泡产品规范V1.0:环境温度寿命试验 |  |  |
|  |  | 10 | 寿命 |  |  |  |
|  |  | 11 | 功率因数 | 谐波发射限值-照明设备的相关电源质量要求 ANSI C82.77-2002 章节6与7 |  |  |
|  |  | 12 | 启动时间 | 能源之星灯泡产品规范V1.0：启动时间 |  |  |
| 13 | 装饰灯串 | 1 | 输入功率 | 能源之星装饰灯串产品规范V1.5 附录A 试验方法 |  |  |
|  |  | 2 | 过电压 |  |  |  |
|  |  | 3 | 可靠性试验 |  |  |  |
|  |  | 4 | 老化试验 |  |  |  |
|  |  | 5 | 光输出 |  |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L5415)

NAME:CESI(Guangzhou) Opto-Electronics Standards & Testing Institute Co., Ltd.

ADDRESS:1/F., No.228, Qiaozhong Middle Road, Liwan District, Guangzhou, Guangdong, China

Accreditation Criteria:ISO/IEC 17025, requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2014-12-23                      Date of Expiry:2017-12-22

APPENDIX 4   ACCREDITED ENERGY STAR TESTING

| № | Test Object | Item/Parameter | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | Non-directional Fluorescent Luminaires | 1 | Source Run-up Time (ms) | Specifications for Performance of Self-ballasted Compact Fluorescent Lamps ANSI C78.5-2003 |  |  |
|  |  | 2 | Power Factor | Method of Measurement of Fluorescent Lamp Ballasts ANSI C82.2–2002 |  |  |
|  |  | 3 | Operating Frequency |  |  |  |
| 1 | Non-directional Fluorescent Luminaires | 4 | CRI | Method of Measuring and Specifying Color Rendering of Light Sources CIE Pub.No.13.3-1995 Electrical and Photometric Measurements of Fluorescent Lamps IES LM-9-09 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 |  |  |
| 1 | Non-directional Fluorescent Luminaires | 5 | CCT | Colorimetry CIE Pub.No.15:2004, Electrical and Photometric Measurements of Fluorescent Lamps IES LM-9-09 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 |  |  |
| 1 | Non-directional Fluorescent Luminaires | 6 | Efficacy | Electrical and Photometric Measurements of Fluorescent Lamps IES LM-9-09 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 |  |  |
|  |  | 7 | Light Output |  |  |  |
|  |  | 8 | Lumen Maintenance | Electrical and Photometric Measurements of Fluorescent Lamps IES LM-9-09 Life Testing of Fluorescent Lamps IES LM-40-10 Life Testing of Compact Fluorescent Lamps IES LM-65-10 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 |  |  |
| 1 | Non-directional Fluorescent Luminaires | 9 | Light Source Life | Life Testing of Fluorescent Lamps IES LM-40-10 Life Testing of Compact Fluorescent Lamps IES LM-65-10 |  |  |
| 2 | Directional Fluorescent Luminaires | 1 | Source Run-up Time (ms) | Specifications for Performance of Self-ballasted Compact Fluorescent Lamps ANSI C78.5-2003 |  |  |
|  |  | 2 | Power Factor | Method of Measurement of Fluorescent Lamp Ballasts ANSI C82.2–2002 |  |  |
|  |  | 3 | Operating Frequency |  |  |  |
| 2 | Directional Fluorescent Luminaires | 4 | CRI | Method of Measuring and Specifying Color Rendering of Light Sources CIE Pub.No.13.3-1995 Electrical and Photometric Measurements of Fluorescent Lamps IES LM-9-09 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 |  |  |
| 2 | Directional Fluorescent Luminaires | 5 | CCT | Colorimetry CIE Pub.No.15:2004, Electrical and Photometric Measurements of Fluorescent Lamps IES LM-9-09 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 |  |  |
| 2 | Directional Fluorescent Luminaires | 6 | Efficacy | Electrical and Photometric Measurements of Fluorescent Lamps IES LM-9-09 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 Photometric Testing of Outdoor Fluorescent Luminaires IES LM-10-13 Photometric Testing of Indoor Fluorescent Luminaires IES LM-41-13 |  |  |
|  |  | 7 | Light Output |  |  |  |
| 2 | Directional Fluorescent Luminaires | 8 | Lumen Maintenance | Electrical and Photometric Measurements of Fluorescent Lamps IES LM-9-09 Life Testing of Fluorescent Lamps IES LM-40-10 Life Testing of Compact Fluorescent Lamps IES LM-65-10 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 |  |  |
|  |  | 9 | Light Source Life | Life Testing of Fluorescent Lamps IES LM-40-10 Life Testing of Compact Fluorescent Lamps IES LM-65-10 |  |  |
| 2 | Directional Fluorescent Luminaires | 10 | Zonal Lumen Distribution | Photometric Testing of Outdoor Fluorescent Luminaires IES LM-10-13 Photometric Testing of Indoor Fluorescent Luminaires IES LM-41-13 |  |  |
| 4 | Non-directional Solid State Luminaires and Subcomponents | 1 | Efficacy | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 Characterization of LED Light Engines and LED Lamps for Electrical and Photometric Properties as a Function of Temperature IES LM-82-12 |  |  |
|  |  | 2 | Light Output |  |  |  |
|  |  | 3 | Lumen Maintenance |  |  |  |
|  |  | 4 | Color Maintenance |  |  |  |
| 4 | Non-directional Solid State Luminaires and Subcomponents | 5 | CCT | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 Colorimetry CIE Pub.No.15:2004 Characterization of LED Light Engines and LED Lamps for Electrical and Photometric Properties as a Function of Temperature IES LM-82-12 |  |  |
| 4 | Non-directional Solid State Luminaires and Subcomponents | 6 | CRI | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 Method of Measuring and Specifying Color Rendering of Light Sources CIE Pub.No.13.3-1995 Characterization of LED Light Engines and LED Lamps for Electrical and Photometric Properties as a Function of Temperature IES LM-82-12 |  |  |
|  |  | 7 | Power Factor | Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment ANSI C82.77-2002 |  |  |
| 4 | Non-directional Solid State Luminaires and Subcomponents | 8 | Light Source Life | Characterization of LED Light Engines and LED Lamps for Electrical and Photometric Properties as a Function of Temperature IES LM-82-12 |  |  |
| 5 | Directional Solid State Luminaires | 1 | Zonal Lumen Distribution | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 sections 10 and 12 |  |  |
|  |  | 2 | Luminaire Photometry |  |  |  |
|  |  | 3 | Color Angular Uniformity | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 sections 10 and 12 Guide to Spectroradiometric Measurements IES LM-58-13 |  |  |
| 5 | Directional Solid State Luminaires | 4 | CRI | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 Method of Measuring and Specifying Color Rendering of Light Sources CIE Pub.No.13.3-1995 |  |  |
| 5 | Directional Solid State Luminaires | 5 | CCT | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 Colorimetry CIE Pub.No.15:2004 |  |  |
|  |  | 6 | Efficacy | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 |  |  |
|  |  | 7 | Light Output |  |  |  |
|  |  | 8 | Lumen Maintenance |  |  |  |
| 5 | Directional Solid State Luminaires | 9 | Color Maintenance | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 |  |  |
| 6 | LED Packages/Arrays/Modules | 1 | Light Source Life | Measuring Lumen Maintenance of LED Light Sources IES LM-80-08 |  |  |
|  |  | 2 | Lumen Maintenance |  |  |  |
| 7 | Non-directional Outdoor Halogen Luminaires | 1 | Light Source Life Requirements | Approved Method for Life Testing of Incandescent Filament Lamps IES LM-49-01 Life Testing of Incandescent Filament Lamps IES LM-49-12 |  |  |
| 8 | Directional Outdoor Halogen Luminaires | 1 | Light Source Life Requirements | Approved Method for Life Testing of Incandescent Filament Lamps IES LM-49-01 Life Testing of Incandescent Filament Lamps IES LM-49-12 |  |  |
| 8 | Directional Outdoor Halogen Luminaires | 2 | Zonal Lumen Distribution | Photometric Testing of Outdoor Fluorescent Luminaires IES LM-10-96 Photometric Testing of Roadway Luminaires Using Incandescent Filament and High Intensity Discharge(HID) Lamps IES LM-31-91 Photometric Testing of Indoor Fluorescent Luminaires IES LM-41-98 Photometric Testing of Indoor Luminaires Using High Intensity Discharge or Incandescent Filament Lamps IES LM-46-04 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 section 10 |  |  |
| 10 | Omnidirectional and Decorative Compact Fluorescent Lamps | 1 | Efficacy | Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 Certification, Compliance, and Enforcement for Consumer Products and Commercial and Industrial Equipment US DOE 10 CFR 429 Energy Conservation Program for Consumer Products US DOE 10 CFR 430 Appendix W to Subpart B |  |  |
|  |  | 2 | Light Output | Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 |  |  |
|  |  | 3 | Center Beam Intensity |  |  |  |
| 10 | Omnidirectional and Decorative Compact Fluorescent Lamps | 4 | CCT | Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 Specifications for the Chromaticity of Fluorescent Lamps ANSI C78.376-2001 Colorimetry CIE Pub.No.15:2004 |  |  |
| 10 | Omnidirectional and Decorative Compact Fluorescent Lamps | 5 | CRI | Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 Method of Measuring and Specifying Color Rendering of Light Sources CIE Pub.No.13.3-1995 |  |  |
| 10 | Omnidirectional and Decorative Compact Fluorescent Lamps | 6 | Lumen Maintenance | Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 Life Testing of Compact Fluorescent Lamps IES LM-65-10 Certification, Compliance, and Enforcement for Consumer Products and Commercial and Industrial Equipment US DOE 10 CFR 429 Energy Conservation Program for Consumer Products US DOE 10 CFR 430 Appendix W to Subpart B ENERGY STAR® Program Requirements Product Specification for Lamps (Light Bulbs) Eligibility Criteria Version 1.0:Elevated Temperature Life Testing |  |  |
| 10 | Omnidirectional and Decorative Compact Fluorescent Lamps | 7 | Lifetime | Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps IES LM-66-11 Life Testing of Compact Fluorescent Lamps IES LM-65-10 Certification, Compliance, and Enforcement for Consumer Products and Commercial and Industrial Equipment US DOE 10 CFR 429 Energy Conservation Program for Consumer Products US DOE 10 CFR 430 Appendix W to Subpart B ENERGY STAR® Program Requirements Product Specification for Lamps (Light Bulbs) Eligibility Criteria Version 1.0:Elevated Temperature Life Testing |  |  |
| 10 | Omnidirectional and Decorative Compact Fluorescent Lamps | 8 | Rapid Cycle Stress Test | Life Testing of Compact Fluorescent Lamps IES LM-65-10 Energy Conservation Program for Consumer Products US DOE 10 CFR 430 Appendix W to Subpart B |  |  |
| 10 | Omnidirectional and Decorative Compact Fluorescent Lamps | 9 | Power Factor | Method of Measurement of Fluorescent Lamp Ballasts ANSI C82.2–2002 |  |  |
|  |  | 10 | Start Time | ENERGY STAR® Program Requirements Product Specification for Lamps (Light Bulbs) Eligibility Criteria Version 1.0：Start Time |  |  |
| 10 | Omnidirectional and Decorative Compact Fluorescent Lamps | 11 | Run Up Time | ENERGY STAR® Program Requirements Product Specification for Lamps (Light Bulbs) Eligibility Criteria Version 1.0：Run Up Time |  |  |
| 11 | Directional Solid State Lighting Lamps | 1 | Efficacy | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 |  |  |
|  |  | 2 | Light Output |  |  |  |
|  |  | 3 | Center Beam Intensity |  |  |  |
|  |  | 4 | Luminous Intensity Distribution |  |  |  |
|  |  | 5 | Color Maintenance |  |  |  |
|  |  | 6 | Color Angular Uniformity |  |  |  |
| 11 | Directional Solid State Lighting Lamps | 7 | CCT | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 Specifications for the Chromaticity of Solid State Lighting Products ANSI C78.377-2008 Colorimetry CIE Pub.No.15:2004 |  |  |
| 11 | Directional Solid State Lighting Lamps | 8 | CRI | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 Method of Measuring and Specifying Color Rendering of Light Sources CIE Pub.No.13.3-1995 |  |  |
| 11 | Directional Solid State Lighting Lamps | 9 | Lumen Maintenance | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 ENERGY STAR® Program Requirements Product Specification for Lamps (Light Bulbs) Eligibility Criteria Version 1.0:Elevated Temperature Life Testing ENERGY STAR® Program Requirements Product Specification for Lamps (Light Bulbs) Eligibility Criteria Version 1.0:Ambient Temperature Life Testing |  |  |
|  |  | 10 | Lifetime |  |  |  |
| 11 | Directional Solid State Lighting Lamps | 11 | Power Factor | Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment ANSI C82.77-2002 Sections 6 and 7 |  |  |
|  |  | 12 | Minimum Center Beam Intensity – PAR and MR lamps | Tool for Calculating Minimum Center Beam Intensity |  |  |
| 11 | Directional Solid State Lighting Lamps | 13 | ETLOR | ENERGY STAR® Program Requirements Product Specification for Lamps (Light Bulbs) Eligibility Criteria Version 1.0：Elevated Temperature Light Output Ratio |  |  |
|  |  | 14 | Start Time | ENERGY STAR® Program Requirements Product Specification for Lamps (Light Bulbs) Eligibility Criteria Version 1.0：Start Time |  |  |
| 12 | Omnidirectional and Decorative Solid State Lighting Lamps | 1 | Efficacy | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 |  |  |
|  |  | 2 | Light Output |  |  |  |
|  |  | 3 | Center Beam Intensity |  |  |  |
|  |  | 4 | Luminous Intensity Distribution |  |  |  |
|  |  | 5 | Color Maintenance |  |  |  |
|  |  | 6 | Color Angular Uniformity |  |  |  |
|  |  | 7 | CCT | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 Colorimetry CIE Pub.No.15:2004 |  |  |
| 12 | Omnidirectional and Decorative Solid State Lighting Lamps | 8 | CRI | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 Method of Measuring and Specifying Color Rendering of Light Sources CIE Pub.No.13.3-1995 |  |  |
| 12 | Omnidirectional and Decorative Solid State Lighting Lamps | 9 | Lumen Maintenance | Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-08 ENERGY STAR® Program Requirements Product Specification for Lamps (Light Bulbs) Eligibility Criteria Version 1.0:Elevated Temperature Life Testing ENERGY STAR® Program Requirements Product Specification for Lamps (Light Bulbs) Eligibility Criteria Version 1.0:Ambient Temperature Life Testing |  |  |
|  |  | 10 | Lifetime |  |  |  |
| 12 | Omnidirectional and Decorative Solid State Lighting Lamps | 11 | Power Factor | Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment ANSI C82.77-2002 Sections 6 and 7 |  |  |
|  |  | 12 | Start Time | ENERGY STAR® Program Requirements Product Specification for Lamps (Light Bulbs) Eligibility Criteria Version 1.0：Start Time |  |  |
| 13 | Decorative Light Strings | 1 | Input Power | ENERGY STAR® Program Requirements Product Specification for Decorative Light Strings Eligibility Criteria Version 1.5 Annex A Test Method |  |  |
|  |  | 2 | Over-Voltage |  |  |  |
|  |  | 3 | Reliability Test |  |  |  |
|  |  | 4 | Weathering Test |  |  |  |
| 13 | Decorative Light Strings | 5 | Light Output | ENERGY STAR® Program Requirements Product Specification for Decorative Light Strings Eligibility Criteria Version 1.5 Annex A Test Method |  |  |