中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L7471）

名称: 厦门市三安光电科技有限公司检测中心

地址：福建省厦门市思明区吕岭路1733-1751号

认可依据：ISO/IEC 17025、EPA能源之星以及CNAS特定认可要求

签发日期：2016年02月16日     有效期至：2018年02月08日

附件6  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 检测标准（方法）名称及编号（含年号） | 说明 |
| --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |
| 1 | 定向LED灯 | 1 | 光效 | 固态照明产品电气和光度测量方法 IES LM-79-08 |  |
|  |  | 2 | 光输出 |  |  |
|  |  | 3 | 中心光强 |  |  |
|  |  | 4 | 光强分布 |  |  |
|  |  | 5 | 光通维持率 |  |  |
|  |  | 6 | 寿命 |  |  |
|  |  | 7 | 相关色温 |  |  |
|  |  | 8 | 显色指数 |  |  |
|  |  | 9 | 颜色漂移 |  |  |
|  |  | 10 | 色均匀性 |  |  |
| 1 | 定向LED灯 | 11 | 瞬态保护 | 低压(1000 V及以下)交流电力网中电涌特性IEEE推荐实施规程 ANSI C62.41.2-2002 |  |
|  |  | 12 | 相关色温 | 色度 CIE Pub.No.15:2004 |  |
|  |  | 13 | 显色指数 | 光源特殊显色指数的测量方法及说明 CIE Pub.No.13.3-1995 |  |
|  |  | 14 | 光通维持率 ,寿命 | 能源之星程序要求产品标准灯V1.0: 温升寿命试验 |  |
|  |  | 15 | 光通维持率 ,寿命 | 能源之星程序要求产品标准灯V1.0: 环境温度寿命试验 |  |
|  |  | 16 | 温升光输出比 | 能源之星程序要求产品标准灯V1.0: 温升光输出比 |  |
|  |  | 17 | 启动时间 | 能源之星程序要求产品标准灯V1.0: 启动时间 |  |
| 2 | 非定向和装饰性LED灯 | 1 | 光效 | 固态照明产品电气和光度测量方法 IES LM-79-08 |  |
|  |  | 2 | 光输出 |  |  |
|  |  | 3 | 中心光强 |  |  |
|  |  | 4 | 光强分布 |  |  |
|  |  | 5 | 光通维持率 |  |  |
|  |  | 6 | 寿命 |  |  |
|  |  | 7 | 相关色温 |  |  |
|  |  | 8 | 显色指数 |  |  |
|  |  | 9 | 颜色漂移 |  |  |
|  |  | 10 | 色均匀性 |  |  |
| 2 | 非定向和装饰性LED灯 | 11 | 瞬态保护 | 低压(1000 V及以下)交流电力网中电涌特性IEEE推荐实施规程 ANSI C62.41.2-2002 |  |
|  |  | 12 | 相关色温 | 色度 CIE Pub.No.15:2004 |  |
|  |  | 13 | 显色指数 | 光源特殊显色指数的测量方法及说明 CIE Pub.No.13.3-1995 |  |
|  |  | 14 | 光通维持率 ,寿命 | 能源之星程序要求产品标准灯V1.0: 温升寿命试验 |  |
|  |  | 15 | 光通维持率 ,寿命 | 能源之星程序要求产品标准灯V1.0: 环境温度寿命试验 |  |
|  |  | 16 | 温升光输出比 | 能源之星程序要求产品标准灯V1.0: 温升光输出比 |  |
|  |  | 17 | 启动时间 | 能源之星程序要求产品标准灯V1.0: 启动时间 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

SCHEDULE OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L7471)

NAME:Xiamen San’an Optoelectronics Technology Co., Ltd. Testing Center

ADDRESS:No.1733-1751, Lvling Road, Siming District, Xiamen, Fujian, China

Accreditation Criteria: ISO/IEC 17025, requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2016-02-16                      Date of Expiry:2018-02-08

SCHEDULE 6   ACCREDITED ENERGY STAR TESTING SCOPE

| № | Test Object | Item/Parameter | Title, Code of Standard or Method | Note |
| --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |
| 1 | LED Directional Lamps | 1 | Efficacy | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |
|  |  | 2 | Output |  |  |
|  |  | 3 | Center Beam Intensity |  |  |
|  |  | 4 | Luminous Intensity Distribution |  |  |
|  |  | 5 | Lumen Maintenance |  |  |
|  |  | 6 | Lifetime |  |  |
|  |  | 7 | CCT |  |  |
| 1 | LED Directional Lamps | 8 | CRI | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |
|  |  | 9 | Color Maintenance |  |  |
|  |  | 10 | Color Angular Uniformity |  |  |
|  |  | 11 | Transient Protection | ANSI C62.41.2-2002 IEEE Recommended Practice on Characterization of Surges in Low Voltage (1000V and Less) AC Power Circuits |  |
|  |  | 12 | CCT | CIE Pub. No. 15:2004 Colorimetry |  |
| 1 | LED Directional Lamps | 13 | CRI | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |
|  |  | 14 | Lumen Maintenance, Lifetime | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Ambient Temperature Life Testing |  |
|  |  | 15 | Lumen Maintenance, Lifetime | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Life Testing |  |
|  |  | 16 | ETLOR | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Light Output Ratio |  |
|  |  | 17 | Start Time | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Start Time |  |
| 2 | LED Omnidirectional and Decorative Lamps | 1 | Efficacy | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |
|  |  | 2 | Output |  |  |
|  |  | 3 | Center Beam Intensity |  |  |
|  |  | 4 | Luminous Intensity Distribution |  |  |
| 2 | LED Omnidirectional and Decorative Lamps | 5 | Lumen Maintenance | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |
|  |  | 6 | Lifetime |  |  |
|  |  | 7 | CCT |  |  |
|  |  | 8 | CRI |  |  |
|  |  | 9 | Color Maintenance |  |  |
|  |  | 10 | Color Angular Uniformity |  |  |
|  |  | 11 | Transient Protection | ANSI C62.41.2-2002 IEEE Recommended Practice on Characterization of Surges in Low Voltage (1000V and Less) AC Power Circuits |  |
|  |  | 12 | CCT | CIE Pub. No. 15:2004 Colorimetry |  |
|  |  | 13 | CRI | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |
| 2 | LED Omnidirectional and Decorative Lamps | 14 | Lumen Maintenance, Lifetime | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Ambient Temperature Life Testing |  |
|  |  | 15 | Lumen Maintenance, Lifetime | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Life Testing |  |
| 2 | LED Omnidirectional and Decorative Lamps | 16 | ETLOR | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Light Output Ratio |  |
|  |  | 17 | Start Time | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Start Time |  |