中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L5998）

名称: 东莞市联鼎电子科技有限公司

地址：广东省东莞市南城区袁屋边车站北路恒正大厦1楼

认可依据：ISO/IEC 17025、EPA能源之星以及CNAS特定认可要求

签发日期：2016年01月05日         有效期至：2019年01月04日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 |  | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | 音视频产品（能源之星） | 1 | 自动关机要求 | 能源之星音视频产品测试方法，能源之星对音视频产品的项目要求，版本3.0 2014.12 |  |  |
|  |  | 2 | 空闲模式要求 |  |  |  |
|  |  | 3 | 休眠模式要求 |  |  |  |
|  |  | 4 | 视频播放测试 |  |  |  |
|  |  | 5 | 音频播放测试 |  |  |  |
|  |  | 6 | 功放类效率要求 |  |  |  |
| 2 | 外置电源适配器 | 1 | 带载状态下的效率 | 加拿大能效法规（外置电源）版本2010.06 加拿大公报 CSA-C381.1-08 单相外置式Ac-Dc 和 Ac-Ac 电源适配器能源之星测试方法 版本2011.10 美国环保署对单相外置式Ac-Dc 和 Ac-Ac 电源适配器能源之星计划要求 10 CFR 第430部分附录Z. 美国环保署对单相外置式Ac-Dc 和 Ac-Ac 电源适配器能源之星测试方法 版本2.1 2004.08 |  |  |
|  |  | 2 | 空载状态下的功耗 |  |  |  |
| 3 | 电池充电器 | 1 | 充电模式下 能效 | 充电器BCS能源之星要求（Version 1.1） 充电器BCS能源之星的测量方法（Rev.Aug-2010） 碱性或其他非酸性电解液二次电池-单个密封便携式的可充电电池-第1部分：镍镉电池 （IEC 61951-1、 Ed. 2.1. 2006） 碱性或其他非酸性电解液二次电池-单个密封便携式的可充电电池-第2部分：镍氢电池 （IEC 61951-2、 Ed. 2.0. 2003） 含碱性或其它非酸性电解质的单体蓄电池和蓄电池-便携式锂单体蓄电池和蓄电池组（IEC61960、 Ed. 1.0. December 2003） |  |  |
|  |  | 2 | 维持模式下 能效 |  |  |  |
|  |  | 3 | 待机模式下 能效 |  |  |  |
|  |  | 4 | 电池容量测量 |  |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

SCHEDULE OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L5998)

NAME:Dongguan UTL Electronic Technology Co., Ltd.

ADDRESS:1/F., Hengzheng Building, Chezhan North Road, Yuanwubian, Nancheng District, Dongguan, Guangdong, China

Accreditation Criteria:ISO/IEC 17025, requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2016-01-05                 Date of Expiry:2019-01-04

SCHEDULE 4   ACCREDITED ENERGY STAR TESTING SCOPE

| № | Test Object | Item/Parameter |  | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | Audio/Video (ENERGY STAR) | 1 | Auto Power Down (APD) Function | ENERGY STAR Test Method for Audio/Video, ENERGY STAR Program Requirements Product Specification for Audio/Video Version 3.0, Effective Dec-2014 |  |  |
|  |  | 2 | Idle State |  |  |  |
|  |  | 3 | Sleep Mode |  |  |  |
| 1 | Audio/Video (ENERGY STAR) | 4 | Video Playback Test | ENERGY STAR Test Method for Audio/Video, ENERGY STAR Program Requirements Product Specification for Audio/Video Version 3.0, Effective Dec-2014 |  |  |
|  |  | 5 | Audio Playback Test |  |  |  |
|  |  | 6 | TEST PROCEDURES FOR PRODUCTS WITH AUDIO AMPLIFICATION |  |  |  |
| 2 | Single-voltage external ac-dc and ac-ac power supplies | 1 | Energy-Efficiency Criteria for Active Mode | Canada’s Energy Efficiency Regulations (External Power Supplies) June 2010; including amendment as published in the Canada Gazette, October 2011 - CSA-C381.1-08: Test method for calculating the energy efficiency of single-voltage external ac-dc and ac-ac power supplies U.S. EPA ENERGY STAR Program Requirements for Single Voltage External AC-DC and AC-AC Power Supplies - Appendix Z to 10 CFR part 430. US EPA “Test Method for Calculating the Energy Efficiency of Single-Voltage External AC-DC and AC-AC Power Supplies”dated August 11, 2004. |  |  |
| 2 | Single-voltage external ac-dc and ac-ac power supplies | 2 | Energy Consumption Criteria for No-Load | Canada’s Energy Efficiency Regulations (External Power Supplies) June 2010; including amendment as published in the Canada Gazette, October 2011 - CSA-C381.1-08: Test method for calculating the energy efficiency of single-voltage external ac-dc and ac-ac power supplies U.S. EPA ENERGY STAR Program Requirements for Single Voltage External AC-DC and AC-AC Power Supplies - Appendix Z to 10 CFR part 430. US EPA “Test Method for Calculating the Energy Efficiency of Single-Voltage External AC-DC and AC-AC Power Supplies”dated August 11, 2004. |  |  |
| 3 | Battery Charging Systems | 1 | Measuring Nonactive Energy -Charging Mode | ENERGY STAR Program Requirements Product Specification for Battery Charging Systems - Eligibility Criteria (Version 1.1), ENERGY STAR Test Method for Battery Charging Systems, Rev. Aug-2010, IEC Standard 61951-1: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Portable sealed rechargeable single cells – Part 1: Nickel-cadmium. Ed. 2.1. January 2006, IEC Standard 61951-2: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Portable sealed rechargeable single cells – Part 2: Nickel-metal hydride. Ed. 2.0. April 2003, IEC Standard 61960: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Secondary lithium cells and batteries for portable applications. Ed. 1.0. December 2003. |  |  |
| 3 | Battery Charging Systems | 2 | Measuring Nonactive Energy -Maintenance Mode | ENERGY STAR Program Requirements Product Specification for Battery Charging Systems - Eligibility Criteria (Version 1.1), ENERGY STAR Test Method for Battery Charging Systems, Rev. Aug-2010, IEC Standard 61951-1: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Portable sealed rechargeable single cells – Part 1: Nickel-cadmium. Ed. 2.1. January 2006, IEC Standard 61951-2: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Portable sealed rechargeable single cells – Part 2: Nickel-metal hydride. Ed. 2.0. April 2003, IEC Standard 61960: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Secondary lithium cells and batteries for portable applications. Ed. 1.0. December 2003. |  |  |
| 3 | Battery Charging Systems | 3 | Measuring Nonactive Energy -Standby Mode | ENERGY STAR Program Requirements Product Specification for Battery Charging Systems - Eligibility Criteria (Version 1.1), ENERGY STAR Test Method for Battery Charging Systems, Rev. Aug-2010, IEC Standard 61951-1: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Portable sealed rechargeable single cells – Part 1: Nickel-cadmium. Ed. 2.1. January 2006, IEC Standard 61951-2: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Portable sealed rechargeable single cells – Part 2: Nickel-metal hydride. Ed. 2.0. April 2003, IEC Standard 61960: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Secondary lithium cells and batteries for portable applications. Ed. 1.0. December 2003. |  |  |
| 3 | Battery Charging Systems | 4 | Battery Ernergy Measurement | ENERGY STAR Program Requirements Product Specification for Battery Charging Systems - Eligibility Criteria (Version 1.1), ENERGY STAR Test Method for Battery Charging Systems, Rev. Aug-2010, IEC Standard 61951-1: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Portable sealed rechargeable single cells – Part 1: Nickel-cadmium. Ed. 2.1. January 2006, IEC Standard 61951-2: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Portable sealed rechargeable single cells – Part 2: Nickel-metal hydride. Ed. 2.0. April 2003, IEC Standard 61960: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Secondary lithium cells and batteries for portable applications. Ed. 1.0. December 2003. |  |  |