中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0579）

名称: 深圳市计量质量检测研究院

地址：广东省深圳市南山区同发路4号

认可依据：ISO/IEC 17025、EPA能源之星以及CNAS特定认可要求

签发日期：2015年11月02日         有效期至：2018年12月09日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 |  | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | 能源之星—计算机 | 1 | 关机模式下的能耗 | 能源之星计划要求－计算机 (版本5.2） EPRI 内置电源供应器测试方法 EPRI 单电压Ac-Dc与Ac-Ac电源适配器能效测试方法 |  |  |
|  |  | 2 | 空闲状态下的能耗 |  |  |  |
|  |  | 3 | 睡眠模式下的能耗 |  |  |  |
|  |  | 4 | 内置电源供应器 |  |  |  |
| 2 | 能源之星—成像设备 | 1 | 典型能耗 | 能源之星计划要求－成像设备 （版本1.2） |  |  |
|  |  | 2 | 操作模式能耗 |  |  |  |
|  |  | 3 | 待机功耗 |  |  |  |
| 3 | 能源之星—显示器 | 1 | 开机模式能耗 | 能源之星计划要求－显示器 （版本5.1） VESA FPDM 标准 2.0版本 |  |  |
|  |  | 2 | 睡眠模式能耗 |  |  |  |
|  |  | 3 | 关机模式能耗 |  |  |  |
| 4 | 能源之星—音视频产品 | 1 | 自动降耗 | 能源之星计划要求－音视频产品 （版本2.1） |  |  |
|  |  | 2 | 空闲模式 |  |  |  |
|  |  | 3 | 睡眠模式 |  |  |  |
|  |  | 4 | 光盘播放器 |  |  |  |
|  |  | 5 | 带音频功放功能的产品 |  |  |  |
| 5 | 能源之星—机顶盒 | 1 | 典型能耗 | 能源之星机顶盒产品计划要求（版本3.0） |  |  |
| 6 | 能源之星—电视机 | 1 | 睡眠模式 | 能源之星计划要求－电视机 （版本5.3） CEA-2037: 电视机平均功耗的计算 （2009年12月） CEA: 下载获取模式测试步骤 |  |  |
|  |  | 2 | 亮度测试 |  |  |  |
|  |  | 3 | 开机模式 |  |  |  |
| 6 | 能源之星—电视机 | 4 | 下载获取模式 | 能源之星计划要求－电视机 （版本5.3） CEA-2037: 电视机平均功耗的计算 （2009年12月） CEA: 下载获取模式测试步骤 |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

SCHEDULE OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0579)

NAME:Shenzhen Academy of Metrology & Quality Inspection

ADDRESS: No.4, Tongfa Road, Nanshan, Shenzhen, Guangdong, China

Accreditation Criteria:ISO/IEC 17025, requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2015-11-02                      Date of Expiry:2018-12-09

SCHEDULE 4   ACCREDITED ENERGY STAR TESTING SCOPE

| № | Test Object | Item/Parameter |  | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | ENERGY STAR Program—Computers | 1 | off mode | "ENERGY STAR Program Requirements Product Specification for Computers (Version 5.2)" Generalized Internal Power Supply Efficiency Test Protocol Rev 6.4.2 Test Method for Calculating the Energy Efficiency of Single-Voltage External Ac-Dc and Ac-Ac Power Supplies Revised August 11, 2004 |  |  |
|  |  | 2 | idle mode |  |  |  |
|  |  | 3 | sleep mode |  |  |  |
|  |  | 4 | Internal Power Supplies |  |  |  |
| 2 | ENERGY STAR Program—Imaging equipment | 1 | Typical Electricity Consumption | Energy Star Program Requirements for Imaging equipment (version 1.2) |  |  |
|  |  | 2 | Operational Mode |  |  |  |
|  |  | 3 | sleep Mode |  |  |  |
| 3 | ENERGY STAR Program—Displays | 1 | On mode | NERGY STAR Program Requirements Product Specification for Displays, (version 5.1) VESA FPDM tandard Version 2.0 |  |  |
|  |  | 2 | sleep mode |  |  |  |
|  |  | 3 | off mode |  |  |  |
| 4 | ENERGY STAR Program—Audio/Video Produc | 1 | Auto Power Down | ENERGY STAR Program Requirements Product Specification for Audio/Video, (Version 2.1) |  |  |
|  |  | 2 | Idle State |  |  |  |
|  |  | 3 | Sleep Mode |  |  |  |
|  |  | 4 | Playback of Optical Disc players |  |  |  |
|  |  | 5 | Playback of products with audio/video amplification |  |  |  |
| 5 | ENERGY STAR Program—top Boxes | 1 | Typical Energy Consumption | ENERGY STAR Program for Set-top Boxes, (Version 3.0) |  |  |
| 6 | ENERGY STAR Program—Televisions | 1 | Sleep Mode | ENERGY STAR Program Requirements for Televisions, (Version 5.3) CEA-2037: Determination of Television Average Power Consumption (December 2009) CEA: Procedure for DAM Testing |  |  |
|  |  | 2 | Luminance test |  |  |  |
|  |  | 3 | On mode |  |  |  |
|  |  | 4 | Download Acquisition Mode |  |  |  |