中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L1676）

名称:广东省中山市质量计量监督检测所

地址：广东省中山市东区博爱六路48号

认可依据：ISO/IEC 17025、EPA能源之星以及CNAS特定认可要求

签发日期：2016年02月19日         有效期至：2019年02月26日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 |  | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | 非方向固态照明灯具及附件 | 1 | 光效 | IES LM-79-08 固态照明产品光电参数的测试方法 |  |  |
|  |  | 2 | 输出 |  |  |  |
|  |  | 3 | 流明维持率 |  |  |  |
|  |  | 4 | 相关色温 |  |  |  |
|  |  | 5 | 显色指数 |  |  |  |
|  |  | 6 | 颜色维持率 |  |  |  |
|  |  | 7 | 功率因数 | ANSI C82.77-2002谐波发射限值.照明设备的电源质量要求 |  |  |
| 1 | 非方向固态照明灯具及附件 | 8 | 显色指数 | CIE 13.3-1995 光源显色性评价方法 |  |  |
|  |  | 9 | 相关色温 | CIE 15:2004 色度学 |  |  |
|  |  | 10 | 光效 | IES LM-82-12 LED光引擎和LED灯泡与温度有关的光电性能的测量方法 |  |  |
|  |  | 11 | 光输出 |  |  |  |
|  |  | 12 | 流明维持率 |  |  |  |
|  |  | 13 | 相关色温 |  |  |  |
|  |  | 14 | 显色指数 |  |  |  |
|  |  | 15 | 颜色维持率 |  |  |  |
|  |  | 16 | 光源寿命 |  |  |  |
| 2 | 方向型固态照明灯具 | 1 | 区域光分布 | IES LM-79-08 第10,12章 固态照明产品光电参数的测试方法(测角光度计) |  |  |
|  |  | 2 | 颜色角度均匀性 |  |  |  |
|  |  | 3 | 灯具光度 |  |  |  |
|  |  | 4 | 颜色角度均匀性 | IES LM-58-2013 光谱辐射测量指南 |  |  |
|  |  | 5 | 显色指数 | CIE 13.3-1995 光源显色性评价方法 |  |  |
|  |  | 6 | 相关色温 | CIE 15:2004 色度学 |  |  |
| 2 | 方向型固态照明灯具 | 7 | 光效 | IES LM-79-08 固态照明产品光电参数的测试方法 |  |  |
|  |  | 8 | 光输出 |  |  |  |
|  |  | 9 | 流明维持率 |  |  |  |
| 2 | 方向型固态照明灯具 | 10 | 相关色温 | IES LM-79-08 固态照明产品光电参数的测试方法 |  |  |
|  |  | 11 | 显色指数 |  |  |  |
|  |  | 12 | 颜色维持率 |  |  |  |
| 3 | LED方向型灯 | 1 | 光效 | IES LM-79-08 固态照明产品光电参数的测试方法方法 |  |  |
|  |  | 2 | 输出 |  |  |  |
|  |  | 3 | 中心光强 |  |  |  |
|  |  | 4 | 光强分布 |  |  |  |
|  |  | 5 | 流明维持率 |  |  |  |
|  |  | 6 | 寿命 |  |  |  |
|  |  | 7 | 相关色温 |  |  |  |
|  |  | 8 | 显色指数 |  |  |  |
|  |  | 9 | 颜色维持率 |  |  |  |
|  |  | 10 | 颜色角度均匀性 |  |  |  |
|  |  | 11 | 功率因数 | ANSI C82.77-2002 第 6 、7章 谐波发射限值.照明设备的电源质量要求 |  |  |
|  |  | 12 | 瞬态保护 | ANSI C62.41.2-2002 IEEE 推荐的低压交流电路 (1000V及以下)浪涌特性试验 |  |  |
|  |  | 13 | 相关色温 | CIE 15:2004 色度学 |  |  |
|  |  | 14 | 相关色温 | ANSI C78.377-2011 固态照明产品的色度指标 |  |  |
| 3 | LED方向型灯 | 15 | 显色指数 | CIE 13.3-1995 光源显色性评价方法 |  |  |
|  |  | 16 | 最小中心光强 – PAR 和 MR灯 | 能源之星最小中心光强计算工具 |  |  |
|  |  | 17 | 流明维持率 | 能源之星项目对灯产品的要求 版本1.0：升温寿命测试 |  |  |
|  |  | 18 | 寿命 |  |  |  |
| 3 | LED方向型灯 | 19 | 流明维持率 | 能源之星项目对灯产品的要求 版本1.0：室温寿命测试 |  |  |
|  |  | 20 | 寿命 |  |  |  |
|  |  | 21 | 温升出光率 | 能源之星项目对灯产品的要求 版本1.0: 温升出光率 |  |  |
|  |  | 22 | 启动时间 | 能源之星项目对灯产品的要求 版本1.0：启动时间 |  |  |
|  |  | 23 | 带调光器光输出 | 能源之星项目对灯产品的要求 版本1.0: 带调光器光输出 |  |  |
|  |  | 24 | 光源闪烁 | 能源之星项目对灯产品的要求 版本1.0:光源闪烁 |  |  |
|  |  | 25 | 噪声 | 能源之星项目对灯产品的要求 版本1.0: 噪声 |  |  |
| 4 | LED全方向型灯和装饰灯 | 1 | 光效 | IES LM-79-08 固态照明产品光电参数的测试方法 |  |  |
|  |  | 2 | 输出 |  |  |  |
|  |  | 3 | 中心光强 |  |  |  |
| 4 | LED全方向型灯和装饰灯 | 4 | 光强分布 | IES LM-79-08 固态照明产品光电参数的测试方法 |  |  |
|  |  | 5 | 流明维持率 |  |  |  |
|  |  | 6 | 寿命 |  |  |  |
|  |  | 7 | 相关色温 |  |  |  |
|  |  | 8 | 显色指数 |  |  |  |
|  |  | 9 | 颜色维持率 |  |  |  |
|  |  | 10 | 颜色角度均匀性 |  |  |  |
|  |  | 11 | 功率因数 | ANSI C82.77-2002 第 6 、7章 谐波发射限值.照明设备的电源质量要求 |  |  |
|  |  | 12 | 瞬态保护 | ANSI C62.41.2-2002 IEEE 推荐的低压交流电路 (1000V及以下)浪涌特性试验 |  |  |
|  |  | 13 | 相关色温 | CIE 15:2004 色度学 |  |  |
|  |  | 14 | 显色指数 | CIE 13.3-1995 光源显色性评价方法 |  |  |
| 4 | LED全方向型灯和装饰灯 | 15 | 流明维持率 | 能源之星项目对灯产品的要求 版本1.0：升温寿命测试 |  |  |
|  |  | 16 | 寿命 |  |  |  |
|  |  | 17 | 流明维持率 | 能源之星项目对灯产品的要求 版本1.0：室温寿命测试 |  |  |
|  |  | 18 | 寿命 |  |  |  |
| 4 | LED全方向型灯和装饰灯 | 19 | 启动时间 | 能源之星项目对灯产品的要求 版本1.0：启动时间 |  |  |
|  |  | 20 | 带调光器光输出 | 能源之星项目对灯产品的要求 版本1.0: 带调光器光输出 |  |  |
|  |  | 21 | 光源闪烁 | 能源之星项目对灯产品的要求 版本1.0:光源闪烁 |  |  |
|  |  | 22 | 噪声 | 能源之星项目对灯产品的要求 版本1.0: 噪声 |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

SCHEDULE OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L1676)

NAME:Guangdong Zhongshan Supervision Testing Institute of Quality and Metrology

ADDRESS:No.48, Boai 6th Road, Dongqu, Zhongshan, Guangdong, China

Accreditation Criteria:ISO/IEC 17025, requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2016-02-19                      Date of Expiry:2019-02-26

SCHEDULE 4   ACCREDITED ENERGY STAR TESTING SCOPE

| № | Test Object | Item/Parameter |  | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | Non-directional SSL Luminaires and Subcomponents | 1 | Efficacy | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 2 | Output |  |  |  |
|  |  | 3 | Lumen Maintenance |  |  |  |
|  |  | 4 | CCT |  |  |  |
|  |  | 5 | CRI |  |  |  |
|  |  | 6 | Color Maintenance |  |  |  |
| 1 | Non-directional SSL Luminaires and Subcomponents | 7 | Power Factor | ANSI C82.77-2002 Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment |  |  |
|  |  | 8 | CRI | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
|  |  | 9 | CCT | CIE Pub. No. 15:2004 Colorimetry |  |  |
|  |  | 10 | Efficacy | IES LM-82-12 Characterization of LED Light Engines and LED Lamps for Electrical and Photometric Properties as a Function of Temperature |  |  |
|  |  | 11 | Light Output |  |  |  |
|  |  | 12 | Lumen Maintenance |  |  |  |
|  |  | 13 | CCT |  |  |  |
|  |  | 14 | CRI |  |  |  |
|  |  | 15 | Color Maintenance |  |  |  |
| 1 | Non-directional SSL Luminaires and Subcomponents | 16 | Light Source Life | IES LM-82-12 Characterization of LED Light Engines and LED Lamps for Electrical and Photometric Properties as a Function of Temperature |  |  |
| 2 | Directional Solid State Luminaires | 1 | Zonal Lumen Distribution | IES LM-79-08 sections 10 and 12 Electrical and Photometric Measurements of Solid-State Lighting Products (Goniophotometer) |  |  |
|  |  | 2 | Color Angular Uniformity |  |  |  |
|  |  | 3 | Luminaire Photometry |  |  |  |
|  |  | 4 | Color Angular Uniformity | IES LM-58-13 Guide to Spectroradiometric Measurements |  |  |
|  |  | 5 | CRI | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
|  |  | 6 | CCT | CIE Pub. No. 15: 2004 Colorimetry |  |  |
| 2 | Directional Solid State Luminaires | 7 | Efficacy | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 8 | Light Output |  |  |  |
|  |  | 9 | Lumen Maintenance |  |  |  |
|  |  | 10 | CCT |  |  |  |
|  |  | 11 | CRI |  |  |  |
|  |  | 12 | Color Maintenance |  |  |  |
| 3 | LED Directional Lamps | 1 | Efficacy | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 2 | Output |  |  |  |
| 3 | LED Directional Lamps | 3 | Center Beam Intensity | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 4 | Luminous Intensity Distribution |  |  |  |
| 3 | LED Directional Lamps | 5 | Lumen Maintenance | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 6 | Lifetime |  |  |  |
|  |  | 7 | CCT |  |  |  |
|  |  | 8 | CRI |  |  |  |
|  |  | 9 | Color Maintenance |  |  |  |
|  |  | 10 | Color Angular Uniformity |  |  |  |
|  |  | 11 | Power Factor | ANSI C82.77-2002 Sections 6 and 7 Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment |  |  |
|  |  | 12 | Transient Protection | ANSI C62.41.2-2002 IEEE Recommended Practice on Characterization of Surges in Low Voltage (1000V and Less) AC Power Circuits |  |  |
|  |  | 13 | CCT | CIE Pub. No. 15:2004 Colorimetry |  |  |
| 3 | LED Directional Lamps | 14 | CCT | ANSI C78.377-2011 Specifications for the Chromaticity of Solid State Lighting Products |  |  |
|  |  | 15 | CRI | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
| 3 | LED Directional Lamps | 16 | Minimum Center Beam Intensity – PAR and MR lamps | ENERGY STAR Tool for Calculating Minimum Center Beam Intensity |  |  |
|  |  | 17 | Lumen Maintenance | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Life Testing |  |  |
|  |  | 18 | Lifetime |  |  |  |
| 3 | LED Directional Lamps | 19 | Lumen Maintenance | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Ambient Temperature Life Testing |  |  |
|  |  | 20 | Lifetime |  |  |  |
|  |  | 21 | ETLOR | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Light Output Ratio |  |  |
|  |  | 22 | Start Time | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Start Time |  |  |
|  |  | 23 | Light Output on a Dimmer | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0:Light Output on a Dimmer |  |  |
| 3 | LED Directional Lamps | 24 | Light Source Flicker | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Light Source Flicker |  |  |
|  |  | 25 | noise | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: noise |  |  |
| 4 | LED Omnidirectional and Decorative Lamps | 1 | Efficacy | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 2 | Output |  |  |  |
|  |  | 3 | Center Beam Intensity |  |  |  |
|  |  | 4 | Luminous Intensity Distribution |  |  |  |
|  |  | 5 | Lumen Maintenance |  |  |  |
|  |  | 6 | Lifetime |  |  |  |
|  |  | 7 | CCT |  |  |  |
|  |  | 8 | CRI |  |  |  |
| 4 | LED Omnidirectional and Decorative Lamps | 9 | Color Maintenance | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 10 | Color Angular Uniformity |  |  |  |
|  |  | 11 | Power Factor | ANSI C82.77-2002 Sections 6 and 7 Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment |  |  |
| 4 | LED Omnidirectional and Decorative Lamps | 12 | Transient Protection | ANSI C62.41.2-2002 IEEE Recommended Practice on Characterization of Surges in Low Voltage (1000V and Less) AC Power Circuits |  |  |
|  |  | 13 | CCT | CIE Pub. No. 15:2004 Colorimetry |  |  |
|  |  | 14 | CRI | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
| 4 | LED Omnidirectional and Decorative Lamps | 15 | Lumen Maintenance | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Life Testing |  |  |
|  |  | 16 | Lifetime |  |  |  |
|  |  | 17 | Lumen Maintenance | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Ambient Temperature Life Testing |  |  |
|  |  | 18 | Lifetime |  |  |  |
|  |  | 19 | Start Time | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Start Time |  |  |
| 4 | LED Omnidirectional and Decorative Lamps | 20 | Light Output on a Dimmer | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0:Light Output on a Dimmer |  |  |
| 4 | LED Omnidirectional and Decorative Lamps | 21 | Light Source Flicker | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Light Source Flicker |  |  |
|  |  | 22 | noise | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: noise |  |  |