中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L7877）

名称:通标标准技术服务有限公司顺德分公司检测中心

地址：广东省佛山市顺德区大良街道办事处五沙顺和南路1号欧洲工业园一号厂房

认可依据：ISO/IEC 17025、EPA能源之星以及CNAS特定认可要求

签发日期：2015年08月03日         有效期至：2018年08月02日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | 饮水机 | 1 | 待机能耗 | 饮水机-能源之星测试方法 2013-5；能源之星-饮水机的产品要求（第2.0版） |  |  |
| 2 | 电冰箱 | 1 | 能耗测试(kWh/year) | 10 CFR 430, Subpart B Appendix A – 家用冷藏箱 Appendix B – 家用冷冻箱； 能源之星-家用冰箱及冷冻箱的产品要求（第5.0版） |  |  |
| 3 | 除湿机 | 1 | 除湿量及能耗因子 | 除湿机能耗的统一测试方法 10 CFR Appendix X to Subpart B of Part 430； 能源之星-除湿机的产品要求（第3.0版） |  |  |
| 4 | 家用空调器 | 1 | EER测试 | 房间空调器的能耗统一测试方法 10 CFR 430, Subpart B, Appendix F；能源之星-家用空调器的产品要求（第3.0版） |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L7877)

NAME:SGS-CSTC Standards Technical Services Co., Ltd. Shunde Branch Testing Center

ADDRESS:Building 1, European Industrial Park, No.1, Shunhenan Road, Wusha, Daliang, Shunde District, Foshan, Guangdong, China

Accreditation Criteria:ISO/IEC 17025, requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2015-08-03                      Date of Expiry:2018-08-02

APPENDIX 4   ACCREDITED ENERGY STAR TESTING

| № | Test Object | Item/Parameter | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | Water Coolers | 1 | On Mode with No Water Draw | ENERGY STAR Test Method for Water Coolers, (Rev. May-2013) ; ENERGY STAR Program Requirements Product Specification for Water Coolers Eligibility Criteria Version 2.0 |  |  |
| 2 | Refrigerator | 1 | Energy Consumption(kWh/year) | 10 CFR 430, Subpart B Appendix A – Residential Refrigerators Appendix B – Residential Freezers; ENERGY STAR® Program Requirements Product Specification for Residential Refrigerators and Freezers Eligibility Criteria Version 5.0 |  |  |
| 3 | Dehumidifier | 1 | Capacity and Energy Factor | 10 CFR Appendix X to Subpart B of Part 430; ENERGY STAR® Program Requirements Product Specification for Dehumidifiers Eligibility Criteria Version 3.0 |  |  |
| 4 | Room Air Conditioners | 1 | EER | 10 CFR 430, Subpart B, Appendix F; ENERGY STAR Program Requirements Product Specification for Room Air Conditioners Eligibility Criteria Version 3.0 |  |  |