中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L2322）

名称:广东出入境检验检疫局检验检疫技术中心

地址：广东省佛山市顺德大良德胜东路3号

认可依据：ISO/IEC 17025、EPA能源之星以及CNAS特定认可要求

签发日期：2015年12月07日         有效期至：2019年01月09日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1.能源之星 |
| 1.1 | 房间空气调节器 | 1 | 制冷量、制热量测试 | 能源之星对家用房间空气调节器的程序要求，版本3.0 联邦电子法规 第10类能源 430 消费品能源保护计划 B部分 附录F 空调器 附录B部分，附录F 房间空气调节器和单元式空调器测试方法 ANSI/ASHRAE 标准 16-1983(RA 99) |  |  |
| 1.2 | 家用冷藏箱及冷冻箱 | 1 | 能效指数 | 能源之星对家用冷藏箱及冷冻箱的要求–第4.1版 能源之星对家用冷藏箱及冷冻箱的要求–第5.0版 联邦电子法规 第10类能源 430 消费品能源保护计划 23 冷藏箱 冷冻箱 冷冻冷藏箱 10 CFR430.23 家用制冷器具耗电量和内部容积 ANSI/AHAM HRF-1:2008 |  |  |
| 1.3 | 除湿机 | 1 | 能效指数 | 能源之星对除湿机的要求– 2.0版 – 3.0版 联邦电子法规 第10类能源 430 消费品能源保护计划 B部分 附录X 除湿机 附录B部分，附录 X 10 CFR 430 Appendix X to Subpart B 除湿机 ANSI/AHAM Standard DH-1-2008 |  |  |
| 1.4 | 分体单冷空调器及冷暖空调器 | 1 | 制冷量、制热量测试 | 能源之星对家用单元式空调和热泵设备的要求 联邦电子法规 第10类能源 430 消费品能源保护计划 空调器 附录B部分，附录M 单元式空调和热泵设备的性能试验方法 ANSI/ASHRAE 37-2009 |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

SCHEDULE OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L2322)

NAME:Guangdong Entry-Exit Inspection and Quarantine Bureau Inspection and Quarantine Technology Center

ADDRESS:No.3 East Desheng Road, Shunde Daliang, Foshan, Guangdong, China

Accreditation Criteria:ISO/IEC 17025, requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2015-12-07                      Date of Expiry:2019-01-09

SCHEDULE 4   ACCREDITED ENERGY STAR TESTING SCOPE

| № | Test Object | Item/Parameter | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1.Energy Star |
| 1.1 | Residential Room Air Conditioners | 1 | cool capacity test，heating capacity test | ENERGY STAR Program Requirements Product Specification for Residential Room Air Conditioners,Version 3.0 10 CFR 430, Subpart B, Appendix F |  |  |
| 1.2 | Refrigerators and Freezers | 1 | Energy consumption | ENERGY STAR criteria for refrigerators, refrigerator-freezers, and freezers were changed on September 15, 2014. PART 430—ENERGY CONSERVATION PROGRAM FOR CONSUMER PRODUCTS Title 10: Energy 10 CFR430.23 Test procedures for the measurement of energy and water consumption. ANSI/AHAM HRF-1:2008 Energy and Internal Volume of Refrigerating Appliances |  |  |
| 1.3 | Dehumidifers | 1 | Energy consumption | ENERGY STAR requirements as listed in the Version 3.0 ENERGY STAR Program Requirements for Dehumidifiers that are effective as of October 1, 2012. PART 430—ENERGY CONSERVATION PROGRAM FOR CONSUMER PRODUCTS Title 10: Energy ANSI/AHAM Standard DH-1-2008 Dehumidifiers |  |  |
| 1.4 | Central Air Conditioners and Air-Source Heat Pumps | 1 | cool capacity test，heating capacity test | ENERGY STAR® Program Requirements Product Specification for Air-Source Heat Pumps and Central Air Conditioners Key Product Criteria 10 CFR 430, Subpart B, Appendix M ANSI/ASHRAE 37-2009 |  |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L2322）

名称:广东出入境检验检疫局检验检疫技术中心

地址：广州市珠江新城花城大道66号

认可依据：ISO/IEC 17025、EPA能源之星以及CNAS特定认可要求

签发日期：2015年12月07日         有效期至：2019年01月09日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | 显示器 | 1 | 被测物的初始化 | 能源之星对显示器产品的程序要求（6.0版本）能源之星对显示器产品使用6.0版本的能源测试方法（2013年1月修订）VESAFPDM标准2.0版本家用电器产品待机功率测量IEC62301:2011音视频及相关设备功率的测量方法IEC62087:2011 |  |  |
|  |  | 2 | 亮度测试 |  |  |  |
| 1 | 显示器 | 3 | 对于无亮度自动控制功能被默认激活的产品的工作模式测试 | 能源之星对显示器产品的程序要求（6.0版本）能源之星对显示器产品使用6.0版本的能源测试方法（2013年1月修订）VESAFPDM标准2.0版本家用电器产品待机功率测量IEC62301:2011音视频及相关设备功率的测量方法IEC62087:2011 |  |  |
|  |  | 4 | 对于亮度自动控制功能被默认激活的产品的工作模式测试 |  |  |  |
|  |  | 5 | 睡眠模式测试 |  |  |  |
|  |  | 6 | 关机模式测试 |  |  |  |
|  |  | 7 | 附加的测试 |  |  |  |
| 2 | 电视机 | 1 | 工作模式、被动待机模式、亮度和下载获取模式的测量 | 能源之星对电视机产品的程序要求（6.1版本）NOPR对电视机的测试程序，联邦法规77 FR 2864对电视机的测试程序，10CFR § 430附录HB部分和10 CFR § 429.25（联邦法规78 FR 63823,2013年10月25日）音视频及相关设备功率的测量方法IEC62087:2011家用电器产品待机功率测量IEC62301:2011关于电视机能耗的决议ANSI/CEA-2037:2010 |  |  |
|  |  | 2 | 主动待机和低功耗模式的测量 |  |  |  |
|  |  | 3 | 自动亮度控制传感器确认测试 |  |  |  |
| 3 | 音视频产品 | 1 | 被测物的初始化 | 能源之星对音视频产品的程序要求（3.0版本） 能源之星音视频产品测试方法/能源之星对音视频产品的程序要求（2012年7月修订） |  |  |
|  |  | 2 | 对所有产品的测试程序 |  |  |  |
| 3 | 音视频产品 | 3 | 对光盘播放器的测试程序 | 能源之星对音视频产品的程序要求（3.0版本） 能源之星音视频产品测试方法/能源之星对音视频产品的程序要求（2012年7月修订） |  |  |
|  |  | 4 | 对带有音频放大器产品的测试程序 |  |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

SCHEDULE OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L2322)

NAME:Guangdong Entry-Exit Inspection and Quarantine Bureau Inspection and Quarantine Technology Center

ADDRESS:No.66 Huacheng Avenue, Zhujiang Xincheng, Guangzhou, Guangdong, China

Accreditation Criteria:ISO/IEC 17025, requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2015-12-07                      Date of Expiry:2019-01-09

SCHEDULE 4   ACCREDITED ENERGY STAR TESTING SCOPE

| № | Test Object | Item/Parameter | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | Display | 1 | Pre-Test UUT Initialization | ENERGY STAR Program Requirements Product Specification for Displays Version 6.0 ENERGY STAR Test Method for Determining Displays Energy Use Version 6.0 VESA FPDM standard 2.0 Household electrical appliances – measurement of standby power IEC 62301:2011 Methods of Measurement for the Power Consumption of Audio, Video and Related Equipment IEC 62087:2011 |  |  |
|  |  | 2 | Luminance Testing |  |  |  |
| 1 | Display | 3 | On Mode Testing for Products without ABC Enabled by Default | ENERGY STAR Program Requirements Product Specification for Displays Version 6.0 ENERGY STAR Test Method for Determining Displays Energy Use Version 6.0 VESA FPDM standard 2.0 Household electrical appliances – measurement of standby power IEC 62301:2011 Methods of Measurement for the Power Consumption of Audio, Video and Related Equipment IEC 62087:2011 |  |  |
|  |  | 4 | On Mode Testing for Products with ABC Enabled by Default |  |  |  |
| 1 | Display | 5 | Sleep Mode Testing | ENERGY STAR Program Requirements Product Specification for Displays Version 6.0 ENERGY STAR Test Method for Determining Displays Energy Use Version 6.0 VESA FPDM standard 2.0 Household electrical appliances – measurement of standby power IEC 62301:2011 Methods of Measurement for the Power Consumption of Audio, Video and Related Equipment IEC 62087:2011 |  |  |
|  |  | 6 | Off Mode Testing |  |  |  |
|  |  | 7 | Additional Testing |  |  |  |
| 2 | Television | 1 | On Mode, Standby-Passive Mode, Luminance, and DAM Testing | ENERGY STAR Program Requirements Product Specification for Televisions (Eligibility Criteria Version 6.1) The Notice of Proposed Rulemaking (NOPR) Test Procedures for Television Sets published in the Federal Register, 77 FR 2864 The Final Rule Test Procedures for Television Sets incorporated in Appendix H to Subpart B of 10 CFR § 430 and 10 CFR § 429.25 (Federal Register 78 FR 63823 October 25, 2013) ENERGY STAR Test Method for Televisions, Rev. Aug-2010 Methods of measurement for the power consumption of audio, video and related equipment IEC62087:2011 Household electrical appliances – Measurement of standby power IEC62301:2011 Determination of Television Average Power Consumption ANSI/CEA-2037:2010 |  |  |
| 2 | Television | 2 | Standby-Active, Low Mode Testing | ENERGY STAR Program Requirements Product Specification for Televisions (Eligibility Criteria Version 6.1) The Notice of Proposed Rulemaking (NOPR) Test Procedures for Television Sets published in the Federal Register, 77 FR 2864 The Final Rule Test Procedures for Television Sets incorporated in Appendix H to Subpart B of 10 CFR § 430 and 10 CFR § 429.25 (Federal Register 78 FR 63823 October 25, 2013) ENERGY STAR Test Method for Televisions, Rev. Aug-2010 Methods of measurement for the power consumption of audio, video and related equipment IEC62087:2011 Household electrical appliances – Measurement of standby power IEC62301:2011 Determination of Television Average Power Consumption ANSI/CEA-2037:2010 |  |  |
| 2 | Television | 3 | ABC Sensor Validation Testing | ENERGY STAR Program Requirements Product Specification for Televisions (Eligibility Criteria Version 6.1) The Notice of Proposed Rulemaking (NOPR) Test Procedures for Television Sets published in the Federal Register, 77 FR 2864 The Final Rule Test Procedures for Television Sets incorporated in Appendix H to Subpart B of 10 CFR § 430 and 10 CFR § 429.25 (Federal Register 78 FR 63823 October 25, 2013) ENERGY STAR Test Method for Televisions, Rev. Aug-2010 Methods of measurement for the power consumption of audio, video and related equipment IEC62087:2011 Household electrical appliances – Measurement of standby power IEC62301:2011 Determination of Television Average Power Consumption ANSI/CEA-2037:2010 |  |  |
| 3 | Audio/video products | 1 | Pre-test uut initialization | ENERGY STAR Program Requirements Product Specification for Audio/Video Version 3.0 ENERGY STAR Test Method for Audio/Video, ENERGY STAR Program Requirements Product Specification for Audio/Video, Rev. July-2012 |  |  |
|  |  | 2 | Test procedures for all products |  |  |  |
|  |  | 3 | Test procedures for optical disc players |  |  |  |
|  |  | 4 | Test procedures for products with audio amplification |  |  |  |