中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L3574）

名称: 深圳市倍通科技有限公司认证检测中心

地址：广东省深圳市南山区南头关口二路智恒战略性新兴产业园23-24栋

认可依据：ISO/IEC 17025:2005、EPA能源之星以及CNAS特定认可要求

签发日期：2011年09月29日         有效期至：2014年09月28日

更新日期：2013年05月21日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 领域 代码 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 1 | 能源之星荧光灯（非方向型,自镇流灯，镇流器） | 1 | 全部参数 | 0438 | 能源之星灯具标准规范v1.1 |  |  |
|  |  | 2 | 光效、光输出、流明维护、相关色温、显色指数 | 0438 | IES LM-9-09荧光灯的光电测量 |  |  |
| 1 | 能源之星荧光灯（非方向型,自镇流灯，镇流器） | 3 | 光效、光输出、流明维护、相关色温、显色指数 | 0438 | IES LM-66-00单端紧凑型荧光灯光电测量 |  |  |
|  |  | 4 | 光源寿命，流明维护 | 0438 | IES LM-40-01荧光灯寿命测试 |  |  |
|  |  | 5 | 光源寿命，流明维护 | 0438 | IES LM-65-01紧凑型荧光灯寿命测试 |  |  |
| 2 | 能源之星LED封装/阵列/模块 | 1 | 光源寿命，光通维持率，颜色维持率 | 0438 | IES LM-80-08 LED光源光通维持率测量 |  |  |
| 3 | 能源之星紧凑型荧光灯（CFL） | 1 | 全部参数 | 0438 | 能源之星紧凑型荧光灯能效规范4.3 |  |  |
|  |  | 2 | 光效、光输出、流明维护、相关色温、显色指数 | 0438 | IESNA LM-9-09 荧光灯的电参数和光度测量 |  |  |
|  |  | 3 | 光源寿命，流明维护 | 0438 | IESNA LM-40-2001 荧光灯寿命试验测试方法 |  |  |
|  |  | 4 | 全部参数 | 0438 | IESNA LM-41-1998 室内荧光灯的光度测量方法 |  |  |
|  |  | 5 | 光源寿命，流明维护 | 0438 | IESNA LM-65-01 单端荧光灯寿命试验方法 |  |  |
| 3 | 能源之星紧凑型荧光灯（CFL） | 6 | 光效、光输出、流明维护、相关色温、显色指数 | 0438 | IESNA LM-66-00 单端紧凑式荧光灯的电参数和色度测量 |  |  |
| 4 | 能源之星整体式LED装饰灯 | 1 | 全部参数 | 0438 | 能源之星整体式LED灯能效规范1.4 |  |  |
|  |  | 2 | 光源寿命，流明维护 | 0438 | IES LM-65-01 单端荧光灯寿命试验方法 |  |  |
|  |  | 3 | 相关色温及Duv，显色指数，色彩维护，功率因数，光效，光输出，色空间，流明维护 | 0438 | IES LM-79-08 固态照明产品的电性能和光性能测量方法 |  |  |
|  |  | 4 | 光源寿命，光通维持率，颜色维持率 | 0438 | IES LM-80-08 LED光源光通量维持率的测量 |  |  |
|  |  | 5 | 全部参数 | 0438 | 能源之星紧凑型荧光灯能效规范4.0附录E |  |  |
| 5 | 能源之星装饰灯带/串 | 1 | 全部参数 | 0438 | 能源之星装饰灯带/串能效规范1.5 |  |  |
|  |  | 2 | 光通量 | 0438 | CIE 84-1989 光通量的测量 |  |  |
|  |  | 3 | 全部参数 | 0438 | 3.CIE 127-1997 LED的测量 |  |  |
| 6 | LED光源 | 1 | 光源寿命，光通维持率，颜色维持率 | 0438 | IES LM-80-08 LED光源流明维持率的测量方法 |  |  |
|  |  | 2 | 光通量 | 0438 | CIE 84-1989光通量的测量 |  |  |
|  |  | 3 | 全项 | 0438 | CIE 127-1997 LED的测量 |  |  |
| 7 | 固态光源灯具 | 1 | 全项 | 0438 | 美国能源之星对固态光源灯具的要求 版本 1.3 |  |  |
|  |  | 2 | 全项 | 0438 | 美国能源之星对紧凑型荧光灯的要求 版本 4.3 |  |  |
|  |  | 3 | 显色指数 | 0438 | CIE 13.3-1995光源显色指数的测试方法和规定 |  |  |
|  |  | 4 | 全项 | 0438 | CIE 15:2004 色度测量方法 |  |  |
|  |  | 5 | 相关色温及Duv，显色指数，色彩维护，功率因数，光效，光输出，色空间，流明维护 | 0438 | IES LM-79-08 固态照明灯具电性能和光性能测量方法 |  |  |
|  |  | 6 | 光源寿命，光通维持率，颜色维持率 | 0438 | IES LM-80-08 LED光源流明维持率的测量方法 |  |  |
|  |  | 7 | 色空间分布 | 0438 | IES LM-58-1994分布光度计的测量方法 |  |  |
|  |  | 8 | 光源寿命，流明维护 | 0438 | IES LM-65-01 紧凑型荧光的寿命测试方法 |  |  |
|  |  | 9 | 光通量 | 0438 | CIE 84-1989光通量的测量 |  |  |
|  |  | 10 | 全项 | 0438 | CIE 127-1997 LED的测量 |  |  |
| 8 | 成品灯具 | 1 | 部分项 | 0438 | 美国能源之星对成品灯的要求 版本 1.1 |  |  |
|  |  | 2 | 部分项 | 0438 | 美国能源之星对紧凑型荧光灯的要求 版本 4.3 |  |  |
| 8 | 成品灯具 | 3 | 光效、光输出、流明维护、相关色温、显色指数 | 0438 | IES LM-9-09 荧光灯的电气和光学测量 |  |  |
|  |  | 4 | 光源寿命，流明维护 | 0438 | IES LM-40-01 荧光灯的寿命测试方法 |  |  |
|  |  | 5 | 全项 | 0438 | IES LM-41-1998 室内荧光灯的光学测量 |  |  |
|  |  | 6 | 色空间分布 | 0438 | IES LM-58-1994 分布光度计的测量方法 |  |  |
|  |  | 7 | 光源寿命，流明维护 | 0438 | IES LM-65-2010 紧凑型荧光的寿命测试方法 |  |  |
|  |  | 8 | 光效、光输出、流明维护、相关色温、显色指数 | 0438 | IES LM-66-00 紧凑型荧光灯的电气和光学测量方法 |  |  |
|  |  | 9 | 相关色温及Duv，显色指数，色彩维护，功率因数，光效，光输出，色空间，流明维护 | 0438 | IES LM-79-09 固态照明灯具电性能和光性能测量方法 |  |  |
|  |  | 10 | 全项 | 0438 | IES LM-78-2007 积分球测量总光通量的方法 |  |  |
| 8 | 成品灯具 | 11 | 光源寿命，光通维持率，颜色维持率 | 0438 | IES LM-80-08 LED光源流明维持率的测量方法 |  |  |
|  |  | 12 | 全项 | 0438 | IES LM-82-2012 LED引擎和整体式LED灯泡在特定温度下的电气和光学测量方法 |  |  |
|  |  | 13 | 显色指数 | 0438 | CIE 13.3 - 1995 光源显色指数的测试方法和规定 |  |  |
|  |  | 14 | 全项 | 0438 | CIE 15 - 2004 色度测量方法 |  |  |
|  |  | 15 | 功率因数，工作频率 | 0438 | ANSI C82.2-2002 荧光灯镇流器测试方法 |  |  |
|  |  | 16 | 性能测试 | 0438 | ANSI C78.5 - 2003 紧凑型荧光灯的性能参数 |  |  |
|  |  | 17 | 功率因数 | 0438 | ANSI C82.77-2002 灯具产品的电源质量要求 |  |  |
|  |  | 18 | 全项 | 0438 | ANSI C78.376-2001 荧光灯色度分类 |  |  |
|  |  | 19 | 光通量 | 0438 | CIE 84-1989 光通量的测量 |  |  |
|  |  | 20 | 全项 | 0438 | CIE 127-1997 LED的测量 |  |  |
|  |  | 21 | 全项 | 0438 | IES LM-10-1996 户外荧光灯具的光学测量 |  |  |
| 9 | 充电器（BCSs） | 1 | 全部参数 | 0438 | 能源之星单路输出交流-直流和交流-交流外部电源合格依据 (2.0版) 2010 |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L3574)

NAME:Certification & Testing Center of Shenzhen BST Technology Co., Ltd.

ADDRESS:Building 23-24, Zhiheng Indutrial Park, Guankouer Road, Nantou, Nanshan District, Shenzhen, Guangdong, China

Accreditation Criteria:ISO/IEC 17025:2005 , requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2011-09-29                      Date of Expiry:2014-09-28

# Date of Update：2013-05-21

APPENDIX 4   ACCREDITED ENERGY STAR TESTING

| № | Test Object | Item/Parameter | Code of Field | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |  |
| 1 | ENERGY STAR® Luminaires: Fluorescent (Non Directional, Self-Ballasted Lamps and Lamp-Ballast Platforms) | 1 | All parameters | 0438 | ENERGY STAR® Program Requirements Product Specification for Luminaires V1.1 |  |  |
|  |  | 2 | Electrical and Photometric | 0438 | IES LM-9-09 Electric and Photometric Measurements of Fluorescent Lamps |  |  |
| 1 | ENERGY STAR® Luminaires: Fluorescent (Non Directional, Self-Ballasted Lamps and Lamp-Ballast Platforms) | 3 | Electrical and Photometric | 0438 | IES LM-66-00 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps |  |  |
|  |  | 4 | Lamp lifetime | 0438 | IES LM-40-01 Life Testing of Fluorescent Lamps |  |  |
|  |  | 5 | Lamp lifetime | 0438 | IES LM-65-01 Life Testing of Compact Fluorescent Lamps |  |  |
| 2 | ENERGY STAR® LED Packages/Arrays/modules | 1 | Lumen Maintenance | 0438 | IES LM-80-08 Measuring Lumen Maintenance of LED Light Sources |  |  |
| 3 | ENERGY STAR®Compact Fluorescent Lamps (CFLs) | 1 | All Parameters | 0438 | ENERGY STAR® Program Requirements for CFLs ENERGY STAR Eligibility.Criteria Energy-Efficiency Criteria–Version 4.3 |  |  |
| 3 | ENERGY STAR®Compact Fluorescent Lamps (CFLs) | 2 | Electrical and Photometric | 0438 | IESNA LM-9-09 Electric & Photometric Measurement of Fluorescent Lamps |  |  |
| 3 | ENERGY STAR®Compact Fluorescent Lamps (CFLs) | 3 | Lamp lifetime | 0438 | IESNA LM-40-2001 Approved Method for Life Performance Testing of Fluorescent Lamps |  |  |
|  |  | 4 | Efficacy, Output, Zonal Lumen Distribution | 0438 | IESNA LM-41-1998 Approved Method for Photometric Testing of Indoor Fluorescent Luminaires |  |  |
|  |  | 5 | Light Source Life | 0438 | IESNA LM-65-01Approved Method for Life Testing of Single-ended Compact Fluorescent Lamps |  |  |
|  |  | 6 | Lamp Power (Watts) & Configuration | 0438 | IESNA LM-66-00 Electrical and Photometric Measurements of Single Ended Compact Fluorescent Lamps |  |  |
| 4 | ENERGY STAR® Integral LED Lamps(Omnidirectional/Directional) | 1 | All Parameters | 0438 | ENERGY STAR® Program Requirements for Integral LED Lamps Eligibility Criteria -Version 1.4 |  |  |
| 4 | ENERGY STAR® Integral LED Lamps(Omnidirectional/Directional) | 2 | Light Source Life | 0438 | IES LM-65-01 Life Testing of Compact Fluorescent Lamps |  |  |
|  |  | 3 | Electrical and Photometric | 0438 | IES LM-79-08 Electrical and Photometric Measurement of Solid State Lighting Products |  |  |
| 4 | ENERGY STAR® Integral LED Lamps(Omnidirectional/Directional) | 4 | Lumen Maintenance | 0438 | IES LM-80-08 Approved Method for Measuring Lumen Maintenance of LED Light Sources |  |  |
|  |  | 5 | ALL items | 0438 | ENERGY STAR CFL version 4.0 and technical clarifications in Appendix E |  |  |
| 5 | ENERGY STAR® Decorative Light Strings | 1 | ALL items | 0438 | ENERGY STAR® Program Requirements for Decorative Light Strings v1.5 |  |  |
|  |  | 2 | Luminance flux | 0438 | CIE 84-1989, The Measurement of Luminous Flux |  |  |
|  |  | 3 | ALL items | 0438 | CIE 127-1997, Measurement of LEDs |  |  |
| 6 | Light Sources | 1 | Lumen Maintenance | 0438 | IES LM-80-08 Measuring Lumen Maintenance of LED Light Sources |  |  |
|  |  | 2 | Luminance flux | 0438 | CIE 84-1989 The Measurement of Luminous Flux |  |  |
|  |  | 3 | ALL items | 0438 | CIE 127-1997 Measurement of LEDs |  |  |
| 7 | SSL | 1 | Part of items | 0438 | ENERGY STAR® Program Requirements for Solid-State Lighting (SSL) Products Version 1.3 |  |  |
|  |  | 2 | Part of items | 0438 | ENERGY STAR® Program Requirementsfor Compact Fluorescent Lamps (CFLs) Version 4.3 |  |  |
| 7 | SSL | 3 | Color rendering | 0438 | CIE 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
|  |  | 4 | ALL items | 0438 | CIE 15:2004 Colorimetry |  |  |
| 7 | SSL | 5 | Electrical and Photometric | 0438 | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 6 | Lumen Maintenance | 0438 | IESNA LM-80-08 Measuring Lumen Maintenance of LED Light Sources |  |  |
|  |  | 7 | ALL items | 0438 | IESNA LM-58-1994 Guide to Spectroradiometric Measurements |  |  |
|  |  | 8 | Light Source Life | 0438 | IES LM-65-01 Approved Method for Life Testing of Compact Fluorescent Lamps |  |  |
|  |  | 9 | Luminance flux | 0438 | CIE 84-1989 The Measurement of Luminous Flux |  |  |
|  |  | 10 | ALL items | 0438 | CIE 127-1997 Measurement of LEDs |  |  |
| 8 | Final Luminaires | 1 | Part of items | 0438 | ENERGY STAR® Program Requirements Product Specification for Luminaires (Light Fixtures) Version 1.1 |  |  |
| 8 | Final Luminaires | 2 | ALL items | 0438 | ENERGY STAR® Program Requirements for Compact Fluorescent Lamps (CFLs) Version 4.3 |  |  |
|  |  | 3 | Electrical and Photometric | 0438 | IES LM-9-09 Electric & Photometric Measurement of Fluorescent Lamps |  |  |
| 8 | Final Luminaires | 4 | Lamp lifetime | 0438 | IES LM-40-01 Approved Method for Life Performance Testing of Fluorescent Lamps |  |  |
|  |  | 5 | Efficacy, Output, Zonal Lumen Distribution | 0438 | IES LM-41-1998 Approved Method for Photometric Testing of Indoor Fluorescent Luminaries |  |  |
|  |  | 6 | Spectroradiometric | 0438 | IES LM-58-1994 Guide to Spectroradiometric Measurements |  |  |
|  |  | 7 | Light Source Life | 0438 | IES LM-65-2010 A pproved Method for Life Testing of Compact Fluorescent Lamps |  |  |
| 8 | Final Luminaires | 8 | Lamp Power (Watts) & Configuration | 0438 | IES LM-66-01 Electrical and Photometric Measurements of Single Ended Compact Fluorescent Lamps |  |  |
|  |  | 9 | Electrical and Photometric | 0438 | IES LM-79-09,ALL items Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 10 | ALL items | 0438 | IES LM-78-2007 Approved Method for Total Luminous Flux Measurement of Lamps using an Integrating Sphere Photometer |  |  |
|  |  | 11 | Lumen Maintenance | 0438 | IES LM-80-08 Measuring Lumen Maintenance of LED Light Sources |  |  |
|  |  | 12 | ALL items | 0438 | IES LM-82-2012 Approved Method for the Characterization of LED Light Engines and Integrated LED Lamps for Electrical and Photometric as a Function of Temperature |  |  |
| 8 | Final Luminaires | 13 | Color rendering | 0438 | CIE 13.3 - 1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
|  |  | 14 | ALL items | 0438 | CIE 15 - 2004Colorimetry |  |  |
|  |  | 15 | ALL items | 0438 | ANSI C82.2-2002 IESNA Technical Memo on LED source and Systems |  |  |
|  |  | 16 | Part of items | 0438 | ANSI C78.5 - 2003 Specifications for Performance of SBCFL |  |  |
|  |  | 17 | Power factor | 0438 | ANSI C82.77-2002 Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment |  |  |
|  |  | 18 | ALL items | 0438 | ANSI C78.376-2001 Electric Fluorescent Lamps Specifications for the Chromaticity |  |  |
|  |  | 19 | Luminance flux | 0438 | CIE 84-1989 The Measurement of Luminous Flux |  |  |
|  |  | 20 | ALL items | 0438 | CIE 127-1997 Measurement of LEDs |  |  |
| 8 | Final Luminaires | 21 | ALL items | 0438 | IES LM-10-1996 Photometric Testing of Outdoor Fluorescent Luminaires |  |  |
| 9 | Battery Charging Systems | 1 | All Parameters | 0438 | Energy Star Program Requiremnents for Single Voltage External Ac-Dc and Ac-Ac power Supplies Eligiblity Criteria (Version 2.0): 2010 |  |  |