中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0236）

名称: 厦门市产品质量监督检验院

地址：福建省厦门市翔安产业区翔星路88号育成中心

认可依据：ISO/IEC 17025:2005、EPA能源之星以及CNAS特定认可要求

签发日期：2014年06月30日         有效期至：2017年06月29日

更新日期：2014年06月30日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 领域 代码 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 1 | 显示器 | 1 | 全部项目 | 04 | 能源之星项目对显示器产品的要求 版本6.0 |  |  |
|  |  |  |  |  | 能源之星显示器能耗测试方法 版本6.0 2013年1月修订 |  |  |
| 2 | 平板电视 | 1 | 全部项目 | 04 | 能源之星项目对电视产品的要求 版本6.1 |  |  |
|  |  |  |  |  | 能源之星电视测试方法，能源之星项目对电视产品的要求 2010年8月修订 |  |  |
| 2 | 平板电视 | 1 | 全部项目 | 04 | DOE试验程序 10CFR430附录H |  |  |
| 3 | 非方向型荧光灯具 | 1 | 上升时间 | 04 | ANSI C78.5-2003 紧凑型自镇流荧光灯性能规范 |  |  |
|  |  | 2 | 功率因数 |  | ANSI C82.2-2002 荧光灯镇流器测量方法 |  |  |
|  |  | 3 | 工作频率 |  |  |  |  |
|  |  | 4 | 显色指数 |  | CIE Pub. No. 13.3-1995 测量和定义光源显色性的方法 |  |  |
|  |  | 5 | 相关色温 |  | CIE Pub. No. 15:2004 色度 |  |  |
|  |  | 6 | 光效 |  | IES LM-9-09 荧光灯的电气和光度测量 |  |  |
|  |  | 7 | 光输出 |  |  |  |  |
|  |  | 8 | 流明维持率 |  |  |  |  |
|  |  | 9 | 相关色温 |  |  |  |  |
|  |  | 10 | 显色指数 |  |  |  |  |
|  |  | 11 | 光源寿命 |  | IES LM-40-10 荧光灯寿命性能测试方法 |  |  |
|  |  | 12 | 流明维持率 |  |  |  |  |
|  |  | 13 | 光源寿命 |  | IES LM-65-10 单端荧光灯的寿命测试 |  |  |
|  |  | 14 | 流明维持率 |  |  |  |  |
|  |  | 15 | 光效 |  | IES LM-66-11 单端紧凑型荧光灯的光电参数测试方法 |  |  |
| 3 | 非方向型荧光灯具 | 16 | 输出 | 04 | IES LM-66-11 单端紧凑型荧光灯的光电参数测试方法 |  |  |
|  |  | 17 | 流明维持率 |  |  |  |  |
|  |  | 18 | 相关色温 |  |  |  |  |
|  |  | 19 | 显色指数 |  |  |  |  |
| 4 | 方向型荧光灯具 | 1 | 上升时间 | 04 | ANSI C78.5-2003 紧凑型自镇流荧光灯性能规范 |  |  |
|  |  | 2 | 功率因数 |  | ANSI C82.2-2002 荧光灯镇流器测量方法 |  |  |
|  |  | 3 | 工作频率 |  |  |  |  |
|  |  | 4 | 显色指数 |  | CIE Pub. No. 13.3-1995 测量和定义光源显色性的方法 |  |  |
|  |  | 5 | 相关色温 |  | CIE Pub. No. 15:2004 色度 |  |  |
|  |  | 6 | 光效 |  | IES LM-9-09 荧光灯的电气和光度测量 |  |  |
|  |  | 7 | 输出 |  |  |  |  |
|  |  | 8 | 流明维持率 |  |  |  |  |
|  |  | 9 | 相关色温 |  |  |  |  |
|  |  | 10 | 显色指数 |  |  |  |  |
|  |  | 11 | 光源寿命 |  | IES LM-40-10 荧光灯寿命性能测试方法 |  |  |
|  |  | 12 | 流明维持率 |  |  |  |  |
|  |  | 13 | 光源寿命 |  | IES LM-65-10 单端荧光灯的寿命测试 |  |  |
| 4 | 方向型荧光灯具 | 14 | 流明维持率 | 04 | IES LM-65-10 单端荧光灯的寿命测试 |  |  |
|  |  | 15 | 光效 |  | IES LM-66-11 单端紧凑型荧光灯的光电参数测试方法 |  |  |
|  |  | 16 | 光输出 |  |  |  |  |
|  |  | 17 | 流明维持率 |  |  |  |  |
|  |  | 18 | 相关色温 |  |  |  |  |
|  |  | 19 | 显色指数 |  |  |  |  |
|  |  | 20 | 光效 |  | IES LM-10-13 室外荧光灯具光度测量 |  |  |
|  |  | 21 | 光输出 |  |  |  |  |
|  |  | 22 | 区域光分布 |  |  |  |  |
|  |  | 23 | 光效 |  | IES LM 41-13 室内荧光灯具光度测量 |  |  |
|  |  | 24 | 光输出 |  |  |  |  |
|  |  | 25 | 区域光分布 |  |  |  |  |
| 5 | 荧光灯镇流器 | 1 | 功率因数 | 04 | ANSI C82.2-2002 荧光灯镇流器测量方法 |  |  |
|  |  | 2 | 工作频率 |  |  |  |  |
| 6 | 荧光灯 | 1 | 显色指数 | 04 | CIE Pub. No. 13.3-1995 测量和定义光源显色性的方法 |  |  |
|  |  | 2 | 相关色温 |  | CIE Pub. No. 15:2004 色度 |  |  |
|  |  | 3 | 光效 |  | IES LM-9-09 荧光灯的电气和光度测量 |  |  |
| 6 | 荧光灯 | 4 | 光输出 | 04 | IES LM-9-09 荧光灯的电气和光度测量 |  |  |
|  |  | 5 | 流明维持率 |  |  |  |  |
|  |  | 6 | 相关色温 |  |  |  |  |
|  |  | 7 | 显色指数 |  |  |  |  |
|  |  | 8 | 光源寿命 |  | IES LM-40-10 荧光灯寿命性能测试方法 |  |  |
|  |  | 9 | 流明维持率 |  |  |  |  |
|  |  | 10 | 光源寿命 |  | IES LM-65-10 单端荧光灯的寿命测试 |  |  |
|  |  | 11 | 流明维持率 |  |  |  |  |
|  |  | 12 | 光效 |  | IES LM-66-11 单端紧凑型荧光灯的光电参数测试方法 |  |  |
|  |  | 13 | 光输出 |  |  |  |  |
|  |  | 14 | 流明维持率 |  |  |  |  |
|  |  | 15 | 相关色温 |  |  |  |  |
|  |  | 16 | 显色指数 |  |  |  |  |
| 7 | 非方向固态照明灯具及附件 | 1 | 光效 | 04 | IES LM-79-08 固态照明产品光电测量 |  |  |
|  |  | 2 | 输出 |  |  |  |  |
|  |  | 3 | 流明维持率 |  |  |  |  |
|  |  | 4 | 相关色温 |  |  |  |  |
|  |  | 5 | 显色指数 |  |  |  |  |
| 7 | 非方向固态照明灯具及附件 | 6 | 颜色维持率 | 04 | IES LM-79-08 固态照明产品光电测量 |  |  |
|  |  | 7 | 功率因数 |  | ANSI C82.77-2002 谐波发射限值—照明设备相关电能质量要求 |  |  |
|  |  | 8 | 显色指数 |  | CIE Pub. No. 13.3-1995 测量和定义光源显色性的方法 |  |  |
|  |  | 9 | 相关色温 |  | CIE Pub. No. 15: 2004 色度 |  |  |
|  |  | 10 | 光效 |  | IES LM-82-12 LED光引擎和LED灯泡的电气、光学特性与温度的关系 |  |  |
|  |  | 11 | 光输出 |  |  |  |  |
|  |  | 12 | 流明维持率 |  |  |  |  |
|  |  | 13 | 相关色温 |  |  |  |  |
|  |  | 14 | 显色指数 |  |  |  |  |
|  |  | 15 | 颜色维持率 |  |  |  |  |
|  |  | 16 | 光源寿命 |  |  |  |  |
|  |  | 17 | 光源寿命 |  | IES TM-21-11 LED光源长周期流明维持率推算 |  |  |
|  |  | 18 | 流明维持率 |  |  |  |  |
| 8 | 方向型固态照明灯具 | 1 | 区域光分布 | 04 | IES LM-79-08 第10,12章 固态照明产品光电测量(测角光度计) |  |  |
| 8 | 方向型固态照明灯具 | 2 | 颜色角度均匀性 | 04 | IES LM-79-08 第10,12章 固态照明产品光电测量(测角光度计) |  |  |
|  |  | 3 | 灯具光度 |  |  |  |  |
|  |  | 4 | 颜色角度均匀性 |  | IES LM-58-13 光辐射测量规范 |  |  |
|  |  | 5 | 显色指数 |  | CIE Pub. No. 13.3-1995 测量和定义光源显色性的方法 |  |  |
|  |  | 6 | 相关色温 |  | CIE Pub. No. 15: 2004 色度 |  |  |
|  |  | 7 | 光效 |  | IES LM-79-08 固态照明产品光电测量 |  |  |
|  |  | 8 | 光输出 |  |  |  |  |
|  |  | 9 | 流明维持率 |  |  |  |  |
|  |  | 10 | 相关色温 |  |  |  |  |
|  |  | 11 | 显色指数 |  |  |  |  |
|  |  | 12 | 颜色维持率 |  |  |  |  |
|  |  | 13 | 功率因数 |  | ANSI C82.77-2002 谐波发射限值—照明设备相关电能质量要求 |  |  |
|  |  | 14 | 光源寿命 |  | IES TM-21-11 LED光源长周期流明维持率推算 |  |  |
|  |  | 15 | 流明维持率 |  |  |  |  |
| 9 | LED封装、阵列、模组 | 1 | 光源寿命 | 04 | IES IES LM-80-08 LED光源流明维持率测量方法 |  |  |
| 9 | LED封装、阵列、模组 | 2 | 流明维持率 | 04 | IES IES LM-80-08 LED光源流明维持率测量方法 |  |  |
| 10 | 方向型紧凑型荧光灯 | 1 | 光效 | 04 | IES LM-66-11 单端紧凑型荧光灯的光电参数测试方法 |  |  |
|  |  | 2 | 输出 |  |  |  |  |
|  |  | 3 | 中心光强 |  |  |  |  |
|  |  | 4 | 流明维持率 |  |  |  |  |
|  |  | 5 | 寿命 |  |  |  |  |
|  |  | 6 | 相关色温 |  |  |  |  |
|  |  | 7 | 显色指数 |  |  |  |  |
|  |  | 8 | 流明维持率 |  | IES LM-65-10 单端荧光灯的寿命测试 |  |  |
|  |  | 9 | 寿命 |  |  |  |  |
|  |  | 10 | 快速循环压力测试 |  |  |  |  |
|  |  | 11 | 瞬态保护 |  | ANSI C62.41.2-2002 IEEE 推荐的低压交流电路 (1000V及以下)浪涌特性试验 |  |  |
|  |  | 12 | 功率因数 |  | ANSI C82.2-2002 荧光灯镇流器测量方法 |  |  |
|  |  | 13 | 相关色温 |  | ANSI C78.376-2001 荧光灯色度规范 |  |  |
|  |  | 14 | 相关色温 |  | CIE Pub. No. 15:2004 色度 |  |  |
|  |  | 15 | 显色指数 |  | CIE Pub. No. 13.3-1995 测量和定义光源显色性的方法 |  |  |
| 10 | 方向型紧凑型荧光灯 | 16 | 最小中心光强 – PAR 和 MR灯 | 04 | 能源之星最小中心光强计算工具 |  |  |
|  |  | 17 | 流明维持率 |  | 能源之星项目对灯产品的要求 版本1.0: 温升寿命测试 |  |  |
|  |  | 18 | 寿命 |  |  |  |  |
|  |  | 19 | 温升出光率 |  | 能源之星项目对灯产品的要求 版本1.0: 温升出光率 |  |  |
|  |  | 20 | 启动时间 |  | 能源之星项目对灯产品的要求 版本1.0: 启动时间 |  |  |
|  |  | 21 | 上升时间 |  | 能源之星项目对灯产品的要求 版本1.0: 上升时间 |  |  |
|  |  | 22 | 带调光器光输出 |  | 能源之星项目对灯产品的要求 版本1.0: 带调光器光输出 |  |  |
|  |  | 23 | 光源闪烁 |  | 能源之星项目对灯产品的要求 版本1.0:光源闪烁 |  |  |
|  |  | 24 | 噪声 |  | 能源之星项目对灯产品的要求 版本1.0: 噪声 |  |  |
| 11 | 全方向荧光灯和装饰荧光灯 | 1 | 光效 | 04 | IES LM-66-11 单端紧凑型荧光灯的光电参数测试方法 |  |  |
|  |  | 2 | 输出 |  |  |  |  |
|  |  | 3 | 中心光强 |  |  |  |  |
|  |  | 4 | 流明维持率 |  |  |  |  |
|  |  | 5 | 寿命 |  |  |  |  |
| 11 | 全方向荧光灯和装饰荧光灯 | 6 | 相关色温 | 04 | IES LM-66-11 单端紧凑型荧光灯的光电参数测试方法 |  |  |
|  |  | 7 | 显色指数 |  |  |  |  |
|  |  | 8 | 流明维持率 |  | IES LM-65-10 单端荧光灯的寿命测试 |  |  |
|  |  | 9 | 寿命 |  |  |  |  |
|  |  | 10 | 快速循环压力测试 |  |  |  |  |
|  |  | 11 | 瞬态保护 |  | ANSI C62.41.2-2002 IEEE 推荐的低压交流电路 (1000V及以下)浪涌特性试验 |  |  |
|  |  | 12 | 相关色温 |  | ANSI C78.376-2001 荧光灯色度规范 |  |  |
|  |  | 13 | 功率因数 |  | ANSI C82.2-2002 荧光灯镇流器测量方法 |  |  |
|  |  | 14 | 光效 |  | 美国能源部 10 CFR 42917 消费品和商业和工业设备的认证、合规和强制执行 |  |  |
|  |  | 15 | 流明维持率 |  |  |  |  |
|  |  | 16 | 寿命 |  |  |  |  |
|  |  | 17 | 光效 |  | 美国能源部 10 CFR 430 附录 W子类 B18 消费产品节能项目 |  |  |
|  |  | 18 | 流明维持率 |  |  |  |  |
|  |  | 19 | 快速循环压力测试 |  |  |  |  |
| 11 | 全方向荧光灯和装饰荧光灯 | 20 | 寿命 | 04 | 美国能源部 10 CFR 430 附录 W子类 B18 消费产品节能项目 |  |  |
|  |  | 21 | 相关色温 |  | CIE Pub. No. 15:2004 色度 |  |  |
|  |  | 22 | 显色指数 |  | CIE Pub. No. 13.3-1995 测量和定义光源显色性的方法 |  |  |
|  |  | 23 | 流明维持率 |  | 能源之星项目对灯产品的要求 版本1.0：升温寿命测试 |  |  |
|  |  | 24 | 寿命 |  |  |  |  |
|  |  | 25 | 启动时间 |  | 能源之星项目对灯产品的要求 版本1.0：启动时间 |  |  |
|  |  | 26 | 上升时间 |  | 能源之星项目对灯产品的要求 版本1.0：上升时间 |  |  |
|  |  | 27 | 带调光器光输出 |  | 能源之星项目对灯产品的要求 版本1.0: 带调光器光输出 |  |  |
|  |  | 28 | 光源闪烁 |  | 能源之星项目对灯产品的要求 版本1.0:光源闪烁 |  |  |
|  |  | 29 | 噪声 |  | 能源之星项目对灯产品的要求 版本1.0: 噪声 |  |  |
| 12 | LED方向型灯 | 1 | 光效 | 04 | IES LM-79-08 固态照明产品光电测量方法 |  |  |
|  |  | 2 | 输出 |  |  |  |  |
|  |  | 3 | 中心光强 |  |  |  |  |
|  |  | 4 | 光强分布 |  |  |  |  |
|  |  | 5 | 流明维持率 |  |  |  |  |
| 12 | LED方向型灯 | 6 | 寿命 | 04 | IES LM-79-08 固态照明产品光电测量方法 |  |  |
|  |  | 7 | 相关色温 |  |  |  |  |
|  |  | 8 | 显色指数 |  |  |  |  |
|  |  | 9 | 颜色维持率 |  |  |  |  |
|  |  | 10 | 颜色角度均匀性 |  |  |  |  |
|  |  | 11 | 功率因数 |  | ANSI C82.77-2002 第 6 、7章 谐波发射限值—照明设备相关电能质量要求 |  |  |
|  |  | 12 | 瞬态保护 |  | ANSI C62.41.2-2002 IEEE 推荐的低压交流电路 (1000V及以下)浪涌特性试验 |  |  |
|  |  | 13 | 相关色温 |  | CIE Pub. No. 15:2004 色度 |  |  |
|  |  | 14 | 相关色温 |  | ANSI C78.377-2011 固态照明产品色度规范 |  |  |
|  |  | 15 | 显色指数 |  | CIE Pub. No. 13.3-1995 测量和定义光源显色性的方法 |  |  |
|  |  | 16 | 最小中心光强 – PAR 和 MR灯 |  | 能源之星最小中心光强计算工具 |  |  |
|  |  | 17 | 流明维持率 |  | 能源之星项目对灯产品的要求 版本1.0：升温寿命测试 |  |  |
|  |  | 18 | 寿命 |  |  |  |  |
| 12 | LED方向型灯 | 19 | 流明维持率 | 04 | 能源之星项目对灯产品的要求 版本1.0：室温寿命测试 |  |  |
|  |  | 20 | 寿命 |  |  |  |  |
|  |  | 21 | 温升出光率 |  | 能源之星项目对灯产品的要求 版本1.0: 温升出光率 |  |  |
|  |  | 22 | 启动时间 |  | 能源之星项目对灯产品的要求 版本1.0：启动时间 |  |  |
|  |  | 23 | 带调光器光输出 |  | 能源之星项目对灯产品的要求 版本1.0: 带调光器光输出 |  |  |
|  |  | 24 | 光源闪烁 |  | 能源之星项目对灯产品的要求 版本1.0:光源闪烁 |  |  |
|  |  | 25 | 噪声 |  | 能源之星项目对灯产品的要求 版本1.0: 噪声 |  |  |
| 13 | LED全方向型灯和装饰灯 | 1 | 光效 | 04 | IES LM-79-08 固态照明产品光度测量 |  |  |
|  |  | 2 | 输出 |  |  |  |  |
|  |  | 3 | 中心光强 |  |  |  |  |
|  |  | 4 | 光强分布 |  |  |  |  |
|  |  | 5 | 流明维持率 |  |  |  |  |
|  |  | 6 | 寿命 |  |  |  |  |
|  |  | 7 | 相关色温 |  |  |  |  |
|  |  | 8 | 显色指数 |  |  |  |  |
|  |  | 9 | 颜色维持率 |  |  |  |  |
| 13 | LED全方向型灯和装饰灯 | 10 | 颜色角度均匀性 | 04 | IES LM-79-08 固态照明产品光度测量 |  |  |
|  |  | 11 | 功率因数 |  | ANSI C82.77-2002 第 6 、7章 谐波发射限值—照明设备相关电能质量要求 |  |  |
|  |  | 12 | 瞬态保护 |  | ANSI C62.41.2-2002 IEEE 推荐的低压交流电路 (1000V及以下)浪涌特性试验 |  |  |
|  |  | 13 | 相关色温 |  | CIE Pub. No. 15:2004 色度 |  |  |
|  |  | 14 | 显色指数 |  | CIE Pub. No. 13.3-1995 测量和定义光源显色性的方法 |  |  |
|  |  | 15 | 流明维持率 |  | 能源之星项目对灯产品的要求 版本1.0：升温寿命测试 |  |  |
|  |  | 16 | 寿命 |  |  |  |  |
|  |  | 17 | 流明维持率 |  | 能源之星项目对灯产品的要求 版本1.0：室温寿命测试 |  |  |
|  |  | 18 | 寿命 |  |  |  |  |
|  |  | 19 | 启动时间 |  | 能源之星项目对灯产品的要求 版本1.0：启动时间 |  |  |
|  |  | 20 | 带调光器光输出 |  | 能源之星项目对灯产品的要求 版本1.0: 带调光器光输出 |  |  |
|  |  | 21 | 光源闪烁 |  | 能源之星项目对灯产品的要求 版本1.0:光源闪烁 |  |  |
| 13 | LED全方向型灯和装饰灯 | 22 | 噪声 | 04 | 能源之星项目对灯产品的要求 版本1.0: 噪声 |  |  |
| 14 | 装饰灯带、串 | 1 | 电性能 | 04 | 能源之星项目对装饰灯带、串的测试程序和合格标准 版本1.5，附录A |  |  |
|  |  | 2 | 输出和可靠性 |  |  |  |  |
|  |  | 3 | 气候要求 |  |  |  |  |
|  |  | 4 | 全部项目 |  | 能源之星项目对装饰灯带、串的测试程序和合格标准 版本1.5 |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0236)

NAME:Xiamen Products Quality Supervision & Inspection Institute

ADDRESS:Incubation Center, No.88, Xiangxing Road, Xiangan Industrial Zone, Xiamen, Fujian, China

Accreditation Criteria:ISO/IEC 17025:2005 , requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2014-06-30                      Date of Expiry:2017-06-29

# Date of Update：2014-06-30

APPENDIX 4   ACCREDITED ENERGY STAR TESTING

| № | Test Object | Item/Parameter | Code of Field | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |  |
| 1 | Displays | 1 | all items | 04 | ENERGY STAR Program Requirements Product Specification for Displays Version 6.0 |  |  |
|  |  |  |  |  | ENERGY STAR Test Method for Determining Displays Energy Use Version 6.0 – Revised January 2013; |  |  |
| 2 | Televisions | 1 | all items | 04 | ENERGY STAR Program Requirements Product Specification for Televisions Version 6.1 |  |  |
|  |  |  |  |  | ENERGY STAR Test Method for Televisions, ENERGY STAR Program Requirements for Televisions, Rev. Aug-2010 |  |  |
|  |  |  |  |  | DOE Test Procedure, 10 CFR § 430 Appendix H. |  |  |
| 3 | Non-directional Fluorescent Luminaires | 1 | Source Run up Time (ms) | 04 | ANSI C78.5-2003 Specifications for Performance of Self-ballasted Compact Fluorescent Lamps |  |  |
|  |  | 2 | Power Factor |  | ANSI C82.2-2002 Method of Measurement of Fluorescent Lamp Ballasts |  |  |
|  |  | 3 | Operating Frequency |  |  |  |  |
| 3 | Non-directional Fluorescent Luminaires | 4 | Color Rendering (CRI) | 04 | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
|  |  | 5 | CCT |  | CIE Pub. No. 15:2004 Colorimetry |  |  |
|  |  | 6 | Efficacy |  | IES LM-9-09 Electric and Photometric Measurements of Fluorescent Lamps |  |  |
|  |  | 7 | Light Output |  |  |  |  |
|  |  | 8 | Lumen Maintenance |  |  |  |  |
|  |  | 9 | CCT |  |  |  |  |
|  |  | 10 | CRI |  |  |  |  |
|  |  | 11 | Light Source Life |  | IES LM-40-10 Life Testing of Fluorescent Lamps |  |  |
|  |  | 12 | Lumen Maintenance |  |  |  |  |
|  |  | 13 | Light Source Life |  | IES LM-65-10 Life Testing of Compact Fluorescent Lamps |  |  |
|  |  | 14 | Lumen Maintenance |  |  |  |  |
| 3 | Non-directional Fluorescent Luminaires | 15 | Efficacy | 04 | IES LM-66-11 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps |  |  |
|  |  | 16 | Output |  |  |  |  |
|  |  | 17 | Lumen Maintenance |  |  |  |  |
|  |  | 18 | CCT |  |  |  |  |
|  |  | 19 | CRI |  |  |  |  |
| 4 | Directional Fluorescent Luminaires | 1 | Source Run-up time | 04 | ANSI C78.5-2003 Specifications for Performance of Self-ballasted Compact Fluorescent Lamps |  |  |
|  |  | 2 | Power Factor |  | ANSI C82.2-2002 Method of Measurement of Fluorescent Lamp Ballasts |  |  |
|  |  | 3 | Operating Frequency |  |  |  |  |
|  |  | 4 | Color Rendering |  | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
| 4 | Directional Fluorescent Luminaires | 5 | CCT | 04 | CIE Pub. No. 15:2004 Colorimetry |  |  |
|  |  | 6 | Efficacy |  | IES LM-9-09 Electric and Photometric Measurements of Fluorescent Lamps |  |  |
|  |  | 7 | Output |  |  |  |  |
|  |  | 8 | Lumen Maintenance |  |  |  |  |
|  |  | 9 | CCT |  |  |  |  |
|  |  | 10 | CRI |  |  |  |  |
|  |  | 11 | Light Source Life |  | IES LM-40-10 Life Testing of Fluorescent Lamps |  |  |
|  |  | 12 | Lumen Maintenance |  |  |  |  |
|  |  | 13 | Light Source Life |  | IES LM-65-10 Life Testing of Compact Fluorescent Lamps |  |  |
|  |  | 14 | Lumen Maintenance |  |  |  |  |
|  |  | 15 | Efficacy |  | IES LM-66-11 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps. |  |  |
| 4 | Directional Fluorescent Luminaires | 16 | Light Output | 04 | IES LM-66-11 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps. |  |  |
|  |  | 17 | Lumen Maintenance |  |  |  |  |
|  |  | 18 | CCT |  |  |  |  |
|  |  | 19 | CRI |  |  |  |  |
|  |  | 20 | Efficacy |  | IES LM-10-13 Photometric Testing of Outdoor Fluorescent Luminaires |  |  |
|  |  | 21 | Light Output |  |  |  |  |
|  |  | 22 | Zonal Lumen Distribution |  |  |  |  |
|  |  | 23 | Efficacy |  | IES LM 41-13 Approved Method for Photometric Testing of Indoor Fluorescent Luminaries |  |  |
|  |  | 24 | Light Output |  |  |  |  |
| 4 | Directional Fluorescent Luminaires | 25 | Zonal Lumen Distribution | 04 | IES LM 41-13 Approved Method for Photometric Testing of Indoor Fluorescent Luminaries |  |  |
| 5 | Luminaires CSD - Fluorescent Ballasts | 1 | PF | 04 | ANSI C82.2-2002 Method of Measurement of Fluorescent Lamp Ballasts |  |  |
|  |  | 2 | Operating Frequency |  |  |  |  |
| 6 | Luminaires CSD - Fluorescent Lamps | 1 | Color Rendering | 04 | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
|  |  | 2 | CCT |  | CIE Pub. No. 15:2004 Colorimetry |  |  |
|  |  | 3 | Efficacy |  | IES LM-9-09 Electric and Photometric Measurements of Fluorescent Lamps |  |  |
|  |  | 4 | Light Output |  |  |  |  |
|  |  | 5 | Lumen Maintenance |  |  |  |  |
|  |  | 6 | CCT |  |  |  |  |
| 6 | Luminaires CSD - Fluorescent Lamps | 7 | CRI | 04 | IES LM-9-09 Electric and Photometric Measurements of Fluorescent Lamps |  |  |
|  |  | 8 | Light Source Life |  | IES LM-40-10 Life Testing of Fluorescent Lamps |  |  |
|  |  | 9 | Lumen Maintenance |  |  |  |  |
|  |  | 10 | Light Source Life |  | IES LM-65-10 Life Testing of Compact Fluorescent Lamps |  |  |
|  |  | 11 | Lumen Maintenance |  |  |  |  |
|  |  | 12 | Efficacy |  | IES LM-66-11 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps. |  |  |
|  |  | 13 | Light Output |  |  |  |  |
|  |  | 14 | Lumen Maintenance |  |  |  |  |
|  |  | 15 | CCT |  |  |  |  |
|  |  | 16 | CRI |  |  |  |  |
| 7 | Non-directional SSL Luminaires and Subcomponents | 1 | Efficacy | 04 | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 2 | Output |  |  |  |  |
|  |  | 3 | Lumen Maintenance |  |  |  |  |
|  |  | 4 | CCT |  |  |  |  |
|  |  | 5 | CRI |  |  |  |  |
|  |  | 6 | Color Maintenance |  |  |  |  |
|  |  | 7 | Power Factor |  | ANSI C82.77-2002 Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment |  |  |
|  |  | 8 | CRI |  | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
|  |  | 9 | CCT |  | CIE Pub. No. 15:2004 Colorimetry |  |  |
| 7 | Non-directional SSL Luminaires and Subcomponents | 10 | Efficacy | 04 | IES LM-82-12 Characterization of LED Light Engines and LED Lamps for Electrical and Photometric Properties as a Function of Temperature |  |  |
|  |  | 11 | Light Output |  |  |  |  |
|  |  | 12 | Lumen Maintenance |  |  |  |  |
|  |  | 13 | CCT |  |  |  |  |
|  |  | 14 | CRI |  |  |  |  |
|  |  | 15 | Color Maintenance |  |  |  |  |
|  |  | 16 | Light Source Life |  |  |  |  |
|  |  | 17 | Light Source Life |  | IES TM-21-11 Projecting Long Term Lumen Maintenance of LED Light Sources |  |  |
|  |  | 18 | Lumen Maintenance |  |  |  |  |
| 8 | Directional Solid State Luminaires | 1 | Zonal Lumen Distribution | 04 | IES LM-79-08 sections 10 and 12 Electrical and Photometric Measurements of Solid-State Lighting Products (Goniophotometer) |  |  |
|  |  | 2 | Color Angular Uniformity |  |  |  |  |
|  |  | 3 | Luminaire Photometry |  |  |  |  |
|  |  | 4 | Color Angular Uniformity |  | IES LM-58-13 Guide to Spectroradiometric Measurements |  |  |
|  |  | 5 | CRI |  | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
|  |  | 6 | CCT |  | CIE Pub. No. 15: 2004 Colorimetry |  |  |
|  |  | 7 | Efficacy |  | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 8 | Light Output |  |  |  |  |
| 8 | Directional Solid State Luminaires | 9 | Lumen Maintenance | 04 | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 10 | CCT |  |  |  |  |
|  |  | 11 | CRI |  |  |  |  |
|  |  | 12 | Color Maintenance |  |  |  |  |
|  |  | 13 | Power Factor |  | ANSI C82.77-2002 Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment |  |  |
|  |  | 14 | Light Source Life |  | IES TM-21-11 Projecting Long Term Lumen Maintenance of LED Light Sources |  |  |
|  |  | 15 | Lumen Maintenance |  |  |  |  |
| 9 | LED Packages, Arrays, and Modules | 1 | Light Source Life | 04 | IES IES LM-80-08 Method for Measuring Lumen Maintenance of LED Light Sources |  |  |
|  |  | 2 | Lumen Maintenance |  |  |  |  |
| 10 | CFL Directional Lamps | 1 | Efficacy | 04 | IES LM-66-11 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps. |  |  |
|  |  | 2 | Output |  |  |  |  |
|  |  | 3 | Center Beam Intensity |  |  |  |  |
|  |  | 4 | Lumen Maintenance |  |  |  |  |
|  |  | 5 | Lifetime |  |  |  |  |
|  |  | 6 | CCT |  |  |  |  |
|  |  | 7 | CRI |  |  |  |  |
|  |  | 8 | Lumen Maintenance |  | IES LM-65-10 Life Testing of Compact Fluorescent Lamps |  |  |
|  |  | 9 | Lifetime |  |  |  |  |
|  |  | 10 | Rapid Cycle Stress Test |  |  |  |  |
| 10 | CFL Directional Lamps | 11 | Transient Protection | 04 | ANSI C62.41.2-2002 IEEE Recommended Practice on Characterization of Surges in Low Voltage (1000V and Less) AC Power Circuits |  |  |
|  |  | 12 | Power Factor |  | ANSI C82.2-2002 Fluorescent Lamp Ballasts, Methods of Measurement of (includes supplements) |  |  |
|  |  | 13 | CCT |  | ANSI C78.376-2001 Specifications for the Chromaticity of Fluorescent Lamps |  |  |
|  |  | 14 | CCT |  | CIE Pub. No. 15:2004 Colorimetry |  |  |
|  |  | 15 | CRI |  | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
| 10 | CFL Directional Lamps | 16 | Minimum Center Beam Intensity – PAR and MR lamps | 04 | ENERGY STAR Tool for Calculating Minimum Center Beam Intensity |  |  |
|  |  | 17 | Lumen Maintenance |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Life Testing |  |  |
|  |  | 18 | Lifetime |  |  |  |  |
|  |  | 19 | ETLOR | 04 | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Light Output Ratio |  |  |
|  |  | 20 | Start Time |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Start Time |  |  |
| 10 | CFL Directional Lamps | 21 | Run Up Time | 04 | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Run-up Time |  |  |
|  |  | 22 | Light Output on a Dimmer |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0:Light Output on a Dimmer |  |  |
|  |  | 23 | Light Source Flicker |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Light Source Flicker |  |  |
|  |  | 24 | noise |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: noise |  |  |
| 11 | CFL Omnidirectional and Decorative Lamps | 1 | Efficacy | 04 | IES LM-66-11 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps. |  |  |
|  |  | 2 | Output |  |  |  |  |
|  |  | 3 | Center Beam Intensity |  |  |  |  |
|  |  | 4 | Lumen Maintenance |  |  |  |  |
|  |  | 5 | Lifetime |  |  |  |  |
|  |  | 6 | CCT |  |  |  |  |
|  |  | 7 | CRI |  |  |  |  |
|  |  | 8 | Lumen Maintenance |  | IES LM-65-10 Life Testing of Compact Fluorescent Lamps |  |  |
|  |  | 9 | Lifetime |  |  |  |  |
|  |  | 10 | Rapid Cycle Stress Test |  |  |  |  |
| 11 | CFL Omnidirectional and Decorative Lamps | 11 | Transient Protection | 04 | ANSI C62.41.2-2002 IEEE Recommended Practice on Characterization of Surges in Low Voltage (1000V and Less) AC Power Circuits |  |  |
|  |  | 12 | CCT |  | ANSI C78.376-2001 Specifications for the Chromaticity of Fluorescent Lamps |  |  |
|  |  | 13 | Power Factor |  | ANSI C82.2-2002 Fluorescent Lamp Ballasts, Methods of Measurement of (includes supplements) |  |  |
|  |  | 14 | Efficacy |  | US DOE 10 CFR 42917 Certification, Compliance, and Enforcement for Consumer Products and Commercial and Industrial Equipment |  |  |
|  |  | 15 | Lumen Maintenance |  |  |  |  |
|  |  | 16 | Lifetime |  |  |  |  |
| 11 | CFL Omnidirectional and Decorative Lamps | 17 | Efficacy | 04 | US DOE 10 CFR 430 Appendix W to Subpart B18 Energy Conservation Program for Consumer Products |  |  |
|  |  | 18 | Lumen Maintenance |  |  |  |  |
|  |  | 19 | Rapid Cycle Stress Test |  |  |  |  |
|  |  | 20 | Lifetime |  |  |  |  |
|  |  | 21 | CCT |  | CIE Pub. No. 15:2004 Colorimetry |  |  |
|  |  | 22 | CRI |  | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
|  |  | 23 | Lumen Maintenance |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Life Testing |  |  |
|  |  | 24 | Lifetime |  |  |  |  |
| 11 | CFL Omnidirectional and Decorative Lamps | 25 | Start Time | 04 | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Start Time |  |  |
|  |  | 26 | Run Up Time |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Run-up Time |  |  |
|  |  | 27 | Light Output on a Dimmer |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0:Light Output on a Dimmer |  |  |
|  |  | 28 | Light Source Flicker |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Light Source Flicker |  |  |
| 11 | CFL Omnidirectional and Decorative Lamps | 29 | noise | 04 | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: noise |  |  |
| 12 | LED Directional Lamps | 1 | Efficacy | 04 | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 2 | Output |  |  |  |  |
|  |  | 3 | Center Beam Intensity |  |  |  |  |
|  |  | 4 | Luminous Intensity Distribution |  |  |  |  |
|  |  | 5 | Lumen Maintenance |  |  |  |  |
|  |  | 6 | Lifetime |  |  |  |  |
|  |  | 7 | CCT |  |  |  |  |
|  |  | 8 | CRI |  |  |  |  |
|  |  | 9 | Color Maintenance |  |  |  |  |
|  |  | 10 | Color Angular Uniformity |  |  |  |  |
| 12 | LED Directional Lamps | 11 | Power Factor | 04 | ANSI C82.77-2002 Sections 6 and 7 Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment |  |  |
|  |  | 12 | Transient Protection | 04 | ANSI C62.41.2-2002 IEEE Recommended Practice on Characterization of Surges in Low Voltage (1000V and Less) AC Power Circuits |  |  |
|  |  | 13 | CCT |  | CIE Pub. No. 15:2004 Colorimetry |  |  |
|  |  | 14 | CCT |  | ANSI C78.377-2011 Specifications for the Chromaticity of Solid State Lighting Products |  |  |
|  |  | 15 | CRI |  | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
| 12 | LED Directional Lamps | 16 | Minimum Center Beam Intensity – PAR and MR lamps | 04 | ENERGY STAR Tool for Calculating Minimum Center Beam Intensity |  |  |
|  |  | 17 | Lumen Maintenance |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Life Testing |  |  |
|  |  | 18 | Lifetime |  |  |  |  |
|  |  | 19 | Lumen Maintenance |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Ambient Temperature Life Testing |  |  |
|  |  | 20 | Lifetime |  |  |  |  |
| 12 | LED Directional Lamps | 21 | ETLOR | 04 | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Light Output Ratio |  |  |
|  |  | 22 | Start Time |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Start Time |  |  |
|  |  | 23 | Light Output on a Dimmer |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0:Light Output on a Dimmer |  |  |
|  |  | 24 | Light Source Flicker |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Light Source Flicker |  |  |
| 12 | LED Directional Lamps | 25 | noise | 04 | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: noise |  |  |
| 13 | LED Omnidirectional and Decorative Lamps | 1 | Efficacy | 04 | IES LM-79-08 Electrical and Photometric Measurements of Solid-State Lighting Products |  |  |
|  |  | 2 | Output |  |  |  |  |
|  |  | 3 | Center Beam Intensity |  |  |  |  |
|  |  | 4 | Luminous Intensity Distribution |  |  |  |  |
|  |  | 5 | Lumen Maintenance |  |  |  |  |
|  |  | 6 | Lifetime |  |  |  |  |
|  |  | 7 | CCT |  |  |  |  |
|  |  | 8 | CRI |  |  |  |  |
|  |  | 9 | Color Maintenance |  |  |  |  |
|  |  | 10 | Color Angular Uniformity |  |  |  |  |
| 13 | LED Omnidirectional and Decorative Lamps | 11 | Power Factor | 04 | ANSI C82.77-2002 Sections 6 and 7 Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment |  |  |
|  |  | 12 | Transient Protection |  | ANSI C62.41.2-2002 IEEE Recommended Practice on Characterization of Surges in Low Voltage (1000V and Less) AC Power Circuits |  |  |
|  |  | 13 | CCT |  | CIE Pub. No. 15:2004 Colorimetry |  |  |
|  |  | 14 | CRI |  | CIE Pub. No. 13.3-1995 Method of Measuring and Specifying Color Rendering of Light Sources |  |  |
| 13 | LED Omnidirectional and Decorative Lamps | 15 | Lumen Maintenance | 04 | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Life Testing |  |  |
|  |  | 16 | Lifetime |  |  |  |  |
|  |  | 17 | Lumen Maintenance |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Ambient Temperature Life Testing |  |  |
|  |  | 18 | Lifetime |  |  |  |  |
|  |  | 19 | Start Time |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Start Time |  |  |
| 13 | LED Omnidirectional and Decorative Lamps | 20 | Light Output on a Dimmer | 04 | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0:Light Output on a Dimmer |  |  |
|  |  | 21 | Light Source Flicker |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Light Source Flicker |  |  |
|  |  | 22 | noise |  | ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: noise |  |  |
| 14 | Decorative Light Strings | 1 | electrical | 04 | The ENERGY STAR Program Requirements for Decorative Light Strings Test Procedure and Eligibility Criteria v1.5, Appendix A, |  |  |
|  |  | 2 | Output and Reliability |  |  |  |  |
|  |  | 3 | Weathering |  |  |  |  |
| 14 | Decorative Light Strings | 4 | all items | 04 | The ENERGY STAR Program Requirements for Decorative Light Strings Test Procedure and Eligibility Criteria v1.5 |  |  |