中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0462）

名称: 中国赛宝实验室/工业和信息化部电子第五研究所/中国电子产品可靠性与环境试验研究所

地址：广东省广州市天河区东莞庄路110号

认可依据：ISO/IEC 17025:2005以及CNAS特定认可要求

签发日期：2014年05月22日       有效期至：2017年05月21日

更新日期：2014年05月22日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测对象 | 项目/参数 | 领域 代码 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 1 | 音/视频及相关设备（能效） | 1 | 全项 | 0506 | IEC 62087 Ed3.0视频及相关设备能耗测试方法 |  |  |
| 2 | 家电器具 （能效） | 1 | 全项 | 0507 | IEC 62301 Ed2.0 家电器具的待机功耗测量 |  |  |
| 3 | 音/视频设备 | 1 | 全项 | 0508 | 音/视频产品能源之星计划要求.版本3.0 |  |  |
|  |  | 2 |  |  | 音/视频产品能源之星计划要求测试方法(Rev. July-2012 ) |  |  |
| 4 | 计算机(能效) | 1 | 全项 | 0509 | 计算机产品能源之星计划要求.版本5.2，计算机产品能源之星计划要求.版本6.0 |  |  |
|  |  | 2 |  |  | 计算机产品能源之星计划要求测试方法(Final Test Method Rev. Oct-2013) |  |  |
|  |  | 3 |  |  | IEC 62623：Ed1.0台式计算机和笔记本型计算机.能耗测量 |  |  |
|  |  | 4 |  |  | 计算机产品能源之星计划要求测试方法(Rev. Aug-2010) |  |  |
|  |  | 5 |  |  | 内部电源供应器的国际能效通用测试协议（Rev. 6.4.2） |  |  |
|  |  | 6 |  |  | 单电压外部AC-DC和AC-AC的电源供应器能源效率的测试方法，2004年8月11日版本,来源: www.efficientpowersupplies.org. |  |  |
|  |  | 7 |  |  | IEC 62301,Ed2.0 家电器具的待机功耗测量 |  |  |
|  |  | 8 |  |  | 用于测量外部电源的能量消耗均匀试验方法, Appendix Z to 10 CFR Part 430. |  |  |
|  |  | 9 |  |  | 内部电源供应器的国际能效通用测试协议（Rev. 6.6） |  |  |
| 5 | 显示器 | 1 | 全项 | 0509-03 | 显示器产品能源之星计划要求.版本6.0 |  |  |
|  |  | 2 |  |  | 显示器产品能源之星计划要求测试方法(Rev. Jan-2013) |  |  |
|  |  | 3 |  |  | IEC62087 Ed3.0音/视频及类似设备的功耗测量方法 |  |  |
| 6 | 机顶盒 | 1 | 全项 | 0508-12 | 机顶盒产品能源之星计划要求.版本3.0（Rev. Oct-2012） |  |  |
|  |  | 2 |  |  | 机顶盒产品能源之星计划要求测试方法（Rev. Jun-2012） |  |  |
| 7 | 电视机 | 1 | 全项 | 0508 | 电视机产品能源之星计划要求.版本6.0；电视机产品能源之星计划要求.版本6.1 |  |  |
|  |  | 2 |  |  | 发表在联邦登记册的法规制定提案通告， 77 FR 2864（10 CFR § 430 Appendix H.） |  |  |
|  |  | 3 |  |  | IEC62087 Ed3.0音/视频及类似设备的功耗测量方法 |  |  |
|  |  | 4 |  |  | 电视机产品能源之星计划要求测试方法（Rev. Aug-2010） |  |  |
|  |  | 5 |  |  | 2012年1月19日联邦纪事77 FR 2864公告的电视机测试程序拟定法规提案公告（NOPR） |  |  |
|  |  | 6 |  |  | 电视机测试程序最终规则(10 CFR § 430.23(h) and Appendix H to Subpart B 10 CFR § 430, on November 25, 2013.) |  |  |
|  |  | 7 |  |  | 单电压外部AC-DC和AC-AC的电源供应器能源效率的测试方法（Rev.August 11,2004） |  |  |
| 8 | 影像设备 | 1 | 全项 | 0509-04 0509-05 | 影像设备能源之星计划要求.版本2.0(Rev. Jun-2013) |  |  |
|  |  | 2 |  |  | 影像设备能源之星计划要求测试方法(Rev. Jun-2013) |  |  |
|  |  | 3 |  |  | IEC62301 Ed2.0家电器具待机功耗测试 |  |  |
|  |  | 4 |  |  | 单电压外部AC-DC和AC-AC的电源供应器能源效率的测试方法（Rev.August 11,2004） |  |  |
|  |  | 5 |  |  | 内部电源供应器的国际能效通用测试协议（Rev. 6.6） |  |  |
| 9 | 计算机服务器 | 1 | 全项 | 0509-11 | 计算机服务器产品能源之星计划要求.版本2.0(Rev. Oct-2013) |  |  |
|  |  | 2 |  |  | 计算机服务器产品能源之星计划要求测试方法(Rev. Oct-2013) |  |  |
|  |  | 3 |  |  | 内部电源供应器的国际能效通用测试协议（Rev. 6.6） |  |  |
|  |  | 4 |  |  | 服务器效率评级工具 (SERT)用户指南 1.0.2 |  |  |
| 10 | 电话通讯设备 | 1 | 全项 | 0511-04 | 电话机产品能源之星计划要求.版本2.2 |  |  |
|  |  | 2 |  |  | 电话机产品能源之星测试方法(Rev. Aug-2010) |  |  |
|  |  | 3 |  |  | 单电压外部AC-DC和AC-AC的电源供应器能源效率的测试方法（Rev.August 11,2004） |  |  |
| 11 | 单电压外部AC-DC和AC-AC的电源供应器 | 1 | 全项 |  | 单电压外部AC-DC和AC-AC的电源供应器能源效率的测试方法（Rev.August 11,2004） |  |  |
|  |  | 2 |  |  | 用于测量外部电源的能量消耗均匀试验方法, Appendix Z to 10 CFR Part 430. |  |  |
| 12 | 内部AC-DC和DC-DC电源供应器 | 1 | 全项 |  | 内部电源供应器的国际能效通用测试协议（Rev. 6.4.2） |  |  |
|  |  | 2 |  |  | 内部电源供应器的国际能效通用测试协议（Rev. 6.6） |  |  |
| 13 | 电池充电系统(能效) | 1 | 全项 |  | 电池充电系统能源之星计划要求 (1.1版本) |  |  |
|  |  |  |  |  | 电池充电系统能源之星测试方法（Rev. Aug-2010） |  |  |
|  |  | 2 | 电池能效 |  | 含碱性或其它非酸性电解质的二次电池和蓄电池组.便携式密封可再充电单电池.第1部分:镍镉电池 IEC 61951-1（Ed. 2.1） |  |  |
|  |  | 3 | 电池能效 |  | 含碱性或其它非酸性电解质的二次电池和蓄电池组.便携式密封可再充电单电池.第2部分:镍金属氢化物电池IEC 61951-2（Ed. 2.0） |  |  |
|  |  | 4 | 电池能效 |  | 含碱性或其它非酸性电解质的蓄电池和蓄电池组--便携式 IEC 61960（Ed. 1.0） |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0462)

NAME:ChinaCeprei Laboratory/The Fifth Electronics Research Institute of the Ministry of Industry and Information Technology / China Electronic ProductReliability and EnvironmentalTesting Research Institute

ADDRESS:No.110, Dongguanzhuang Road, Tianhe District, Guangzhou, Guangdong, China

Accreditation Criteria:ISO/IEC 17025:2005 and relevant requirements of CNAS

Date of Issue: 2014-05-22                               Date of Expiry:2017-05-21

Date of Update：2014-05-22

APPENDIX 4  ENERGY STAR TESTING

| №. | Test object | Item/ Parameter | Code of field | Title， Code of standard or method | limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | №. | Item/ Parameter |  |  |  |  |
| 1 | Audio, video and related equipment (Energy efficiency) | 1 | all items |  | IEC 62087 Ed3.0 Methods of measurement for the power consumption of audio, video and related equipment | / |  |
| 2 | Household Electrical Appliances (Energy efficiency) | 1 | all items |  | IEC 62301 Ed2.0 Household Electrical Appliances-Measurement of Standby Power | / |  |
| 3 | Audio /Video | 1 | Energy efficiency | 0508 | ENERGY STAR Program Requirements Product Specification for Audio/Video Eligibility Criteria Version 3.0 | / |  |
|  |  | 2 |  |  | ENERGY STAR Program Requirements Product Specification for Audio/Video Test Method(Rev. July-2012) |  |  |
| 4 | Computers | 1 | all items | 0509 | ENERGY STAR Program Requirements Product Specification for Computers Eligibility Criteria Version 5.2 ,ENERGY STAR Program Requirements Product Specification for Computers Eligibility Criteria Version 6.0 | / |  |
|  |  | 2 |  |  | ENERGY STAR Program Requirements for Computers – Test Method (Final Test Method Rev. Oct-2013) |  |  |
|  |  | 3 |  |  | IEC 62623: Ed1.0 Desktop and Notebook Computers – Measurement of Energy Consumption |  |  |
|  |  | 4 |  |  | ENERGY STAR Program Requirements for Computers – Test Method (Rev. Aug-2010) |  |  |
|  |  | 5 |  |  | EPRI Generalized Test Protocol for Calculating the Energy Efficiency of Internal Ac-Dc and Dc-Dc Power Supplies.6.4.2 |  |  |
|  |  | 6 |  |  | Test method for Calculating the Energy Efficiency of single-Voltage External AC-DC and AC-AC power supplies ,Rev.August 11,2004,Available at www.efficientpowersupplies.org |  |  |
|  |  | 7 |  |  | IEC 62301,ed2 Household Electrical Appliances - Measurement of Standby Power |  |  |
|  |  | 8 |  |  | Uniform Test Method for Measuring the Energy Consumption of External Power Supplies, Appendix Z to 10 CFR Part 430. |  |  |
|  |  | 9 |  |  | EPRI Generalized Internal Power Supply Efficiency Test Protocol, Rev. 6.6 |  |  |
| 5 | Displays | 1 | Energy efficiency | 0509-03 | ENERGY STAR Program Requirements Product Specification for Displays Eligibility Criteria Version6.0 | / |  |
|  |  | 2 |  |  | ENERGY STAR Test Method for Displays (Rev. Jan-2013) |  |  |
|  |  | 3 |  |  | IEC 62087, Ed 3.0: Methods of Measurement for the Power Consumption of Audio, Video and Related Equipment |  |  |
| 6 | Set-top Boxes(Energy efficiency) | 1 | all items | 0508-12 | ENERGY STAR Program Requirements Product Specification for Set-top Boxes Eligibility Criteria Version 3.0 | / |  |
|  |  | 2 |  |  | ENERGY STAR Program Requirements for Set-top Boxes – Test Method (Rev. Jun-2012) |  |  |
| 7 | Televisions(Energy efficiency) | 1 | all items | 0508 | ENERGY STAR Program Requirements Product Specification for Televisions Eligibility Criteria Version 6.0, ENERGY STAR Program Requirements Product Specification for Televisions Eligibility Criteria Version 6.1 | / |  |
|  |  | 2 |  |  | The Notice of Proposed Rulemaking published in the Federal Register, 77 FR 2864（10 CFR § 430 Appendix H.） |  |  |
|  |  | 3 |  |  | IEC 62087, Ed 3.0: Methods of Measurement for the Power Consumption of Audio, Video and Related Equipment |  |  |
|  |  | 4 |  |  | ENERGY STAR Program Requirements Product Specification for Televisions – Test Method (Rev. Aug-2010) |  |  |
|  |  | 5 |  |  | Test Procedures for Television Sets published in the Federal Register, 77 FR 2864 on January 19, 2012.（NOPR） |  |  |
|  |  | 6 |  |  | Test Procedures for Television Sets incorporated into the Code of Federal Regulation, 10 CFR § 430.23(h) and Appendix H to Subpart B 10 CFR § 430, on November 25, 2013. |  |  |
|  |  | 7 |  |  | Test method for Calculating the Energy Efficiency of single-Voltage External AC-DC and AC-AC power supplies ,Rev.August 11,2004 |  |  |
| 8 | Imaging Equipment（Energy efficiency） | 1 | all items | 0509-04 0509-05 | ENERGY STAR Program Requirements Product Specification for Imaging Equipment Eligibility Criteria Version2.0(Rev. Jun-2013) |  |  |
|  |  | 2 |  |  | ENERGY STAR Program Requirements for Imaging Equipment – Test Method (Rev. Jun-2013) |  |  |
|  |  | 3 |  |  | IEC 62301 Ed2.0 Household Electrical Appliances-Measurement of Standby Power |  |  |
|  |  | 4 |  |  | EPRI Generalized Internal Power Supply Efficiency Test Protocol, Rev. 6.6 |  |  |
|  |  | 5 |  |  | EPRI Generalized Internal Power Supply Efficiency Test Protocol, Rev. 6.4.2 |  |  |
| 9 | Computer Servers (Energy efficiency) | 1 | all items | 0509-11 | ENERGY STAR Program Requirements Product Specification for Computer Servers Eligibility Criteria Version 2.0(Rev. Oct-2013) |  |  |
|  |  | 2 |  |  | ENERGY STAR Program Requirements for Computer Servers – Test Method (Rev. Oct-2013) |  |  |
|  |  | 3 |  |  | EPRI Generalized Internal Power Supply Efficiency Test Protocol, Rev. 6.6 |  |  |
|  |  | 4 |  |  | Server Efficiency Rating Tool (SERT) User Guide 1.0.2 |  |  |
| 10 | Telephony (Energy efficiency) | 1 | all items | 0511-04 | 1.ENERGY STAR Program Requirements Product Specification for Telephony Eligibility Criteria Version 2.2; 2.ENERGY STAR Program Requirements for Telephony – Test Method (Rev. Aug-2010); 3.Test method for Calculating the Energy Efficiency of single-Voltage External AC-DC and AC-AC power supplies ,Rev.August 11,2004 | / |  |
| 11 | Single-Voltage External AC-DC and AC-AC power supplies (Energy efficiency) | 1 | all items |  | Test method for Calculating the Energy Efficiency of single-Voltage External AC-DC and AC-AC power supplies ,Rev.August 11,2004 | / |  |
|  |  | 2 |  |  | Uniform Test Method for Measuring the Energy Consumption of External Power Supplies, Appendix Z to 10 CFR Part 430. |  |  |
| 12 | Internal Ac-Dc and Dc-Dc Power Supplies | 1 | all items |  | EPRI Generalized Internal Power Supply Efficiency Test Protocol, Rev. 6.4.2 | / |  |
|  |  | 2 |  |  | EPRI Generalized Internal Power Supply Efficiency Test Protocol, Rev. 6.6 |  |  |
| 13 | Battery Charging Systems (BCSs) | 1 | all items |  | ENERGY STAR® Program Requirements for Products with Battery Charging Systems (BCSs) Eligibility Criteria (Version 1.1) |  |  |
|  |  |  |  |  | ENERGY STAR Test Method, ENERGY STAR Program Requirements for Battery Charging Systems, Rev. Aug-2010 |  |  |
|  |  | 2 | Battery Energy |  | IEC Standard 61951-1: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Portable sealed rechargeable single cells – Part 1: Nickel-cadmium. Ed. 2.1. January 2006 |  |  |
|  |  | 3 | Battery Energy |  | IEC Standard 61951-2: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Portable sealed rechargeable single cells – Part 2: Nickel-metal hydride. Ed. 2.0. April 2003 |  |  |
|  |  | 4 | Battery Energy |  | IEC Standard 61960: Secondary cells and batteries containing alkaline or other non-acid electrolytes – Secondary lithium cells and batteries for portable applications. Ed. 1.0. December 2003 |  |  |