中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L3593）

名称: 台表科技（苏州）电子有限公司实验室

地址：江苏省苏州市吴江经济技术开发区同津大道甘泉东路888号

认可依据：ISO/IEC 17025、EPA能源之星以及CNAS特定认可要求

签发日期：2014年12月15日         有效期至：2017年12月14日

更新日期：2014年12月15日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | 紧凑荧光灯(CFL) （定向型/非定型） |  | 全项目 | 能源之星对灯泡的要求Version 1.1 | 只测已获得UL认证的CFL灯 |  |
|  |  | 1 | 光效、光通量 | 能源之星对灯泡的要求Version 1.1 单端紧凑型荧光灯的电气及光度测量方法 IES LM-66-2011 |  |  |
| 1 | 紧凑荧光灯(CFL) （定向型/非定型） | 2 | 中心光强 | 能源之星对灯泡的要求Version 1.1 单端紧凑型荧光灯的电气及光度测量方法 IES LM-66-2011 能源之星在线CBCP的工具 |  |  |
|  |  | 3 | 光强分布 | 能源之星对灯泡的要求Version 1.1 单端紧凑型荧光灯的电气及光度测量方法 IES LM-66-2011 反射式灯具光度测试 IES LM-20-2013 |  |  |
|  |  | 4 | 流明维持、寿命 | 能源之星对灯泡的要求Version 1.1 单端紧凑型荧光灯的电气及光度测量方法 IES LM-66-2011 紧凑型荧光灯的寿命测试方法 LM-65-2010 能源之星对Lamps的要求 Version 1.0产品规范 :高温寿命试验 |  |  |
| 1 | 紧凑荧光灯(CFL) （定向型/非定型） | 5 | 相关色温 | 能源之星对灯泡的要求Version 1.1 单端紧凑型荧光灯的电气及光度测量方法 IES LM-66-2011 紧凑型荧光灯的色度要求 ANSI C78.376-2001 比色法 CIE Pub. No. 15:2004 |  |  |
| 1 | 紧凑荧光灯(CFL) （定向型/非定型） | 6 | 显色指数 | 能源之星对灯泡的要求Version 1.1 单端紧凑型荧光灯的电气及光度测量方法 IES LM-66-2011 光源显色指数的测量方法 CIE Pub. No. 13.3-1995 |  |  |
|  |  | 7 | 瞬态保护 | 能源之星对灯泡的要求Version 1.1 交流电源低压浪涌测试(1000V或更低) ANSI/IEEE C62.41.2-2002 |  |  |
|  |  | 8 | 高温光输出比 | 能源之星对灯泡的要求Version 1.1 能源之星对Lamps的要求 Version 1.0产品规范 :高温光输出比 |  |  |
| 1 | 紧凑荧光灯(CFL) （定向型/非定型） | 9 | 启动时间 | 能源之星对灯泡的要求Version 1.1 能源之星对Lamps的要求 Version 1.0产品规范 :启动时间 |  |  |
|  |  | 10 | 上升时间 | 能源之星对灯泡的要求Version 1.1 能源之星对Lamps的要求 Version 1.0产品规范 :上升时间 |  |  |
|  |  | 11 | 功率因数 | 能源之星对灯泡的要求Version 1.1 荧光灯镇流器测量方法 ANSI C82.2-2002 |  |  |
|  |  | 12 | 灯的外形 | 能源之星对灯泡的要求Version 1.1 白炽灯：卤钨灯 ANSI C78.357-2010 用电子灯具使用的玻璃管命名 ANSI C79.1-2002 电子灯-PAR和R型灯 ANSI C78.21-2011 |  |  |
|  |  | 13 | 有毒物质 | 能源之星对灯泡的要求Version 1.1 电工产品——六种受控物质含量的测定 IEC 62321:2008 |  |  |
| 1 | 紧凑荧光灯(CFL) （定向型/非定型） | 14 | 灯头类型 | 能源之星对灯泡的要求Version 1.1 电子灯具灯头的规范 ANSI C81.61-2009 |  |  |
| 1 | 紧凑荧光灯(CFL) （定向型/非定型） | 15 | 快速循环冲击测试 | 能源之星对灯泡的要求Version 1.1 紧凑型荧光灯的寿命测试方法 IES LM-65-2010 |  |  |
|  |  | 16 | 频率 | 能源之星对灯泡的要求Version 1.1 |  |  |
|  |  | 17 | 噪音 | 能源之星对灯泡的要求Version 1.1 能源之星对Lamps的要求 Version 1.0产品规范 : 噪音 |  |  |
| 2 | 一体式LED灯泡 （定向型/非定型） |  | 全项目 | 能源之星对灯泡的要求Version 1.1 | 只测已获得UL认证的一体式LED灯 |  |
|  |  | 1 | 光效、光输出 | 能源之星对灯泡的要求Version 1.1 固态照明产品电气和光度测量 IES LM-79-2008 |  |  |
| 2 | 一体式LED灯泡 （定向型/非定型） | 2 | 中心光强 | 能源之星对灯泡的要求Version 1.1 固态照明产品电气和光度测量 IES LM-79-2008 能源之星在线CBCP的工具 |  |  |
|  |  | 3 | 光强分布 | 能源之星对灯泡的要求Version 1.1 固态照明产品电气和光度测量 IES LM-79-2008 反射式灯具光度测试 IES LM-20-2013 |  |  |
|  |  | 4 | 瞬态保护 | 能源之星对灯泡的要求Version 1.1 交流电源低压浪涌测试(1000V或更低) ANSI/IEEE C62.41.2-2002 |  |  |
|  |  | 5 | 相关色温 | 能源之星对灯泡的要求Version 1.1 固态照明产品电气和光度测量 IES LM-79-2008 紧凑型荧光灯的色度要求 ANSI C78.376-2001 比色法 CIE Pub. No. 15:2004 |  |  |
| 2 | 一体式LED灯泡 （定向型/非定型） | 6 | 显色指数 | 能源之星对灯泡的要求Version 1.1 固态照明产品电气和光度测量 IES LM-79-2008 光源显色指数的测量方法 CIE Pub. No. 13.3-1995 |  |  |
|  |  | 7 | 流明维持、寿命 | 能源之星对灯泡的要求Version 1.1 固态照明产品电气和光度测量 IES LM-79-2008 LED光源流明维护率测量 IES LM-80-2008 LED光源长期流明维护率测量 IES TM-21-2011 能源之星对Lamps的要求 Version 1.0产品规范 :高温寿命试验 能源之星对Lamps的要求 Version 1.0产品规范 :环境温度寿命试验 |  |  |
|  |  | 8 | 高温光输出比 | 能源之星对灯泡的要求Version 1.1 能源之星对Lamps的要求 Version 1.0产品规范 :高温光输出比 |  |  |
| 2 | 一体式LED灯泡 （定向型/非定型） | 9 | 启动时间 | 能源之星对灯泡的要求Version 1.1 能源之星对Lamps的要求 Version 1.0产品规范 :启动时间 |  |  |
|  |  | 10 | 颜色空间均匀性 | 能源之星对灯泡的要求Version 1.1 固态照明产品电气和光度测量 IES LM-79-2008 |  |  |
|  |  | 11 | 颜色维持 | 能源之星对灯泡的要求Version 1.1 固态照明产品电气和光度测量 IES LM-79-2008 |  |  |
|  |  | 12 | 功率因数 | 能源之星对灯泡的要求Version 1.1 谐波发射限值 - 照明设备相关的电源质量要求 ANSI C82.77-2002 Sections 6 and 7 |  |  |
| 2 | 一体式LED灯泡 （定向型/非定型） | 13 | 灯的外形 | 能源之星对灯泡的要求Version 1.1 白炽灯：卤钨灯 ANSI C78.357-2010 用电子灯具使用的玻璃管命名 ANSI C79.1-2002 电子灯-PAR和R型灯 ANSI C78.21-2011 |  |  |
|  |  | 14 | 灯头类型 | 能源之星对灯泡的要求Version 1.1 电子灯具灯头的规范 ANSI C81.61-2009 |  |  |
|  |  | 15 | 频率 | 能源之星对灯泡的要求Version 1.1 |  |  |
|  |  | 16 | 噪音 | 能源之星对灯泡的要求Version 1.1 能源之星对Lamps的要求 Version 1.0产品规范 : 噪音 |  |  |
|  |  | 17 | 有毒物质 | 能源之星对灯泡的要求Version 1.1 电工产品——六种受控物质含量的测定 IEC 62321:2008 |  |  |
| 2 | 一体式LED灯泡 （定向型/非定型） | 18 | 快速循环冲击测试 | 能源之星对灯泡的要求Version 1.1 紧凑型荧光灯的寿命测试方法 IES LM-65-2010 |  |  |
| 3 | 荧光灯具 （定向型/全向型） |  | 全项目 | 能源之星灯具类规范要求-Version 1.2 |  |  |
|  |  | 1 | 启动时间 上升时间 | 能源之星灯具类规范要求-Version 1.2 自镇流紧凑型荧光灯的性能要求 ANSI C78.5-2003 灯镇流器高频荧光灯镇流器 ANSI C82.11-2002 |  |  |
|  |  | 2 | 功率因数 | 能源之星灯具类规范要求-Version 1.2 荧光灯镇流器测量方法 ANSI C82.2-2002 |  |  |
|  |  | 3 | 工作频率 | 能源之星灯具类规范要求-Version 1.2 荧光灯镇流器测量方法 ANSI C82.2-2002 |  |  |
| 3 | 荧光灯具 （定向型/全向型） | 4 | 显色指数 | 能源之星灯具类规范要求-Version 1.2 荧光灯的电气和光度测量 IES LM-9-2009 单端紧凑型荧光灯的电气及光度测量方法 IES LM-66-2011 光源显色指数的测量方法 CIE Pub. No. 13.3-1995 |  |  |
|  |  | 5 | 相关色温 | 能源之星灯具类规范要求-Version 1.2 荧光灯的电气和光度测量 IES LM-9-2009 单端紧凑型荧光灯的电气及光度测量方法 IES LM-66-2011 比色法 CIE Pub. No. 15:2004 |  |  |
|  |  | 6 | 光效、流明输出、环带光通量 | 能源之星灯具类规范要求-Version 1.2 荧光灯的电气和光度测量 IES LM-9-2009 单端紧凑型荧光灯的电气及光度测量方法 IES LM-66-2011 |  |  |
| 3 | 荧光灯具 （定向型/全向型） | 7 | 光源寿命 流明维持 | 能源之星灯具类规范要求-Version 1.2 荧光灯的寿命测试 IES LM-40-2001 紧凑型荧光灯的寿命测试方法 IES LM-65-2001 单端紧凑型荧光灯的电气及光度测量方法 IES LM-66-2011 荧光灯的电气和光度测量 IES LM-9-2009 |  |  |
|  |  | 8 | 瞬态保护 | 低压交流电源电路的浪涌电压模拟实践做法 ANSI/IEEE C62.41.1-2002 交流电源低压浪涌测试(1000V或更低) ANSI/IEEE C62.41.2-2002 |  |  |
|  |  | 9 | 噪音 | 能源之星灯具类规范要求-Version 1.2 (家用和类似用途电器-测定空气中的声学噪音的测试) EN-60704-1-1997 |  |  |
| 3 | 荧光灯具 （定向型/全向型） | 10 | 电流峰值因数 | 能源之星灯具类规范要求-Version 1.2 高频镇流器荧光灯镇流器 ANSI C82.11-2002 Sections 3.3.3 and 5.6 双端荧光灯的尺寸和电气特性 ANSI C78.81-2010 基准整流器荧光灯的尺寸和电气特性 ANSI/IEC C78.901-2005 |  |  |
|  |  | 11 | 最低启动温度 | 能源之星灯具类规范要求-Version 1.2 |  |  |
| 4 | HID灯具 （定向型/全向型） |  | 全项目 | 能源之星灯具类规范要求-Version 1.2 |  |  |
|  |  | 1 | 功率因数 | 能源之星灯具类规范要求-Version 1.2 高强度放电（HID）灯镇流器的测量方法 ANSI C82.6-2005 |  |  |
|  |  | 2 | 工作频率 | 能源之星灯具类规范要求-Version 1.2 高强度放电（HID）特性的测量方法 C78.389-2004 |  |  |
| 4 | HID灯具 （定向型/全向型） | 3 | 电流波峰因数 | 能源之星灯具类规范要求-Version 1.2 高强度放电（HID）灯镇流器的测量方法 ANSI C82.6-2005 |  |  |
|  |  | 4 | 光源寿命 流明维持 | 能源之星灯具类规范要求-Version 1.2 HID灯的寿命测试 IES LM-47-2012 |  |  |
|  |  | 5 | 光效、流明输出、环带光通量 | 能源之星灯具类规范要求-Version 1.2 HID灯电参数和光度测量 IES LM-51-2013 |  |  |
| 4 | HID灯具 （定向型/全向型） | 6 | 瞬态保护 | 能源之星灯具类规范要求-Version 1.2 低压交流电源电路的浪涌电压模拟实践做法 ANSI/IEEE C62.41.1-2002 交流电源低压浪涌测试(1000V或更低) ANSI/IEEE C62.41.2-2002 |  |  |
|  |  | 7 | 最低启动温度 | 能源之星灯具类规范要求-Version 1.2 |  |  |
| 5 | 固态照明灯具 （定向型/全向型） |  | 全项目 | 能源之星灯具类规范要求-Version 1.2 |  |  |
| 5 | 固态照明灯具 （定向型/全向型） | 1 | 光源寿命 | 能源之星灯具类规范要求-Version 1.2 固态照明产品电气和光度测量 IES LM-79-2008 LED光源流明维护率测量 IES LM-80-08 |  |  |
|  |  | 2 | 颜色空间均匀度 | 能源之星灯具类规范要求-Version 1.2 光谱辐射测试 IES LM-58-2013 固态照明产品电气和光度测量 IES LM-79-2008 |  |  |
|  |  | 3 | 显色指数 | 能源之星灯具类规范要求-Version 1.2 固态照明产品电气和光度测量 IES LM-79-2008 LED光引擎和LED灯的温度函数 IES LM-82-2012 光源显色指数的测量方法 CIE Pub. No. 13.3-1995 |  |  |
| 5 | 固态照明灯具 （定向型/全向型） | 4 | 相关色温 | 能源之星灯具类规范要求-Version 1.2 固态照明产品电气和光度测量 IES LM-79-2008 LED光引擎和LED灯的温度函数 IES LM-82-2012 比色法 CIE Pub. No. 15:2004 |  |  |
| 5 | 固态照明灯具 （定向型/全向型） | 5 | 光效、流明输出、环带光通量 | 能源之星灯具类规范要求-Version 1.2 固态照明产品电气和光度测量 IES LM-79-2008 LED光引擎和LED灯的温度函数 IES LM-82-2012 LED光源长期流明维护率测量 IES TM-21-2011 |  |  |
| 5 | 固态照明灯具 （定向型/全向型） | 6 | 流明维持 | 能源之星灯具类规范要求-Version 1.2 固态照明产品电气和光度测量 IES LM-79-2008 LED光引擎和LED灯的温度函数 IES LM-82-2012 LED光源长期流明维护率测量 IES TM-21-2011 |  |  |
|  |  | 7 | 颜色维持 | 能源之星灯具类规范要求-Version 1.2 固态照明产品电气和光度测量 IES LM-79-2008 LED光引擎和LED灯的温度函数 IES LM-82-2012 LED光源长期流明维护率测量 IES TM-21-2011 |  |  |
|  |  | 8 | 功率因数 | 能源之星灯具类规范要求-Version 1.2 谐波发射限值 - 照明设备相关的电源质量要求 ANSI C82.77-2002 Sections 6 and 7 |  |  |
| 5 | 固态照明灯具 （定向型/全向型） | 9 | 启动时间 | 能源之星灯具类规范要求-Version 1.2 自镇流紧凑型荧光灯的性能要求 ANSI C78.5-2003 |  |  |
|  |  | 10 | 瞬态保护 | 能源之星灯具类规范要求-Version 1.2 低压交流电源电路的浪涌电压模拟实践做法 ANSI/IEEE C62.41.1-2002 交流电源低压浪涌测试(1000V或更低) ANSI/IEEE C62.41.2-2002 |  |  |
|  |  | 11 | 工作频率 | 能源之星灯具类规范要求-Version 1.2 |  |  |
| 5 | 固态照明灯具 （定向型/全向型） | 12 | 最低启动温度 | 能源之星灯具类规范要求-Version 1.2 |  |  |
|  |  | 13 | 噪声 | 能源之星灯具类规范要求-Version 1.2 家用和类似用途电器-测定空气中的声学噪音的测试 EN-60704-1-1997 |  |  |
| 6 | 卤素灯具 （定向型/全向型） |  | 全项目 | 能源之星灯具类规范要求-Version 1.2 |  |  |
| 6 | 卤素灯具 （定向型/全向型） | 1 | 光源寿命 | 能源之星灯具类规范要求-Version 1.2 白炽灯泡寿命测试方法 IES LM-49-2012 |  |  |
|  |  | 2 | 光效、流明输出 | 能源之星灯具类规范要求-Version 1.2 道路白炽灯和HID灯光度测量 IES LM-31-1995 室內HID或白炽灯光度测试方法 IES LM-46-2004 |  |  |
|  |  | 3 | 瞬态保护 | 能源之星灯具类规范要求-Version 1.2 低压交流电源电路的浪涌电压模拟实践做法 ANSI/IEEE C62.41.1-2002 交流电源低压浪涌测试(1000V或更低) ANSI/IEEE C62.41.2-2002 |  |  |
|  |  | 4 | 最低启动温度 | 能源之星灯具类规范要求-Version 1.2 |  |  |
| 7 | LED封装、阵列、模组流明维持测试 | 1 | 流明维持 | LED光源流明维护率测量 IES LM-80-08 LED光源长期流明维护率测量 IES TM-21-2011 |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L3593)

NAME:Taiwan Surface Mounting Technology(Suzhou) Electron Co., Ltd. Laboratory

ADDRESS:No.888, Ganquan East Road, Tongjin Avenue, Wujiang Economic & Technological Zone, Suzhou, Jiangsu, China

Accreditation Criteria:ISO/IEC 17025, requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2014-12-15                      Date of Expiry:2017-12-14

# Date of Update：2014-12-15

APPENDIX 4   ACCREDITED ENERGY STAR TESTING

| № | Test Object | Item/Parameter | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | Compact Fluorescent Lamps （Directional /Non-Directional ） |  | All Items | ENERGY STAR Program Requirements for Lamps Version 1.1 | Accredited only for UL certificated |  |
| 1 | Compact Fluorescent Lamps （Directional /Non-Directional ） | 1 | Luminous Efficacy, Output | ENERGY STAR Program Requirements for Lamps Version 1.1 IESNA Approved Method for the Electrical and Photometric Measurements of Single-Ended compact Fluorescent Lamps LM-66-2011 |  |  |
|  |  | 2 | Center Beam Intensity | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrical and Photometric Measurements of Single-Ended compact Fluorescent Lamps IES LM-66-2011 ENERGY STAR Online CBCP Tool |  |  |
| 1 | Compact Fluorescent Lamps （Directional /Non-Directional ） | 3 | Luminous Intensity Distribution | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrical and Photometric Measurements of Single-Ended compact Fluorescent Lamps IES LM-66-2011 Photometric Testing of Reflector-Type Lamps IES LM-20-2013 |  |  |
| 1 | Compact Fluorescent Lamps （Directional /Non-Directional ） | 4 | Lumen Maintenance, Lifetime | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrical and Photometric Measurements of Single-Ended compact Fluorescent Lamps IES LM-66-2011 Life Testing of Compact Fluorescent Lamps IES LM-65-2010 ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Life Testing |  |  |
| 1 | Compact Fluorescent Lamps （Directional /Non-Directional ） | 5 | CCT | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrical and Photometric Measurements of Single-Ended compact Fluorescent Lamps IES LM-66-2011 Specifications for the Chromaticity of Fluorescent Lamps ANSI C78.376-2001 Colorimetry CIE Pub.No.15:2004 |  |  |
| 1 | Compact Fluorescent Lamps （Directional /Non-Directional ） | 6 | CRI | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrical and Photometric Measurements of Single-Ended compact Fluorescent Lamps IES LM-66-2011 Method of Measuring and Specifying Color Rendering of Light Sources CIE Pub.No.13.3-1995 |  |  |
|  |  | 7 | Transient Protection | ENERGY STAR Program Requirements for Lamps Version 1.1 Surges in Low Voltage (1000V and Less) AC Power Circuits ANSI C62.41.2-2002 |  |  |
| 1 | Compact Fluorescent Lamps （Directional /Non-Directional ） | 8 | Elevated Temperature Light Output Ratio | ENERGY STAR Program Requirements for Lamps Version 1.1 ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Light Output Ratio |  |  |
|  |  | 9 | Start Time | ENERGY STAR Program Requirements for Lamps Version 1.1 ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Start Time |  |  |
| 1 | Compact Fluorescent Lamps （Directional /Non-Directional ） | 10 | Run Up Time | ENERGY STAR Program Requirements for Lamps Version 1.1 ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Run-Up Time |  |  |
|  |  | 11 | Power Factor | ENERGY STAR Program Requirements for Lamps Version 1.1 Method of Measurement of Fluorescent Lamp Ballasts ANSI C82.2-2002 |  |  |
| 1 | Compact Fluorescent Lamps （Directional /Non-Directional ） | 12 | Lamp Shape | ENERGY STAR Program Requirements for Lamps Version 1.1 For Incandescent Lamps: Tungsten Halogen Lamps ANSI C78.357-2010 Nomenclature for Glass Bulbs Intended for Use with Electric Lamps ANSI C79.1-2002 Electric Lamps-PAR and R Shapes ANSI C78.21-2011 |  |  |
|  |  | 13 | Lighting Toxics | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrotechnical Products - Determination Of Levels Of Six Regulated Substances IEC 62321:2008 |  |  |
| 1 | Compact Fluorescent Lamps （Directional /Non-Directional ） | 14 | Lamp Base | ENERGY STAR Program Requirements for Lamps Version 1.1 Specifications for Bases (Caps) for Electric Lamps ANSI C81.61-2009 |  |  |
|  |  | 15 | Rapid Cycle Stress Test | ENERGY STAR Program Requirements for Lamps Version 1.1 Life Testing of Compact luorescent Lamps IES LM-65-2010 |  |  |
|  |  | 16 | Frequency | ENERGY STAR Program Requirements for Lamps Version 1.1 |  |  |
|  |  | 17 | Noise | ENERGY STAR Program Requirements for Lamps Version 1.1 ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Noise |  |  |
| 2 | Integral LED Lamps (Omnidirectional/Directional) |  | All Items | ENERGY STAR Program Requirements for Lamps Version 1.1 | Accredited only for UL certificated Integral LED Lamps |  |
|  |  | 1 | Efficacy, Output | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 |  |  |
|  |  | 2 | Center Beam Intensity | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 ENERGY STAR Online CBCP Tool |  |  |
| 2 | Integral LED Lamps (Omnidirectional/Directional) | 3 | Luminous Intensity Distribution | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 Photometric Testing of Reflector-Type Lamps IES LM-20-2013 |  |  |
|  |  | 4 | Transient Protection | ENERGY STAR Program Requirements for Lamps Version 1.1 Surges in Low Voltage (1000V and Less) AC Power Circuits ANSI C62.41.2-2002 |  |  |
| 2 | Integral LED Lamps (Omnidirectional/Directional) | 5 | CCT | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 Specifications for the Chromaticity of Fluorescent Lamps ANSI C78.376-2001 Colorimetry CIE Pub.No.15:2004 |  |  |
| 2 | Integral LED Lamps (Omnidirectional/Directional) | 6 | CRI | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 Method of Measuring and Specifying Color Rendering of Light Sources CIE Pub.No.13.3-1995 |  |  |
| 2 | Integral LED Lamps (Omnidirectional/Directional) | 7 | Lumen Maintenance, Lifetime | ENERGY STAR Program Requirements for Lamps Version 1.0 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 Measuring Lumen Maintenance of LED Light Sources IES LM-80-2008 Projecting Long Term Lumen Maintenance of LED Light Sources IES TM-21-2011 ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Life Testing ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Ambient Temperature Life Testing |  |  |
| 2 | Integral LED Lamps (Omnidirectional/Directional) | 8 | Elevated Temperature Light Output Ratio | ENERGY STAR Program Requirements for Lamps Version 1.1 ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Elevated Temperature Light Output Ratio |  |  |
|  |  | 9 | Start Time | ENERGY STAR Program Requirements for Lamps Version 1.1 ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Start Time |  |  |
| 2 | Integral LED Lamps (Omnidirectional/Directional) | 10 | Color Angular Uniformity | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 |  |  |
| 2 | Integral LED Lamps (Omnidirectional/Directional) | 11 | Color Maintenance | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 |  |  |
| 2 | Integral LED Lamps (Omnidirectional/Directional) | 12 | Power Factor | ENERGY STAR Program Requirements for Lamps Version 1.1 Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment ANSI C82.77-2002 Sections 6 and 7 |  |  |
|  |  | 13 | Lamp Shape | ENERGY STAR Program Requirements for Lamps Version 1.1 For Incandescent Lamps: Tungsten Halogen Lamps ANSI C78.357-2010 Nomenclature for Glass Bulbs Intended for Use with Electric Lamps ANSI C79.1-2002 Electric Lamps—PAR and R Shapes ANSI C78.21-2011 |  |  |
| 2 | Integral LED Lamps (Omnidirectional/Directional) | 14 | Lamp Base | ENERGY STAR Program Requirements for Lamps Version 1.1 Specifications for Bases (Caps) for Electric Lamps ANSI C81.61-2009 |  |  |
|  |  | 15 | Frequency | ENERGY STAR Program Requirements for Lamps Version 1.1 |  |  |
|  |  | 16 | Noise | ENERGY STAR Program Requirements for Lamps Version 1.1 ENERGY STAR Program Requirements Product Specification for Lamps Version 1.0: Noise |  |  |
| 2 | Integral LED Lamps (Omnidirectional/Directional) | 17 | Lighting Toxics | ENERGY STAR Program Requirements for Lamps Version 1.1 Electrotechnical Products - Determination Of Levels Of Six Regulated Substances IEC 62321:2008 |  |  |
|  |  | 18 | Rapid Cycle Stress Test | ENERGY STAR Program Requirements for Lamps Version 1.1 Life Testing of Compact luorescent Lamps IES LM-65-2010 |  |  |
| 3 | Fluorescent of Luminaires （Directional and Non-Directional Luminaires) |  | All Items | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 |  |  |
| 3 | Fluorescent of Luminaires （Directional and Non-Directional Luminaires) | 1 | Source Start Time Source Run-up Time | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Specifications for Performance of Self-ballasted Compact Fluorescent Lamps ANSI C78.5-2003 American National Standard for Lamp Ballasts—High Frequency Fluorescent Lamp Ballasts ANSI C82.11-2002 |  |  |
|  |  | 2 | Power Factor | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Method of Measurement of Fluorescent Lamp Ballasts ANSI C82.2-2002 |  |  |
| 3 | Fluorescent of Luminaires （Directional and Non-Directional Luminaires) | 3 | Operating Frequency | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Method of Measurement of Fluorescent Lamp Ballasts ANSI C82.2-2002 |  |  |
| 3 | Fluorescent of Luminaires （Directional and Non-Directional Luminaires) | 4 | CRI | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Electric and Photometric Measurements of Fluorescent Lamps IES LM-9-2009 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps. IES LM-66-2011 Method of Measuring and Specifying Color Rendering of Light Sources CIE Publication 13.3-1995 |  |  |
| 3 | Fluorescent of Luminaires （Directional and Non-Directional Luminaires) | 5 | CCT | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Electric and Photometric Measurements of Fluorescent Lamps IES LM-9-2009 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps. IES LM-66-2011 Colorimetry CIE Pub.No.15:2004 |  |  |
| 3 | Fluorescent of Luminaires （Directional and Non-Directional Luminaires) | 6 | Luminous Efficacy 、Output、Zonal Lumen Density | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Electric and Photometric Measurements of Fluorescent Lamps IES LM-9-2009 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps. IES LM-66-2011 |  |  |
| 3 | Fluorescent of Luminaires （Directional and Non-Directional Luminaires) | 7 | Light Source Life, Lumen Maintenance | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Life Testing of Fluorescent Lamps IES LM-40-2001 Life Testing of Compact Fluorescent Lamps IES LM-65-2001 Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps. IES LM-66-2011 Electrical and Photometric Measurements of Linear Fluorescent Lamps IES LM-9-2009 |  |  |
| 3 | Fluorescent of Luminaires （Directional and Non-Directional Luminaires) | 8 | TransientProtection | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 IEEE Guide on the Surge Environment in Low-Voltage (1000 V and Less) AC Power Circuits ANSI/IEEE C62.41.1-2002 IEEE Recommended Practice on Characterization of Surges in Low-Voltage (1000V and Less) AC Power Circuits ANSI/IEEE C62.41.2-2002 |  |  |
| 3 | Fluorescent of Luminaires （Directional and Non-Directional Luminaires) | 9 | Noise | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 household and similar electrical appliances-Test code for the determination of airborne acoustical noise EN-60704-1-1997 |  |  |
| 3 | Fluorescent of Luminaires （Directional and Non-Directional Luminaires) | 10 | Lamp Current Crest Factor | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 High-Frequency Fluorescent Lamp Ballasts-Supplements ANSI C82.11-2002 Sections 3.3.3 and 5.6 Double-Capped Fluorescent Lamps-Dimensional and Electrical Characteristics ANSI C78.81-2010 Single-Based Fluorescent Lamps-Dimensional and Electrical Characteristics ANSI/IEC C78.901-2005 |  |  |
| 3 | Fluorescent of Luminaires （Directional and Non-Directional Luminaires) | 11 | Minimum Operating Temperature | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 |  |  |
| 4 | HID of Luminaires （Directional and Non-Directional Luminaires) |  | All Items | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 |  |  |
|  |  | 1 | Power Factor | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Single-Based Fluorescent Lamps—Dimensional and Electrical Characteristics ANSI C82.6-2005 |  |  |
| 4 | HID of Luminaires （Directional and Non-Directional Luminaires) | 2 | Operating Frequency | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 High-Intensity Discharge (HID)—Methods of Measuring Characteristics C78.389-2004 |  |  |
|  |  | 3 | Lamp Current Crest Factor | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Ballasts for High Intensity Discharge (HID) Lamps - Methods of Measurement ANSI C82.6-2005 |  |  |
| 4 | HID of Luminaires （Directional and Non-Directional Luminaires) | 4 | Light Source Life Lumen Maintenance | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Life Testing of High Intensity Discharge (HID) Lamps IES LM-47-2012 |  |  |
|  |  | 5 | Luminous Efficacy 、Output、Zonal Lumen Density | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Electrical and Photometric Measurements of High Intensity Discharge Lamps IES LM-51-2013 |  |  |
| 4 | HID of Luminaires （Directional and Non-Directional Luminaires | 6 | Transient Protection | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 IEEE Guide on the Surge Environment in Low-Voltage (1000 V and Less) AC Power Circuits ANSI/IEEE C62.41.1-2002 IEEE Recommended Practice on Characterization of Surges in Low-Voltage (1000V and Less) AC Power Circuits ANSI/IEEE C62.41.2-2002 |  |  |
| 4 | HID of Luminaires （Directional and Non-Directional Luminaires | 7 | Minimum Operating Temperature | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 |  |  |
| 5 | SSL of Luminaires （Directional and Non-Directional Luminaires) |  | All Items | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 |  |  |
|  |  | 1 | Light Source Life | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures)Eligibility Criteria Version 1.2 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 Measuring Lumen Maintenance of LED Light Sources IES LM-80-2008 |  |  |
| 5 | SSL of Luminaires （Directional and Non-Directional Luminaires) | 2 | Color Angular Uniformity | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures)Eligibility Criteria Version 1.2 Guide to Spectroradiometric Measurements IES LM-58-2013 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 |  |  |
| 5 | SSL of Luminaires （Directional and Non-Directional Luminaires) | 3 | color rendering index | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 IES Approved Method for the Characterization of LED Light Engines and Integrated LED Lamps for Electrical and Photometric Properties as a Function of Temperature IES LM-82-2012 Method of Measuring and Specifying Color Rendering of Light Sources CIE Publication 13.3-1995 |  |  |
| 5 | SSL of Luminaires （Directional and Non-Directional Luminaires | 4 | CCT | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 IES Approved Method for the Characterization of LED Light Engines and Integrated LED Lamps for Electrical and Photometric Properties as a Function of Temperature IES LM-82-2012 Colorimetry CIE Pub.No.15:2004 |  |  |
| 5 | SSL of Luminaires （Directional and Non-Directional Luminaires | 5 | Luminous Efficacy and Output、uminaire Zonal Lumen Density | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 IES Approved Method for the Characterization of LED Light Engines and Integrated LED Lamps for Electrical and Photometric Properties as a Function of Temperature IES LM-82-2012 Projecting Long Term Lumen Maintenance of LED Light Sources IES TM-21-2011 |  |  |
| 5 | SSL of Luminaires （Directional and Non-Directional Luminaires) | 6 | Lumen Maintenance | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 IES Approved Method for the Characterization of LED Light Engines and Integrated LED Lamps for Electrical and Photometric Properties as a Function of Temperature IES LM-82-2012 Projecting Long Term Lumen Maintenance of LED Light Sources IES TM-21-2011 |  |  |
| 5 | SSL of Luminaires （Directional and Non-Directional Luminaires) | 7 | Color Maintenance | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Electrical and Photometric Measurements of Solid-State Lighting Products IES LM-79-2008 IES Approved Method for the Characterization of LED Light Engines and Integrated LED Lamps for Electrical and Photometric Properties as a Function of Temperature IES LM-82-2012 Projecting Long Term Lumen Maintenance of LED Light Sources IES TM-21-2011 |  |  |
| 5 | SSL of Luminaires （Directional and Non-Directional Luminaires) | 8 | Power Factor | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Harmonic Emission Limits—Related Power Quality Requirements for Lighting Equipment ANSI C82.77-2002 Sections 6 and 7 |  |  |
|  |  | 9 | Source Start Time | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Specifications for Performance of Self-ballasted Compact Fluorescent Lamps ANSI C78.5-2003 |  |  |
| 5 | SSL of Luminaires （Directional and Non-Directional Luminaires) | 10 | Transient Protection | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 IEEE Guide on the Surge Environment in Low-Voltage (1000 V and Less) AC Power Circuits ANSI/IEEE C62.41.1-2002 IEEE Recommended Practice on Characterization of Surges in Low-Voltage (1000V and Less) AC Power Circuits ANSI/IEEE C62.41.2-2002 |  |  |
|  |  | 11 | Operating Frequency | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 |  |  |
| 5 | SSL of Luminaires （Directional and Non-Directional Luminaires) | 12 | Minimum Operating Temperature | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 |  |  |
|  |  | 13 | Noise | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 household and similar electrical appliances-Test code for the determination of airborne acoustical noise EN-60704-1-1997 |  |  |
| 6 | Halogen of Luminaires （Directional and Non-Directional Luminaires) |  | All Items | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 |  |  |
| 6 | Halogen of Luminaires （Directional and Non-Directional Luminaires) | 1 | Light Source Life | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Life Testing of Incandescent Filament Lamps IES LM-49-2012 |  |  |
| 6 | Halogen of Luminaires （Directional and Non-Directional Luminaires) | 2 | Luminous Efficacy and Output | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 Photometric Testing of Roadway Luminaires Using Incandescent Filament and High Intensity Discharge (HID) Lamps IES LM-31-1995 Photometric Testing of Indoor Luminaires Using High Intensity Discharge or Incandescent Filament Lamps IES LM-46-2004 |  |  |
| 6 | Halogen of Luminaires （Directional and Non-Directional Luminaires) | 3 | Transient Protection | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 IEEE Guide on the Surge Environment in Low-Voltage (1000 V and Less) AC Power Circuits ANSI/IEEE C62.41.1-2002 IEEE Recommended Practice on Characterization of Surges in Low-Voltage (1000V and Less) AC Power Circuits ANSI/IEEE C62.41.2-2002 |  |  |
|  |  | 4 | Minimum Operating Temperature | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures) Eligibility Criteria Version 1.2 |  |  |
| 7 | Measuring Lumen Maintenance of LED Light Sources | 1 | Lumen Maintenance | Measuring Lumen Maintenance of LED Light Sources IES LM-80-2008 Projecting Long Term Lumen Maintenance of LED Light Sources IES TM-21-2011 |  |  |