中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L4287）

名称:南德认证检测（中国）有限公司深圳分公司

地址：广东省深圳市南山区南头关口二路智恒战略性新兴产业园12&13栋

认可依据：ISO/IEC 17025、EPA能源之星以及CNAS特定认可要求

签发日期：2015年11月12日         有效期至：2018年11月28日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | 计算机 | 1 | 休眠模式 | 能源之星对计算机的项目要求 版本 6.1， 能源之星计算机测试方法，能源之星对计算机的项目要求，2014年8月修改 |  |  |
|  |  | 2 | 长空闲模式 |  |  |  |
|  |  | 3 | 短空闲模式 |  |  |  |
|  |  | 4 | 关机模式 |  |  |  |
|  |  | 5 | 最大功耗测试 |  |  |  |
| 1 | 计算机 | 6 | 基准测试 | 能源之星对计算机的项目要求 版本 6.1， 能源之星计算机测试方法，能源之星对计算机的项目要求，2014年8月修改 |  |  |
| 2 | 显示器 | 1 | 亮度 | 能源之星对显示器的项目要求 版本 6.0 能源之星判定显示器能源使用的测试方法 版本6.0， 2013年1月修订 |  |  |
|  |  | 2 | 开机功耗 |  |  |  |
|  |  | 3 | 休眠模式 |  |  |  |
|  |  | 4 | 关机模式 |  |  |  |
| 3 | 电视机 | 1 | 开机模式 | 能源之星对电视机的项目要求 版本7.0, 10 CFR § 430 Appendix H 测量电视机功耗的统一测试方法, 关于电视机平均能效的决定 CEA-2037-A：2014 CEA：电视DAM测试程序，Rev.0.3，2010.09 |  |  |
|  |  | 2 | 亮度 |  |  |  |
|  |  | 3 | 待机模式 |  |  |  |
|  |  | 4 | 关机模式 |  |  |  |
| 4 | 音视频产品 | 1 | APD功能 | 能源之星音视频产品的项目要求 版本3.0 能源之星音视频产品测试方法，能源之星对音视频产品的项目要求，2012年7月修订 |  |  |
|  |  | 2 | 空闲模式 |  |  |  |
| 4 | 音视频产品 | 3 | 休眠模式 | 能源之星音视频产品的项目要求 版本3.0 能源之星音视频产品测试方法，能源之星对音视频产品的项目要求，2012年7月修订 |  |  |
|  |  | 4 | 视频回放测试 |  |  |  |
|  |  | 5 | 音频回放测试 |  |  |  |
|  |  | 6 | 音频放大测试 |  |  |  |
| 5 | 机顶盒和电缆盒 | 1 | 开机模式 | 能源之星机顶盒程序要求 版本4.1，关于机顶盒平均能效的决定 CEA-2043： 2013 |  |  |
|  |  | 2 | 休眠模式 |  |  |  |
|  |  | 3 | APD功能 |  |  |  |
|  |  | 4 | 深度休眠模式 |  |  |  |
| 6 | 影像设备 | 1 | TEC测试 | 能源之星对影像设备的项目要求 版本2.0 能源之星对影像设备的测试方法，能源之星对影像设备的项目要求，2014年9月修订 |  |  |
|  |  | 2 | OM测试 |  |  |  |
| 7 | 无绳电话 | 1 | 待机测试 | 能源之星对无绳电话的项目要求 版本3.0 能源之星无绳电话测试方法，能源之星对无绳电话的项目要求，2013年11月修订 |  |  |
| 8 | 不间断电源 | 1 | 效率 | 能源之星对不间断电源的产品项目要求 版本1.0 能源之星不间断电源的测试方法，2012年5月修订 |  |  |
| 9 | 小型网络设备 | 1 | 空闲模式 | 能源之星对小型网络设备的产品项目要求 版本1.0 能源之星小型网络设备测试方法 2013年11月修订 |  |  |
|  |  | 2 | WAN测试 |  |  |  |
|  |  | 3 | LAN测试 |  |  |  |
|  |  | 4 | WLAN测试 |  |  |  |
| 10 | 灯具及其组件 | 1 | 相关色温 | 比色法 CIE Publication No. 15-2004 |  |  |
|  |  | 2 | 功率因数 | 谐波发射限值--照明设备相关电源质量的要求 ANSI C82.77-2002 |  |  |
|  |  | 3 | 显色指数 | 光源显色性的说明和测试方法 CIE Publication No.13.3-1995 |  |  |
|  |  | 4 | 色空间分布 | 光谱仪测量指引 IESNA LM-58-1994 |  |  |
|  |  | 5 | 光效，光输出，区间流明分布，色空间，灯具光度 | 固态照明产品光电参数测试（分布式光度计） IESNA LM-79-08 第10章节 |  |  |
| 10 | 灯具及其组件 | 6 | 光效，光输出，流明维护，相关色温，显色指数，色彩维护 | 固态照明产品光电参数测试（分布式光度计） IESNA LM-79-08（第9，11，12章节） |  |  |
|  |  | 7 | 光效、光输出、流明维护、相关色温、显色指数 | 荧光灯电气和光度测量 IESNA LM-9-09 |  |  |
| 10 | 灯具及其组件 | 8 | 光效、光输出、流明维护、相关色温、显色指数 | 单端紧凑型荧光灯的电气和光度测量 IESNA LM-66-00 IESNA LM-66-11 |  |  |
|  |  | 9 | 光源上升时间 | 自镇流紧凑型荧光灯的性能规范 ANSI C78.5-2003（第4.8章节） |  |  |
|  |  | 10 | 功率因数，工作频率 | 荧光灯镇流器的测量方法 ANSI C82.2-2002（第7，11章节） |  |  |
|  |  | 11 | 光源寿命，流明维护 | 荧光灯的寿命测试 IESNA LM-40-10 |  |  |
|  |  | 12 | 光源寿命 | 紧凑型荧光灯的寿命测试 IESNA LM-65-10 （第2、3、5、6章） |  |  |
|  |  | 13 | 光效，光输出，区间流明分布 | 户外荧光灯具的光度测量 IESNA LM-10-1996（第6，7章节） |  |  |
| 10 | 灯具及其组件 | 14 | 光效，光输出，区间流明分布 | 户内荧光灯具的光度测量 IESNA LM-41-98（第6.4章节） |  |  |
|  |  | 15 | 寿命测试 | 白炽钨丝灯的寿命测试 IESNA LM-49-01 IESNA LM-49-12 （第6章节） （包括内部测试程序进行感应器功能的确认） |  |  |
| 10 | 灯具及其组件 | 16 | 光度，色度，电气，寿命 | 能源之星对灯具的要求，版本1.1 & 版本1.2 | 只测：荧光灯具（非定向、自镇流灯及灯-镇流器平台）、定向荧光灯具、荧光灯镇流器、荧光灯、定向固态照明灯具、卤素灯具（定向和非定向） |  |
| 11 | 整体式LED灯 | 1 | 相关色温及Duv，显色指数，色彩维护，功率因数，光效，光输出，色空间，流明维护 | 固态照明产品光电参数测试 IESNA LM-79-08第9和12章节 |  |  |
|  |  | 2 | 光强分布，最低中心光束强度（PAR灯和MR16灯适应） | 固态照明产品光电参数测试 IESNA LM-79-08第10章节（分布式光度计） |  |  |
|  |  | 3 | 流明维持 | 能源之星提升温度的测试程序（能源之星整体式LED灯项目要求1.4版的附录E） 能源之星LED灯项目要求 1.1版本第10章节 |  |  |
|  |  | 4 | 快速循环应力测试 | 紧凑型荧光灯的寿命测试 IESNA LM-65-10 （第2、3、5、6章） |  |  |
|  |  | 5 | 相关色温 | 比色法 CIE Publication No. 15-2004 |  |  |
| 11 | 整体式LED灯 | 6 | 光度，色度，流明维护，快速循环应力测试 | 能源之星对整体式LED灯的要求，版本1.4 能源之星LED灯项目要求 1.1版本 | 只测：非定向/定向整体式LED灯及装饰型LED灯 |  |
| 12 | 紧凑型荧光灯 | 1 | 功率，配置 | 荧光灯电气和光度测量 IESNA LM-9-09（第5章节） |  |  |
|  |  | 2 | 流明维持 | 能源之星提升温度的测试程序（能源之星紧凑型荧光灯项目要求4.3版的附录A） 能源之星LED灯项目要求1.1版本的第10章节 |  |  |
|  |  | 3 | 快速循环应力测试 | 批准的 紧凑型荧光灯的寿命测试 LM-65-10 （第2、3、5、6章） |  |  |
|  |  | 4 | 功率，配置 | 批准的单端紧凑型荧光灯的电气和光度测量 LM-66-00 LM-66-11 |  |  |
|  |  | 5 | 上升时间，流明维护 | 自镇流紧凑型荧光灯的性能规范 ANSI C78.5-2003（第4.8，4.10章节） |  |  |
|  |  | 6 | 寿命测试 | 批准的荧光灯寿命测试 LM-40-10 （第6章节） |  |  |
|  |  | 7 | 显色指数 | 光源显色性的说明和测试方法 CIE Publiction No. 13.3 -1995 |  |  |
| 12 | 紧凑型荧光灯 | 8 | 光度，色度，电气，流明维护，快速循环应力测试 | 能源之星对紧凑型荧光灯的项目要求，版本4.3 能源之星对 能源之星对LED灯泡项目要求第1.1版本 |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

SCHEDULE OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L4287)

NAME:TUV SUD Certification and Testing(China) Co., Ltd. Shenzhen Branch

ADDRESS:Building 12&13, Zhiheng Wisdomland Business Park, Guankou Erlu, Nantou, Nanshan District, Shenzhen, Guangdong, China

Accreditation Criteria:ISO/IEC 17025, requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2015-11-12                      Date of Expiry:2018-11-28

SCHEDULE 4   ACCREDITED ENERGY STAR TESTING SCOPE

| № | Test Object | Item/Parameter | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | Computer | 1 | Sleep mode | ENERGY STAR Program Requirements Product Specification for Computers Version 6.1 ENERGY STAR Computer Test Method, ENERGY STAR Program Requirements Product Specification for Computers, Rev. Aug-2014 |  |  |
|  |  | 2 | Long idle mode |  |  |  |
|  |  | 3 | Short idle mode |  |  |  |
|  |  | 4 | Off mode |  |  |  |
|  |  | 5 | Maxium power |  |  |  |
|  |  | 6 | Benchmark test |  |  |  |
| 2 | Display | 1 | Luminance | ENERGY STAR Program Requirements Product Specification for Displays Version 6.0 ENERGY STAR Test Method for Determining Displays Energy Use Version 6.0 – Revised January 2013 |  |  |
|  |  | 2 | On mode |  |  |  |
|  |  | 3 | Sleep mode |  |  |  |
|  |  | 4 | Off mode |  |  |  |
| 3 | Television | 1 | On mode | ENERGY STAR Program Requirements Product Specification for Televisions Version 7.0 10 CFR § 430 Appendix H Uniform Test Method for Measuring the Power Consumption of Television Sets, 'Determination of Television Average Power Consumption CEA-2037-A:2014 CEA procedure for DAM testing: For TVs, Rev.0.3,Sept.2010 |  |  |
|  |  | 2 | Luminance |  |  |  |
|  |  | 3 | Standby mode |  |  |  |
|  |  | 4 | Off mode |  |  |  |
| 4 | Audio/ video products | 1 | APD function | ENERGY STAR Program Requirements Product Specification for Audio/Video Version 3.0 ENERGY STAR Test Method for Audio/Video, ENERGY STAR Program Requirements Product Specification for Audio/Video, Rev. July-2012 |  |  |
|  |  | 2 | Idle mode |  |  |  |
|  |  | 3 | Sleep mode |  |  |  |
|  |  | 4 | Video playback |  |  |  |
|  |  | 5 | Audio playback |  |  |  |
|  |  | 6 | Audio amplification |  |  |  |
| 5 | Set-top Boxes & Cable Boxes | 1 | On mode | ENERGY STAR Program Requirements Product Specification for Set-top Boxes Version 4.1 Set-top Box (STB) Power Measurement: CEA-2043:2013 |  |  |
|  |  | 2 | Sleep mode |  |  |  |
|  |  | 3 | APD function |  |  |  |
|  |  | 4 | Deep Sleep mode |  |  |  |
| 6 | Imaging Equipment | 1 | TEC test | ENERGY STAR Program Requirements Product Specification for Imaging Equipment Version 2.0 ENERGY STAR Imaging Equipment Test Method, ENERGY STAR Program Requirements for Imaging Equipment, Rev. Sep 2014 |  |  |
|  |  | 2 | OM test |  |  |  |
| 7 | Telephony | 1 | Standby test | ENERGY STAR Program Requirements Product Specification for Telephony Version 3.0 ENERGY STAR Test Method for Telephony, ENERGY STAR Program Requirements for Telephony, Rev. Nov 2013 |  |  |
| 8 | Uninterruptible power supplies (UPSs) | 1 | Efficiency | ENERGY STAR Program Requirements Product Specification for Uninterruptible Power Supplies Version 1.0 ENERGY STAR Test Method for Uninterruptible Power Supplies, Rev. May-2012 |  |  |
| 9 | Small network equipment | 1 | Idle state | ENERGY STAR Program Requirements Product Specification for Small network Equipment Version 1.0 ENERGY STAR Test Method for Small Network Rev. Nov-2013 |  |  |
|  |  | 2 | WAN test |  |  |  |
|  |  | 3 | LAN test |  |  |  |
|  |  | 4 | WLAN test |  |  |  |
| 10 | Luminaires and sub-components | 1 | CCT | Colorimetry CIE Publication No. 15-2004 |  |  |
|  |  | 2 | Power factor | Harmonic Emission Limits--Related Power Quality Requirements for Lighting Equipment ANSI C82.77-2002 |  |  |
| 10 | Luminaires and sub-components | 3 | CRI | Method of Measuring and Specifying Color Rendering of Light Sources CIE Publication No. 13.3-1995 |  |  |
| 10 | Luminaires and sub-components | 4 | Color Angular Uniformity | Guide to Spectroradiometric Measurements IESNA LM-58-1994 |  |  |
|  |  | 5 | Efficacy, Output, Zonal lumen distribution, Color angular uniformity,Luminaire photometry | Electrical and Photometric Measurement of Solide-State Lighting Products IESNA LM-79-08 section 10 |  |  |
|  |  | 6 | Efficacy, Output, Lumen Maintenance, CCT, CRI, Color Maintenance | Electrical and Photometric Measurement of Solide-State Lighting Products IESNA LM-79-08 section9, 11 and 12 |  |  |
| 10 | Luminaires and sub-components | 7 | Efficacy, Output, Lumen Maintenance, CCT, CRI | Electrical and Photometric Measurement of Fluorescent Lamps IESNA LM-9-09 |  |  |
|  |  | 8 | Efficacy, Output, Lumen Maintenance, CCT, CRI | Electrical and Photometric Measurement of Single-Ended Compact Fluorescent Lamps IESNA LM-66-00 IESNA LM-66-11 |  |  |
|  |  | 9 | Source Run-up time | Specifications for Performance of Self-ballasted Compact Fluorescent Lamps ANSI C78.5-2003 section 4.8 |  |  |
| 10 | Luminaires and sub-components | 10 | Power factor, Operating Frequency | Method of Measurement of Fluorescent Lamp Ballasts ANSI C82.2-2002 section 7 and 11 |  |  |
|  |  | 11 | Light Source Life, Lumen Maintenance | Life Testing of Fluorescent Lamps IESNA LM-40-10 |  |  |
| 10 | Luminaires and sub-components | 12 | Lamp lifetime | Life Testing of Compact Fluorescent Lamps IESNA LM-65-10 (section 2,3,5 and 6) |  |  |
|  |  | 13 | Efficacy, Output, Zonal Lumen Distribution | Photometric Testing of Outdoor Fluorescent Luminaires IESNA LM-10-96 section 6 and 7 |  |  |
|  |  | 14 | Efficacy, Output, Zonal Lumen Distribution | Approved Method for Photometric Testing of Indoor Fluorescent Luminaries IESNA LM-41-98 section 6.4 |  |  |
|  |  | 15 | Life test | Life Testing of Incandescent Filament Lamps IESNA LM-49-01 IESNA LM-49-12 section 6 (Including of internal test procedure for motion sensing and photo sensing) |  |  |
| 10 | Luminaires and sub-components | 16 | Photometric test, Color characteristic, Electrical test, Life test | ENERGY STAR Program Requirements Product Specification for Luminaires (Light Fixtures), Version 1.1& Version 1.2 | Accredited only for: Fluorescent (Non Directional, Self-Ballasted Lamps and Lamp-Ballast Platforms),Fluorescent (Directional),Fluorescent Ballasts, Fluorescent Lamps, Directional SSL,Halogen (Non-directional and directional) |  |
| 11 | Integral LED Lamps | 1 | CCT and Duv, CRI, Color Maintenance, Power Factor, Luminous Efficacy, Light Output, Color Spatial Uniformity,Lumen maintenance | Electrical and Photometric Measurement of Solide-State Lighting Products IESNA LM-79-08 sections 9 and 12 |  |  |
|  |  | 2 | Luminous Intensity Distribution, Minimum Center Beam Intensity (PAR and MR16 applicable) | Electrical and Photometric Measurement of Solide-State Lighting Products IESNA LM-79-08 sections 10 (Goniophotometer) |  |  |
| 11 | Integral LED Lamps | 3 | Lumen Maintenance | ENERGY STAR Elevated Temperature Test Procedure (Appendix E of ENERGY STAR Program Requirements for Integral LED Lamps, Version 1.4) ENERGY STAR Program requirements for Lamps (Light Bulbs), Version 1.1 Clause 10.0 |  |  |
|  |  | 4 | Rapid Cycle Stress Test | Life Testing of Compact Fluorescent Lamps IESNA LM-65-10 (section 2,3,5 and 6) |  |  |
|  |  | 5 | CCT | Colorimetry CIE Publication No. 15-2004 |  |  |
| 11 | Integral LED Lamps | 6 | Photometric test, Color characteristic, Lumen maintenance, Rapid Cycle Stress Test | ENERGY STAR Program Requirements for Integral LED Lamps, Version 1.4 ENERGY STAR Program requirements for Lamps (Light Bulbs), Version 1.1 | Accredited only for:Integral LED Lamps (Omnidirectional/Directional and Decorative) |  |
| 12 | Compact Fluorescent Lamps | 1 | Lamp Power (Watts) & Configuration | Electrical and Photometric Measurement of Fluorescent Lamps IESNA LM-9-09 section 5 |  |  |
| 12 | Compact Fluorescent Lamps | 2 | Lumen Maintenance | ENERGY STAR Elevated Temperature Test Procedure (Annex A of CFLs 4.3) ENERGY STAR Program requirements for Lamps (Light Bulbs), Version 1.1 Clause 10 |  |  |
|  |  | 3 | Rapid Cycle Stress Test | IESNA Approved Method for life testing of Compact Fluorescent Lamps LM-65-10 (section 2,3,5 and 6) |  |  |
| 12 | Compact Fluorescent Lamps | 4 | Lamp Power (Watts) & Configuration | IESNA Approved Method for the Electrical and Photometric Measurements of Single-Ended Compact Fluorescent Lamps LM-66-00 LM-66-11 |  |  |
|  |  | 5 | Run-up Time, Lumen Maintenance | American National Standard for electric lamp - Specification for performance of self-ballasted Compact Fluorescent Lamps ANSI C78.5-2003 section 4.8 and 4.10 |  |  |
|  |  | 6 | Life test | Life Testing of Fluorescent Lamps IESNA LM-40-10 section 6 |  |  |
| 12 | Compact Fluorescent Lamps | 7 | Color Rendering Index | Method of Measuring and Specifying Colour Rendering Properties of light Sources CIE Publiction No. 13.3 -1995 |  |  |
| 12 | Compact Fluorescent Lamps | 8 | Photometric test, Color characteristic,Electrical test, Lumen maintenance, Rapid Cycle Stress Test | ENEYGY STAR Program requirements for CFLs, Ver. 4.3 ENERGY STAR Program requirements for Lamps (Light Bulbs), Version 1.1 |  |  |