中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0354）

名称: 浙江省检验检疫科学技术研究院（浙江出入境检验检疫局检验检疫技术中心、浙江立德产品技术有限公司）

地址：浙江省杭州市萧山区建设三路555号

认可依据：ISO/IEC 17025、EPA能源之星以及CNAS特定认可要求

签发日期：2014年10月22日         有效期至：2017年10月21日

更新日期：2014年10月22日

附件4  认可的“能源之星”检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 检测标准（方法）名称及编号（含年号） | 说明 |
| --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |
| 1 | 房间空气调节器 | 1 | 全部参数 | 房间空调器和整体式空调的测试方法 ANSI/ASHRAE STANDARD 16-1983 (RA 99) |  |
|  |  | 2 | 全部参数 | 房间空调器和整体式空调的测试方法 ANSUASHRAE STANDARD 58-1986 (RA 99) |  |
|  |  | 3 | 全部参数 | 房间空调器 ANSI_ AHAM RAC-1-R2008 | 只测制冷量8000W及以下 |
|  |  | 4 | 全部参数 | 测量房间空调器能耗的统一试验方法 10 CFR 430, Subpart B, Appendix F |  |
|  |  | 5 | 全部参数 | 美国能源之星房间空调器的要求 ENERGY STAR Program Requirements Product Specification for Room Air Conditioners Version 4.0 |  |
| 2 | 全自动半自动洗衣机 | 1 | 全部参数 | 测量自动半自动洗衣机能耗的统一试验方法 10 CFR 430, Subpart B, Appendix J2 |  |
|  |  | 2 | 全部参数 | 能源之星对家用洗衣机的要求 ENERGY STAR Program Requirements Product Specification for Clothes Washers Version 7.1 |  |
| 3 | 家用电冰箱 | 1 | 全部参数 | 制冷器具的能耗和容积 ANSI/AHAM HRF-1-2008 |  |
| 4 | 冷藏冷冻箱和冷藏箱 | 1 | 全部参数 | 测量冷藏冷冻箱和冷藏箱能耗的统一试验方法 10 CFR 430, Subpart B, Appendix A |  |
| 5 | 冷冻箱 | 1 | 全部参数 | 测量冷藏冷冻箱和冷藏箱能耗的统一试验方法 10 CFR 430, Subpart B, Appendix B |  |
| 6 | 家用冷藏冷冻箱和冷柜 | 1 | 全部参数 | 能源之星对家用冷藏冷冻箱的要求 ENERGY STAR Program Requirements Product Specification for Residential Refrigerators and Freezers Version 5.0 |  |
| 7 | 家用洗碗机 | 1 | 全部参数 | 测量洗碗机能耗的统一试验方法 10 CFR 430, Subpart B, Appendix C1 |  |
|  |  | 2 | 全部参数 | 能源之星对家用洗碗机的要求 ENERGY STAR Program Requirements V6.0 |  |
|  |  | 3 | 全部参数 | 家用洗碗机附录A和E的解释 ANSI/AHAM DW-1 - 2010 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0354)

NAME:Zhejiang Academy of Science and Technology for Inspection & Quarantine(Zhejiang Entry-Exit Inspection & Quarantine Bureau Inspection & Quarantine Technical Center, Zhejiang Lead Product Technical Co., Ltd.)

ADDRESS:No.555, Jianshe Sanlu, Xiaoshan District, Hangzhou, Zhejiang, China

Accreditation Criteria:ISO/IEC 17025, requirements of EPA ENERGY STAR® Program and relevant requirements of CNAS

Date of Issue:2014-10-22                      Date of Expiry:2017-10-21

# Date of Update：2014-10-22

APPENDIX 4   ACCREDITED ENERGY STAR TESTING

| № | Test Object | Item/Parameter | Title, Code of Standard or Method | Note |
| --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |
| 1 | Room air conditioners | 1 | All Parameters | Method of Testing for Rating Room Air Conditioner and Packaged Terminal Air Conditioner Heating Capacity ANSI/ASHRAE STANDARD 16-1983 (RA 99) |  |
|  |  | 2 | All Parameters | Method of Testing for Rating Room Air Conditioner and Packaged Terminal Air Conditioner Heating Capacity ANSUASHRAE STANDARD 58-1986 (RA 99) |  |
|  |  | 3 | All Parameters | Room air conditionersANSI_ AHAM RAC-1-R2008 | Accredited Only for Cooling Capacity up to 8000W |
|  |  | 4 | All Parameters | Uniform Test Method for Measuring the Energy Consumption of Room Air Conditioners10 CFR 430, Subpart B, Appendix F |  |
|  |  | 5 | All Parameters | ENERGY STAR Program Requirement for Room Air ConditionersENERGY STAR Program Requirements Product Specification for Room Air Conditioners Version 4.0 |  |
| 2 | automatic and semi-automatic washers | 1 | All Parameters | Uniform Test Method for Measuring the Energy Consumption of Automatic and Semi-Automatic Clothes Washers10 CFR 430, Subpart B, Appendix J2 |  |
|  |  | 2 | All Parameters | ENERGY STAR Program Requirements for Clothes WashersENERGY STAR Program Requirements Product Specification for Clothes Washers Version 7.1 |  |
| 3 | household refrigerators | 1 | All Parameters | Energy and Internal Volume of Refrigerating AppliancesANSI/AHAM HRF-1-2008 |  |
| 4 | Electric Refrigerators and Electric Refrigerator-Freezers | 1 | All Parameters | Measuring the Energy Consumption of Electric Refrigerators and Electric Refrigerator-Freezers10 CFR 430, Subpart B, Appendix A |  |
| 5 | Freezers | 1 | All Parameters | Uniform Test Method for Measuring the Energy Consumption of Freezers10 CFR 430, Subpart B, Appendix B |  |
| 6 | Residential Refrigerators and Freezers | 1 | All Parameters | ENERGY STAR Program Requirements for Residential Refrigerators and FreezersENERGY STAR Program Requirements Product Specification for Residential Refrigerators and Freezers Version 5.0 |  |
| 7 | Residential Dishwashers | 1 | All Parameters | UNIFORM TEST METHOD FOR MEASURINGTHE ENERGY CONSUMPTIONOF DISHWASHERS 10 CFR 430, Subpart B, Appendix C1 |  |
|  |  | 2 | All Parameters | ENERGY STAR Program Requirements ENERGY STAR Program Requirements V6.0 |  |
|  |  | 3 | All Parameters | Household Electric DishwashersANSI/AHAM DW-1 - 2010 |  |