## 第一章
编号 | ISO/IEC 17011:2017 FDIS条款号 | 内容 | 对应ISO/IEC 17011:2004条款号
1 | 前言 | 全部 | 前言 | 重写
2 | 引言 | 全部 | 引言 | 重写
3 | 1 | This document specifies requirements for the competence, consistent operation and impartiality of accreditation bodies assessing and accrediting conformity assessment bodies. NOTE In the context of this document, activities covered by accreditation include, but are not limited to, testing, calibration, inspection, certification of management systems, persons, products, processes and services, provision of proficiency testing, production of reference materials, validation and verification. 本文件对评审和认可合格评定机构的认可机构提出了能力、一致性运作及公正性方面的要求。 注： 本文件中合格评定机构的活动包括但不限于检测、校准、检验、管理体系认证、人员认证、产品认证、过程认证、服务认证、能力验证提供、标准物质生产、确认与核查。 | 1 | 改写

## 第二章
编号 | ISO/IEC 17011:2017 FDIS条款号 | 内容 | 对应ISO/IEC 17011:2004条款号 | 备注
1 | 2 | The following documents are referred to in the text in such a way that some or all of their content constitutes requirements of this document. For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments) applies. ISO/IEC 17000, Conformity assessment — Vocabulary and general principles 下列文件中的条款通过本标准的引用而成为本标准的条款。凡是注明日期的引用文件，仅注明的版本适用于本标准。凡是不注日期的引用文件，其最新版本（包括任何修改单）适用于本标准。 GB/T 27000 合格评定——词汇和通用原则 | 2 | 改写（编辑性）并删除ISO 9000和VIM

## 第三章
编号 | ISO/IEC 17011:2017 FDIS条款号 | 内容 | 对应ISO/IEC 17011:2004条款号 | 备注
1 | 第一句话 | For the purposes of this document, the terms and definitions given in ISO/IEC 17000 and the following apply ISO and IEC maintain terminological databases for use in standardization at the following addresses: — ISO Online browsing platform: available at https:// www .iso .org/ obp — IEC Electropedia: available at http:// www .electropedia .org/ 下列术语和定义以及GB/T 27000中确立的术语和定义适用于本标准。 ISO与IEC的标准化领域词汇数据库请见以下网址： --ISO线上浏览平台：https:// www .iso .org/ obp --IEC 电工百科：www .electropedia .org/ | 第一句话 | 增加网址
2 | 3.5 | conformity assessment activity activity conducted by a conformity assessment body (3.4) when assessing conformity Note 1 to entry: In the context of this document, activities covered by accreditation (3.1) include, but are not limited to, testing, calibration, inspection, certification of management systems, persons, products, processes and services, provision of proficiency testing, production of reference materials, validation and verification. For simplicity, these are referred to as conformity assessment activities being performed by conformity assessment bodies. 合格评定活动 合格评定机构评价符合性时实施的活动 注：在本文中，认可覆盖的活动包括但不限于：检测、校准、检验、管理体系认证、人员认证、产品认证、过程认证、服务认证、能力验证提供、标准物质生产、确认与核查。简单起见，将这些称为合格评定机构实施的合格评定活动。 | 无 | 新增
3 | 3.6 | scope of accreditation specific conformity assessment activities for which accreditation (3.1) is sought or has been granted 认可范围 寻求认可或已获得认可（3.1）的特定合格评定活动。 | 3.17 | 更改
4 | 3.7 | flexible scope of accreditation scope of accreditation (3.6) expressed to allow conformity assessment bodies to make changes in methodology and other parameters which fall within the competence of the conformity assessment body (3.4) as confirmed by the accreditation body (3.2) 弹性认可范围 认可范围（3.6）的表述允许合格评定机构（3.4）在认可机构（3.2）确认的能力上改变方法及其他参数 | 无 | 新增
5 | 3.8 | accreditation scheme rules and processes relating to the accreditation (3.1) of conformity assessment bodies to which the same requirements apply Note 1 to entry: Accreditation scheme requirements include, but are not limited to, ISO/IEC 17020, ISO/IEC 17021, ISO/IEC 17025, ISO/IEC 17024, ISO 17034, ISO/IEC 17043, ISO/IEC 17065, ISO 15189 and ISO 14065. 认可方案 有关合格评定机构认可的规则和程序，这些规则和程序适用相同的要求 注1：认可方案要求包括但不限于：ISO/IEC 17020, ISO/IEC 17021, ISO/IEC 17025, ISO/IEC 17024, ISO 17034, ISO/IEC 17043 , ISO/IEC 17065, ISO 15189 和 ISO 14065 | 无 | 新增
6 | 3.9 | accreditation activity individual operational tasks of the accreditation process (3.11) Note 1 to entry: See Clause 7. 认可活动 认可过程中的单个操作性任务(3.11) Note 1 to entry: See Clause 7 | 无 | 新增
7 | 3.10 | impartiality presence of objectivity Note 1 to entry: Objectivity means that conflicts of interest do not exist, or are resolved so as not to adversely influence subsequent activities of the accreditation body (3.2). Note 2 to entry: Other terms that are useful in conveying the element of impartiality include “independence”, “freedom from conflict of interests”, “freedom from bias”, “lack of prejudice”, “neutrality”, “fairness”, “open-mindedness”, “even-handedness”, “detachment”, “balance”. [SOURCE: ISO/IEC 17021‑1:2015, 3.2, modified — The words “certification body” have been replaced by “accreditation body” in Note 1 to entry.] 公正性 客观性的存在 注1： 客观性意味着利益冲突不存在或已解决，不会对认可机构的后续活动产生不利影响； 注2：其他可用于表示公正性要素的术语有：独立、无利益冲突、没有成见、没有偏见、中立、公平、思想开明、不偏不倚、不受他人影响、平衡。 【来源：ISO/IEC 17021 1:2015, 3.2, 修改—注1中的“认证机构”用“认可机构”替代】 | 无 | 新增
8 | 3.11 | accreditation process activities from application through to granting and maintenance of accreditation (3.1) as defined by the accreditation scheme (3.8) 认可过程 认可方案（3.8）规定的，从申请认可到授予和保持认可（3.1）的所有活动 | 无 | 新增
9 | 3.12 | accreditation symbol symbol issued by an accreditation body (3.2) to be used by accredited conformity assessment bodies to indicate they are accredited 认可标识 由认可机构（3.2）颁发，供已认可合格评定机构使用的，表示其已获得认可的标识 | 3.5 | 更改，删除关于Mark的注
10 | 3.13 | accreditation decision decision on granting, maintaining, extending, reducing, suspending and withdrawing of accreditation (3.1) 认可决定 批准、保持、扩大、缩小、暂停及撤销认可的决定 | 无 | 新增
11 | 3.14 | granting of accreditation awarding accreditation (3.1) for a defined scope of accreditation (3.6) 授予认可 对确定的认可(3.6)范围授予认可(3.1) | 无 | 新增
12 | 3.15 | maintaining of accreditation confirming the continuance of accreditation (3.1) for a defined scope 保持认可 对确定的认可范围确认认可可以持续 | 无 | 新增
13 | 3.16 | extending of accreditation adding conformity assessment activities to the scope of accreditation 扩大认可 在认可范围中增加合格评定活动 | 3.13 | 更改
14 | 3.17 | reducing of accreditation cancelling part of the scope of accreditation (3.6) 缩小认可 取消部分认可范围(3.6) | 3.16 | 更改
15 | 3.18 | suspending of accreditation putting temporary restrictions in place for all or part of the scope of accreditation (3.6) 暂停认可 临时对全部或部分认可范围(3.6)进行限制。 | 3.19 | 更改
16 | 3.19 | withdrawing of accreditation cancelling accreditation (3.1) for the full scope 撤销认可 取消全部认可(3.1)范围。 | 3.20 | 更改
17 | 3.21 | appeal request by a conformity assessment body (3.4) for reconsideration of any adverse accreditation decision (3.13) related to its desired accreditation (3.1) status 申诉 合格评定机构（3.4）就与其期望的认可（3.1）状态有关的不利认可决定（3.13）向认可机构提出重新考虑的请求 | 3.6 | 更改
18 | 3.22 | assessment process undertaken by an accreditation body (3.2) to determine the competence of a conformity assessment body (3.4), based on standard(s) and/or other normative documents and for a defined scope of accreditation (3.6) 评审 基于确定的认可范围（3.6），认可机构（3.2）依据标准和/或其他规范性文件确定合格评定机构（3.4）能力的过程 | 3.7 | assess 改为 determine,删除注
19 | 3.23 | reassessment assessment (3.22) performed to renew the accreditation (3.1) cycle 复评 为更新认可(3.1)周期而实施的评审(3.22) | 无 | 新增
20 | 3.24 | assessment technique method used by an accreditation body (3.2) to perform an assessment (3.22) Note 1 to entry: Assessment techniques, can include, but are not limited to: — on-site assessment; — remote assessment (3.26); — witnessing (3.25); — document review; — file review; — measurement audits; — review of performance in proficiency testing and other interlaboratory comparisons; — validation audits; — unannounced visits; — interviewing. 评审技术 认可机构（3.2）实施评审（3.22）所使用的方法。 注：评审技术包括但并不限于： --现场评审, --远程评审（3.26）, --见证（3.25）, --文件评审, --档案评审, --测量审核, --对能力验证或其他室间比对表现的评审, --确认审核, --不通知的检查， --面谈。 | 无 | 新增
21 | 3.25 | witnessing observation by the accreditation body (3.2) of a conformity assessment body (3.4) carrying out conformity assessment activities within its scope of accreditation (3.6) 见证 认可机构（3.2）对合格评定机构（3.4）在其认可范围（3.6）内实施合格评定活动的观察。 | 3.21 | 更改（增加 by the AB，无实质性变化）
22 | 3.26 | remote assessment assessment (3.22) of the physical location or virtual site of a conformity assessment body (3.4), using electronic means Note 1 to entry: A virtual site is an online environment allowing persons to execute processes, e.g. in a cloud environment. 远程评审 使用电子手段对合格评定机构(3.4)的物理或虚拟场所进行的评审(3.22)。 注1：虚拟场所是指允许人员在线实施过程的联机环境，例如云环境。 | 无 | 新增
23 | 3.27 | assessment programme set of assessments (3.22) consistent with a specific accreditation scheme (3.8) that the accreditation body (3.2) performs on a specific conformity assessment body (3.4) during an accreditation (3.1) cycle 评审方案 依据特定的认可方案(3.8)，认可机构对特定合格评定机构(3.4)在一个认可(3.1)周期内实施的一系列评审(3.22)。 | 无 | 新增
24 | 3.28 | assessment plan description of the activities and arrangements for an assessment (3.22) [SOURCE: ISO 19011:2011, 3.15, modified — The word “audit” has been replaced by “assessment”.] 评审计划 对评审活动和安排的描述 [来源： GB/T 19011：2013 3.15 修改—用“评审”代替“审核”] | 无 | 新增
25 | 3.29 | accreditation body personnel internal or external individuals carrying out activities on behalf of the accreditation body (3.2) 认可机构人员 代表认可机构（3.2）实施活动的内部或外部人员。 | 无 | 新增
26 | 3.31 | team leader assessor (3.30) who is given the overall responsibility for the management of an assessment (3.22) 评审组长 对某项评审（3.22）的管理全面负责的评审员（3.30） | 3.15 | 更改
27 | 3.32 | technical expert person assigned by an accreditation body (3.2), working under the responsibility of an assessor (3.30), who provides specific knowledge or expertise with respect to the scope of accreditation (3.6) to be assessed and does not assess independently Note 1 to entry: A technical expert is not expected to have assessor qualifications and training. 技术专家 认可机构（3.2）指派的，并在评审员（3.30）的负责下就被评审的认可（3.6）范围提供专门知识与技能的人员，技术专家不独立实施评审。 注1：技术专家不需具有评审员资格或参加过评审员培训 | 3.12 | 更改
28 | 3.33 | interested party person or organization with a direct or indirect interest in accreditation (3.1) Note 1 to entry: Direct interest refers to the interest of those who undergo accreditation; indirect interest refers to the interests of those who use or rely on accredited conformity assessment bodies. Note 2 to entry: Interested parties can include the accreditation body (3.2), conformity assessment bodies, their associations and their clients, industry services, trade associations, scheme owners, governmental regulatory bodies or other governmental services, or non-governmental organizations, including consumer organizations. 利益相关方 与认可（3.1）有直接或间接利益关系的人员或组织 注1：直接利益指被认可方的利益；间接利益指使用或依赖已认可的合格评定机构的各方的利益。 注2: 相关方可包括：认可机构（3.2）、合格评定机构、合格评定机构的联盟及客户、行业机构、贸易联盟、方案所有者、政府监管机构或其他政府机构及包括顾客组织在内的非政府组织。 | 3.14 | 更改，增加注
29 | 3.34 | consultancy participation in any of the activities of a conformity assessment body (3.4) subject to accreditation (3.1) EXAMPLE 1 Preparing or producing manuals or procedures for a conformity assessment body. EXAMPLE 2 Participating in the operation or management of a conformity assessment body. EXAMPLE 3 Giving specific advice or specific training towards the development and implementation of the management system, operational procedures and/or competence of a conformity assessment body. 咨询 参与合格评定机构(3.4)以获得认可(3.1)为目的的任何活动 示例1： 为合格评定机构准备或编制手册或程序； 示例2： 参与合格评定机构的运行或管理； 示例3： 就某个合格评定机构管理体系的建立与实施、运作程序的制订与实施和（或）能力的开发与运用提供特定的建议或培训； | 3.11 | 更改（编辑性）

## 第四章
编号 | ISO/IEC 17011:2017 FDIS条款号 | 内容 | 对应ISO/IEC 17011:2004条款号 | 备注
1 | 4.1 | 4.1Legal entity The accreditation body shall be a legal entity, or a defined part of a legal entity such that it is legally responsible for its accreditation activities. NOTE 1 Governmental accreditation bodies are deemed to be legal entities on the basis of their status within their government. NOTE 2 An accreditation body that is part of a larger body can operate under a different name. 4.1 法律实体 认可机构应为法律实体，或某法律实体内有明确界定的一部分，该法律实体能够对其认可活动承担法律责任。 注1： 政府认可机构因其政府身份而被视为法律实体。 注2： 如果认可机构是某机构的一部分， 该认可机构可使用不同于其所属机构的名称运作。 | 4.1 | 更改
2 | 4.2 | 4.2Accreditation agreement The accreditation body shall establish a legally enforceable arrangement with each conformity assessment body that requires the conformity assessment body to conform to at least the following: a)to commit to fulfil continually the requirements for accreditation for the scope for which accreditation is sought or granted and to commit to provide evidence of fulfilment. This includes agreement to adapt to changes in the requirements for accreditation; b)to cooperate as is necessary to enable the accreditation body to verify fulfilment of requirements for accreditation; c)to provide access to conformity assessment body personnel, locations, equipment, information, documents and records as necessary to verify fulfilment of requirements for accreditation; d)to arrange the witnessing of conformity assessment activities when requested by the accreditation body; e)to have, where applicable, legally enforceable arrangements with their clients that commit the clients to provide, on request, access to accreditation body assessment teams to assess the conformity assessment body's performance when carrying out conformity assessment activities at the client’s site; f)to claim accreditation only with respect to the scope for which it has been granted; g)to commit to follow the accreditation body's policy for the use of the accreditation symbol; h)not to use its accreditation in such a manner as to bring the accreditation body into disrepute; i)to inform the accreditation body without delay of significant changes relevant to its accreditation; NOTE such changes can concern: - its legal, commercial, ownership or organizational status, - the organization, top management and key personnel, - resources and location(s) - scope of accreditation, - other matters that can affect the ability of the conformity assessment body to fulfil requirements for accreditation; j)to pay fees as determined by the accreditation body; and k)to assist in the investigation and resolution of any accreditation-related complaints about the conformity assessment body referred to it by the accreditation body. 4.2 认可协议 认可机构应与每家合格评定机构签订具有法律效力的协议 ，要求合格评定机构至少满足以下要求： a) 承诺在申请认可或已获认可的范围内持续符合认可要求并提供符合要求的证据，包括同意在认可要求变更时做出相应的调整； b) 必要时，配合认可机构验证其满足认可要求的情况； c) 为验证认可要求的满足情况提供所需的渠道，包括合格评定机构人员、场所、设备、信息、文件和记录； d)按照认可机构的要求安排合格评定活动的见证; e) 适用时，与客户签订具有法律效力的协议，要求客户承诺在认可机构有要求时，允许认可机构的评审组进入客户场所评审合格评定机构实施合格评定活动的表现; f) 仅就已获得的认可范围申明认可资格; g) 承诺遵守认可机构有关认可标识使用的政策； h) 不应以有损认可机构声誉的方式使用其认可资格； i) 将与认可相关的重大变化及时通知认可机构： 注：此类变化可涉及： -其法律、商业、所有权或组织方面的状况， -组织结构、最高管理者和关键人员, -资源和场所, -认可范围, -可能影响合格评定机构满足认可要求的能力的其他事宜; j) 支付认可机构所规定的费用； k) 协助调查和处理由认可机构移交的与认可相关的投诉。 | 8.1.1 | 新增和改写
3 | 4.3.1 | 4.3.1 The accreditation body shall take measures to ensure that the accredited conformity assessment body: a)fully conforms with the requirements of the accreditation body for claiming accreditation status, when making reference to its accreditation in communication media; b)does not make any misleading or unauthorized statement regarding its accreditation; c)upon withdrawal of its accreditation, discontinues its use of any reference to that accreditation; d)does not refer to its accreditation in a way so as to imply that a product, process, service, management system or person is approved by the accreditation body; and e)informs its affected clients of the suspension, reduction or withdrawal of its accreditation and the associated consequences without undue delay. 认可机构应采取措施，确保已获得认可的合格评定机构： a) 在传播媒介中引用认可资格时，完全符合认可机构对认可资格声明的要求; b) 不做具有误导性或未经授权的有关认可的声明 c) 认可被撤销后，停止使用任何该认可的引用； d) 引用认可资格时，不得暗示认可机构批准了某一产品、过程、服务、管理体系或人员； e) 及时将认可资格的暂停、缩小、撤销及相关后果告知其受影响的客户，不得有不当延误。 | 8.3.2 | 新增和改写
4 | 4.3.2 | 4.3.2When an accreditation body has an accreditation symbol, the accreditation body shall have the legal right to use it and the accreditation symbol shall be legally protected. 如果认可机构拥有认可标识，则应同时拥有使用该标识的法定权利， 认可标识应受法律保护。 | 无 | 新增
5 | 4.3.3 | 4.3.3The accreditation body shall have a documented policy governing the use of the accreditation symbol and claims of accreditation status. This policy shall specify as a minimum: a)requirements for the use and monitoring of the accreditation symbol in combination with any conformity assessment body mark; b)that the accreditation symbol is not affixed on its own or used to imply that a product, process or service (or any part of it) has been certified or approved by the accreditation body; c)requirements for reproduction of the accreditation symbol; d)requirements for any reference to accreditation; e)requirements for the use of the accreditation symbol and claims of accreditation status in communication media; f)that the conformity assessment body only uses the accreditation symbol and claims of accreditation status for the specific activities covered by the scope of accreditation. 认可机构应有认可标识使用与认可状态声明的管理政策，该政策应至少对以下方面进行规定： a) 对认可标识与合格评定标志的联合使用要求及监控要求； b) 认可标识不得在不附带其他内容的情况下加施， 其使用方式也不得暗示某产品、过程或服务（或部分产品、过程或服务）获得了认证或获得了认可机构的批准； c) 对复制认可标识的要求； d) 认可引用的要求； e) 在传播媒介上使用认可标识及声明认可状态的要求； f) 合格评定机构仅在认可范围覆盖的特定活动中使用认可标识及声明认可状态； | 8.3.1 | 前半句的改写和新增
6 | 4.3.5 | 4.3.5The accreditation body shall take suitable action to deal with incorrect or unauthorised claims of accreditation status, or misleading or unauthorised use of accreditation symbols and the accreditation body's logo. NOTE Suitable actions may include request for corrective action, suspension, withdrawal of accreditation, publication of the transgression and, if necessary, legal action. 若出现以下情况，认可机构应采取适当措施予以处理：错误声明认可状态、未经授权声明认可状态、未经授权使用认可标识或认可机构徽标、认可标识或认可机构徽标的使用产生误导。 注：适当措施可包括：要求采取纠正措施、暂停认可、撤销认可、公告违规行为， 必要时，采取法律措施。 | 8.3.3 | 改写
7 | 4.4.1 | 4.4.1Accreditation shall be undertaken impartially. 认可机构应公正地实施认可活动。 | 无 | 新增
8 | 4.4.2 | The accreditation body shall be responsible for the impartiality of its accreditation activities and shall not allow commercial, financial or other pressures to compromise impartiality. Where an accreditation body ,including a governmental accreditation body ,is part of a larger entity, the accreditation body shall be organised so that accreditation is provided impartially. 认可机构应对其认可活动的公正性负责，且不应允许来自商业、财务或其他方面的压力影响其公正性。当认可机构是更大的机构的一部分时（包括政府认可机构），认可机构的组织结构应确保认可公正。 | 无 | 新增
9 | 4.4.3 | 4.4.3The accreditation body shall have top management commitment to impartiality. It shall document and make public an impartiality policy which includes the importance of impartiality in carrying out its accreditation activities, managing conflict of interest and ensuring objectivity of its accreditation activities. 认可机构最高管理者应对公正性作出承诺。 认可机构应公开其公正性政策并将其形成文件，包括公正性对开展认可活动的重要性、利益冲突管理及确保认可活动的客观性。 | 无 | 新增
10 | 4.4.4 | 4.4.4The accreditation body shall require all personnel and committee members to disclose any potential conflict of interest whenever it may arise. 所有可能影响认可过程的认可机构人员和委员会均应客观地履行职责，且不应受到任何可能损害公正性的不正当的商业、财务和其他压力。认可机构应要求所有人员及委员会成员及时告知任何潜在的利益冲突。 |  | 4.4.4的后半句为新增
11 | 4.4.5 | 4.4.5The accreditation body shall document and implement a process to provide opportunity for effective involvement by interested parties for safeguarding impartiality. The accreditation body shall ensure a balanced representation of interested parties with no single party predominating. 为维护公正性，认可机构应建立并实施形成文件的程序，为利益相关方的有效参与提供机会。认可机构应确保利益相关方的代表均衡，任何一方不处于支配地位。 | 4.3.2 | 改写
12 | 4.4.6 | 4.4.6The accreditation body shall have a process to identify, analyse, evaluate, treat, monitor, and document on an ongoing basis the risks to impartiality arising from its activities including any conflicts arising from its relationships or from the relationships of its personnel. The process shall include identification of and consultation with appropriate interested parties as described in 4.4.5 to advise on matters affecting impartiality including openness and public perception. NOTE 1 Sources of risks to impartiality of the accreditation body can be based on ownership, governance, management, personnel, shared resources, finances, contracts, outsourcing, training, marketing and payment of a sales commission or other inducement for the referral of new clients, etc. NOTE 2 One way of fulfilling the consultation with the interested parties is by the use of a committee. 认可机构应有过程持续地识别、分析、评价、处理、监视其活动引发的对公正性的风险，并将此过程形成文件。公正性的风险包括认可机构及其人员的各种关系所引发的利益冲突。该过程应包括识别条款4.4.5中描述的适宜的利益相关方，并就影响公正性的事宜（包括公开性和公众意见）咨询利益相关方。 注1：对认可机构公正性的风险可能源自于所有权、治理结构、管理、人员、共享资源、财务、合同、外包、培训、营销以及支付销售佣金或其它引荐新客户的奖酬等。 注2：满足本条征询意见要求的一种方式是使用一个由这些利益相关方组成的委员会。 | 无 | 新增
13 | 4.4.7 | 4.4.7Where any risks to impartiality are identified, the accreditation body shall document and demonstrate how it eliminates or minimizes such risks and document any residual risk. The demonstration shall cover all potential risks that are identified, whether they arise from within the accreditation body or from the activities of other persons, bodies or organizations. 如果识别出公正性风险，认可机构应记录如何消除或最大限度减小这种风险并予以证实，同时记录残余风险。证实应包括识别出的所有潜在威胁，无论该威胁来自于认可机构内部还是其他组织、机构、或人员的活动。 | 无 | 新增
14 | 4.4.8 | 4.4.8Top management shall review any residual risk to determine if it is within the level of acceptable risk. 最高管理者应评估残余风险，确定其是否在可接受的限度内。 | 无 | 新增
15 | 4.4.9 | 4.4.9When an unacceptable risk to impartiality is identified and which cannot be mitigated to an acceptable level, then accreditation shall not be provided. 如果存在不可接受的公正性风险，且无法降低到可接受水平，则不应提供认可。 | 无 | 新增
16 | 4.4.10 | 4.4.10The accreditation body’s policies, processes and procedures shall be non-discriminatory and shall be applied in a non-discriminatory way. The accreditation body shall make its services accessible to all applicants whose application for accreditation falls within the scope of its accreditation activities as defined within its policies and rules. Access shall not be conditional upon the size of the applicant conformity assessment body or membership of any association or group, nor shall accreditation be conditional upon the number of conformity assessment bodies already accredited. NOTE It is not considered discriminatory when an accreditation body refuses services to a conformity assessment body because of proven evidence of fraudulent behaviour, falsification of information or deliberate violation of accreditation requirements. 认可机构的政策、过程和程序应是非歧视的，并应以非歧视的方式管理。在认可机构的政策和规则所限定的认可活动范围内，认可机构的服务应向所有认可申请人开放。认可机构不应以申请人的规模或是否具有某协会或集团的成员资格作为向其提供服务的限制条件，也不应以已认可的合格评定机构的数量作为认可的限制条件。 注：认可机构拒绝向某个合格评定机构提供服务的原因是有该合格评定机构存在欺诈行为、隐瞒信息或故意违反认可要求的确凿证据，， 则该拒绝不构成歧视。 | 4.3.3 | 改动加新增note
17 | 4.4.11 | 4.4.11The accreditation body and any part of the same legal entity shall not offer or provide any service that affects its impartiality, such as: a) conformity assessment activities covered by accreditation which include but are not limited to testing, calibration, inspection, certification of management systems, persons, products, processes and services, provision of proficiency testing, production of reference materials, validation and verification b) consultancy. 认可机构及相同法律实体内的任何部分不应提供任何影响其公正性的服务，如： a)认可覆盖的合格评定活动，包括但不限于检测、校准、检验、管理体系认证、人员、产品、过程、服务、能力验证提供、标准物质生产、确认与核查； b)咨询 | 4.3.6 | 改写
18 | 4.4.12 | 4.4.12In case the accreditation body is linked to a body offering consultancy or undertaking those conformity assessment activities mentioned in 4.4.11 bullet a), the accreditation body shall have: a)different top management (see clause 5.7); b)different personnel performing the accreditation decision-making processes (see clause 5); c)distinctly different name, logos and symbols; and d)effective mechanisms to prevent any influence on the outcome of any accreditation activity. 如果与认可机构有关联的机构提供咨询或实施本标准4.4.11 a)中提到的合格评定服务， 则认可机构应： a)有不同的最高管理者（见条款5.7） b)有不同的人员实施认可决定过程（见条款5）； c)有明显不同的名称、徽标和标识； d)防止影响认可活动结果的有效机制。 | 4.3.7 | 4.3.7前半段改写，新增（d）
19 | 4.4.13 | 4.4.13 The accreditation body’s activities shall not be presented as linked with consultancy or other services that pose an unacceptable risk to impartiality. Nothing shall be said or implied that would suggest that accreditation would be simpler, easier, faster or less expensive if any specified person(s) or consultancy were used. NOTE Accreditation bodies may carry out, for example, the following duties that are not considered a risk to impartiality: Arranging and participating as a lecturer in training, orientation or educational courses, provided that these courses confine themselves to the provision of generic information that is freely available in the public domain, i.e. they cannot provide specific solutions to a conformity assessment body in relation to the activities of that organization; Adding value during assessments, e.g. by identifying opportunities for improvement as they become evident during the assessment without recommending specific solutions; Advising other accreditation bodies on development of accreditation process; Advising scheme owners on accreditation requirements, including requirements within relevant conformity assessment standards. 认可机构的活动不应与咨询活动或其他可能为公正性带来不可接受的威胁的服务有联系。认可机构不应做出任何下述表示或暗示：如果使用某一特定的人员或咨询，认可会更简单、更容易、更迅速或更经济。 注: 认可机构可实施如下活动，这些活动不视为对公正性的风险：  组织或作为演讲者参与培训、宣贯、教育课程，前提是这些课程仅限于可公开获取的基本信息， 不能为某个合格评定机构提供针对该机构活动的具体解决方案；  在评审中提供增值服务，如在评审中识别明显的改进机会，但不能提供具体的解决建议；  为新认可机构提供关于认可过 程建立的建议；  为方案所有者提供有关认可要求（包括相关合格评定标准的要求）的建议。 | 4.3.6 | 改写4.3.6第二段并增加note
20 | 4.5.2 | 4.5.2The accreditation body shall evaluate the risks arising from its activities and have arrangements to cover liabilities arising from its activities. 认可机构应评估其活动引发的风险并对其活动引发的责任做出安排。 | 4.5.1 | 改写
21 | 4.6.1 | 4.6.1The accreditation body shall develop or adopt accreditation schemes. The accreditation body shall document the rules and processes for its accreditation schemes referring to the relevant International Standards and/or other normative documents. 认可机构应建立或采用认可方案。认可机构应将其依据相关国际标准或其他规范性文件开展的认可方案的规则和过程形成文件。 | 无 | 新增
22 | 4.6.2 | 4.6.2The accreditation body shall ensure that any guidance, application or normative documents it uses have been developed by committees or persons possessing the necessary competence and with participation of appropriate interested parties. These documents shall not contradict or exclude any of the requirements included in the relevant international standards and/or other normative documents. NOTE 1 Where international application or guidance documents are available, these can be used. NOTE 2 The accreditation body can adopt and/or develop application or guidance documents, normative documents and/or participate in their development. 认可机构应确保其指南性文件、应用性文件或规范性文件由具备必要能力的委员会或人员制订且有利益相关方的参与。此类文件不应与相关国际标准和（或）规范性文件的要求相冲突，也不应删除相关国际标准和（或）规范性文件的要求。 注1：如有国际应用性文件或指南性文件，则可以采用。 注2：认可机构可以采用和（或）制定应用性文件、指南性文件或规范性文件， 和（或）参与这些文件的制定。 | 4.6.2 | 改写，新增
23 | 4.6.3 | 4.6.3The accreditation body shall have a policy and documented procedures to determine the suitability of the conformity assessment schemes and standards for accreditation purposes. 认可机构应有政策和文件化的程序来确定合格评定方案及标准对于认可的适宜性。 | 无 | 新增
24 | 4.6.4 | 4.6.4The accreditation body shall establish, document, implement, and maintain a process for developing and extending its accreditation schemes. The following shall be considered: a)feasibility of launching or extending an accreditation scheme; b)analysis of its present competence and resources; c)accessing and employing expertise; d)the need for application or guidance documents; e)training of accreditation body personnel; f)implementation or transition arrangements; and g)views of interested parties. 认可机构应为制定和扩大其认可方案建立、实施和保持一个过程，并将该过程形成文件。该过程应考虑包含以下内容： a)开始或扩大某认可方案的适宜性； b)分析现有能力和资源等； c)获取和运用专业知识与技能； d)评估对指南性文件的需求； e)培训认可机构人员; f)实施或转换安排 g)相关方意见 | 4.6.3 | 改写和新增（f、g)
25 | 4.6.5 | 4.6.5Before an accreditation body discontinues accreditation scheme in partor in full at least the following shall be considered: a)views of interested parties; b)contractual duties; c)transition arrangements; d) external communicationity regarding the discontinuation; and e) information published by the accreditation body. 认可机构完全或部分停止实施某项认可方案前，应至少考虑以下内容： a) 利益相关方意见； b) 合同责任； c) 转换安排； d) 关于停止的外部联络 e) 认可机构公布的信息 | 无 | 新增

## 第五章
编号 | ISO/IEC 17011:2017 FDIS 条款号 | 内容 | 对应ISO/IEC 17011:2004条款号 | 备注
1 | 5.1 | 5.1The accreditation body shall be structured and managed so as to safeguard impartiality.认可机构的组织结构和管理应确保公正性。 | 4.3.1 | 改写
2 | 5.2 | 5.2The accreditation body shall document its entire organizational structure, including lines of authority and responsibility.认可机构应将其整体组织结构形成文件，包括权限与责任的层次和关系。 | 4.2.8 | 只增加“organization”一词
3 | 5.3 | 5.3 If the accreditation body is part of a larger entity, the accreditation body shall be identified.如果认可机构是更大实体的一部分，认可机构应得到识别。 | 无 | 新增
4 | 5.5 | 5.5The accreditation body shall have authority and be responsible for its accreditation decisions which shall not be subject to approval by any other organization or person. 认可机构应有认可决定的权力并对认可决定负责，认可决定不应由其他组织或人员批准。 | 无 | 新增
5 | 5.6 | 5.6The accreditation body shall document the duties, responsibilities and authorities of top management and other personnel associated with the accreditation body who are involved in the accreditation process. 认可机构应将最高管理者及参与认可过程的人员的职责和权限形成文件。 | 4.2.4 | 改写
6 | 5.7 | b)supervision of the implementation of the policies, processes and procedures; d)development or adoption of activities for the schemes for which it provides accreditation; f)performance of assessments and accreditation processes; g)responding to complaints and appeals in a timely manner; i)provision of adequate resources; k)safeguarding of impartiality. b) 政策、过程和程序实施的监督 d) 为其提供认可的方案制定或采用的活动； f) 评审及认可过程的实施 g) 对投诉和申诉的及时回应 i) 充分的资源供给 k) 公正性的维护 | 无 | 新增
7 | 5.8 | 5.8 The accreditation body shall have formal rules for the appointment, terms of reference and operation of committees that are involved in the accreditation process, and shall identify the interested parties participating.对参与认可过程的委员会, 认可机构应有其任命、权限和运作的正式规则，并应明确参加委员会的利益相关方。 | 4.2.7 | 增加“interested ”

## 第六章
编号 | ISO/IEC 17011:2017 FDIS 条款号 | 内容 | 对应ISO/IEC 17011:2004条款号 | 备注
1 | 6.1 | 全部 | 无 | 新增
2 | 6.1.3.5 | The accreditation body shall monitor each assessor considering each accreditation scheme for which the assessor is authorized. The documented monitoring process of assessors shall include a combination of on-site evaluation, review of assessment reports and feedback from personnel, conformity assessment bodies or from other interested parties. 针对每一认可方案，认可机构应监视每位获得授权的评审员的表现。评审员的监视过程应形成文件，并结合现场评价、评审报告复核以及来自人员、合格评定机构或其他利益相关方的反馈的方式进行。 | 6.3.2 | 改写
3 | 6.1.3.6 | Each assessor shall be observed during an assessment at regular intervals. This shall be at least every three years, unless there is sufficient supporting evidence that the assessor is continuing to perform competently. If the interval is extended, justification shall be made. 认可机构应定期观察每位评审员的现场评审。每位评审员的现场观察应至少每三年实施一次， 除非有足够证据表明其持续具备能力。如果该期限延长，认可机构应提供适当的理由。 | 6.3.2 | 改写
4 | 6.2 | 全部 | 6.2 | 改写和新增
5 | 6.3 | 6.3Personnel records The accreditation body shall maintain records, including qualifications, training, competence, results of monitoring, experience, professional status and professional affiliations for personnel managing or performing accreditation activities. 认可机构应保持管理及实施认可的人员记录，包括相关的资格，培训，能力，监视结果，经历，专业资格和学术团体的成员资格。 | 6.4.1 | 改写
6 | 6.4 | 全部 | 7.4 | 改写和新增

## 第七章
编号 | ISO/IEC 17011:2017 FDIS 条款号 | 内容 | 对应ISO/IEC 17011:2004条款号 | 备注
1 | 7.1 | 7.1Accreditation requirements 认可要求 The general requirements for accreditation of conformity assessment bodies shall be those set out in the relevant International Standards and/or other normative documents for the operation of conformity assessment bodies. 用于对合格评定机构进行认可的通用要求应根据合格评定机构运作有关的国际标准和/或其他规范性文件制定。 | 7.1.1 | 改写
2 | 7.2.1 | b)general information concerning the conformity assessment body such as its relationship in a larger entity if any, addresses of all its physical location(s) and, information on activities conducted at all locations including virtual site(s);合格评定机构的基本信息，如：当其是更大法律实体的一部分时，两者的关系；申请认可范围覆盖的所有实体场所的地址；在包括虚拟场所在内的所有场所开展的活动信息； c)a clearly defined scope of accreditation as defined in 7.8.3 for which the conformity assessment body seeks accreditation, including limits of capability where applicable; 条款7.8.3规定的界定清晰的合格评定机构申请认可范围，适用时，包括能力限制范围； d)a commitment to continually fulfil the requirements for accreditation and the other obligations of the conformity assessment body.持续满足认可要求和履行合格评定机构义务的承诺。 | 7.2.1 | b)、c)、d)改写
3 | 7.2.2 | 7.2.2The accreditation body shall require the applicant conformity assessment body to provide information demonstrating that the accreditation requirements are addressed prior to commencement of the assessment. 评审开始前，认可机构应要求申请认可的合格评定机构提供覆盖认可要求的信息。 | 7.2.2 | 改写
4 | 7.2.3 | 7.2.3The accreditation body shall review the information supplied by the conformity assessment body to determine the suitability of the application for accreditation to initiate an assessment. 认可机构应审查合格评定机构所提供的信息，以确定该认可申请是否适宜进入评审阶段。 At any point in the application or initial assessment process, if there is evidence of fraudulent behaviour, if the conformity assessment body intentionally provides false information or if the conformity assessment body conceals information, the accreditation body shall reject the application or terminate the assessment process.在认可申请或初始评审的任何节点，如果有证据表明合格评定机构存在欺诈行为、故意提供虚假信息或隐藏信息，则认可机构应拒绝申请或终止评审过程。 | 7.2.3 | 改写/新增
5 | 7.2.4 | 7.2.4Where the accreditation body conducts a preliminary visit before the initial assessment, it shall be conducted with the agreement of the conformity assessment body. The accreditation body shall have clear rules for the conduct of preliminary visits and shall exercise due care to avoid consultancy. 如果认可机构在初始评审前实施预访问，应获得合格评定机构的同意。认可机构应有明确规则规定预访问的实施并注意避免提供咨询。 | 7.5.1 | 改写
6 | 7.3.1 | 7.3.1The accreditation body shall review its ability to carry out the assessment of the applicant conformity assessment body, in terms of its own policy and procedures, its competence and the availability of personnel suitable for the assessment activities and decision making.认可机构应从自身政策和程序、具备的能力以及是否有适用的参与评审及认可决定的人员等方面来评估其对申请的合格评定机构实施评审的能力。 | 7.3.1 | 改写
7 | 7.3.2 | 7.3.2The review shall also include the ability of the accreditation body to carry out the initial assessment in a timely manner. Where the initial assessment cannot be conducted in a timely manner, this shall be communicated to the conformity assessment body.资源评估还应评估认可机构及时实施初次评审的能力。初次评审不能及时进行时，应通知合格评定机构。 | 7.3.2 | 后半句为新增
8 | 7.4.1 | The accreditation body shall appoint an assessment team consisting of a team leader and, where required, a suitable number of assessors and/or technical experts for the scope to be assessed. When selecting the assessment team, the accreditation body shall ensure that the expertise brought to each assessment is appropriate. In particular, the team as a whole: a) shall have appropriate knowledge of the specific scope of accreditation; b) shall have understanding sufficient to make a reliable assessment of the competence of the conformity assessment body to operate within its scope of accreditation. 认可机构应根据拟评审的范围指派一个评审组，评审组应由一名评审组长和根据需要确定的、数量适当的评审员和（或）专家组成。在选择评审组时，认可机构应确保为每次评审所选择的评审组具备适当的专业知识与技能。评审组作为一个整体，尤其应： a）在申请认可的特定认可范围内具有相应的知识； b）有足够的理解力，能够对合格评定机构在认可范围内的运作能力实施可靠的评审。 | 7.5.2 | 稍微改动
9 | 7.4.4 | 7.4.4The accreditation body shall establish documented procedures to assess the competence of a conformity assessment body to perform all activities in its scope of accreditation irrespective of where these activities are performed. These procedures shall describe the manner in which the scope of an applicant or an accredited conformity assessment body is covered through the use of a combination of on-site assessments and other assessment techniques sufficient to provide confidence in the conformance with the relevant accreditation criteria. 认可机构应建立文件化的程序，对合格评定机构在其认可范围内实施的所有活动的能力进行评审，无论这些活动在何处实施。这些程序应说明如何通过使用现场评审与其他-评审技术相结合的方式，为申请认可和已认可的合格评定机构在其认可范围内符合相关认可准则提供足够的信心。 | 无 | 新增
10 | 7.4.5 | 7.4.5The procedures shall ensure that the assessment team assesses the performance of a sample of the conformity assessment activities representative of the scope of accreditation. The assessment shall cover a sample of locations and personnel to determine the competence of the conformity assessment body to perform the activities covered by its scope of accreditation.该程序还应确保评审组对范围内有代表性的合格评定活动样本进行评审，评审中应抽取足够数量的地点和人员样本，以确定合格评定机构在其认可范围内开展活动的能力。 | 7.5.6 | 改写
11 | 7.4.6 | 7.4.6In selecting the activities to be assessed the accreditation body shall consider the risk associated with the activities, locations and personnel covered by the scope of accreditation.以上活动的选择，认可机构应考虑认可范围覆盖的活动、场所和人员带来的风险。 | 无 | 新增
12 | 7.4.7 | 7.4.7 The accreditation body shall develop an assessment plan to cover the activities to be assessed, the locations at which activities will be assessed, the personnel to be assessed where applicable and the assessment techniques to be utilized including witnessing where appropriate or applicable. The accreditation body shall justify where witnessing is not appropriate or applicable.认可机构应制定评审计划，以覆盖拟评审的活动，活动所涉及的场所，适用时拟被评审的人员和拟利用的评审技术。适宜时或适用时，认可机构应考虑进行见证。认可机构应对见证不适宜或不适用的情况给出正当理由。 | 无 | 新增
13 | 7.4.8 | 7.4.8 The accreditation body shall confirm with the conformity assessment body the date(s) and plan for the assessment. 认可机构应就评审日期和计划与合格评定机构及指派的评审组达成一致。 | 7.5.9 | 个别用词变动
14 | 7.4.9 | 7.4.9 The accreditation body shall ensure that the assessment team is provided with the appropriate requirements documents, previous assessment records if applicable, and the relevant documents and records of the conformity assessment body.认可机构应确保评审组获得适当的要求文件、以往评审的记录（适用时）及合格评定机构的相关文件和记录。 | 7.5.10 | 改写
15 | 7.5.2 | 7.5.2The accreditation body can decide not to proceed with further assessment based on the review of the documented information. In such cases, the results with their justification shall be reported in writing to the conformity assessment body. 认可机构根据文件化信息的审查情况，可以决定不实施后续的评审。在此情况下，认可机构应将结果和理由书面通报合格评定机构。 | 7.6.2 | 改动
16 | 7.6.1 | 7.6.1The accreditation body shall have documented procedures for describing the assessment techniques used, the circumstances in which they are to be used and the rules for determining assessment durations. The procedures shall include how the accreditation body will report the assessment findings to the conformity assessment body.认可机构应有形成文件的程序描述使用的评审技术、评审技术的使用条件和评审时间确定的规则。该程序还应包括认可机构如何向合格评定机构报告评审发现。 | 无 | 新增
17 | 7.6.2 | 7.6.2For an assessment whether performed on-site or remotely, the assessment team shall commence the assessment with an opening meeting at which the purpose of the assessment and accreditation requirements are clearly defined, and the assessment plan as well as the scope for the assessment are confirmed.无论现场评审还是远程评审，评审组均应以首次会议开始评审。首次会议上应明确评审目的和认可要求，确认评审计划和评审范围。 | 7.7.1 | 改动
18 | 7.6.3 | 7.6.3The assessment team shall conduct the assessment based on the assessment plan.评审组应根据评审计划开展评审。 | 无 | 新增
19 | 7.6.4 | 7.6.4The assessment team shall analyse all relevant information and objective evidence gathered prior to and during the assessment to determine the competence of the conformity assessment body as determined throuth its conformance with the requirements for accreditation. 评审组应分析在现场评审前和现场评审中收集的所有相关信息和客观证据，以通过确认合格评定机构与认可相关要求的符合性确认其能力。 | 7.8.1 | 改动
20 | 7.6.6 | 7.6.6The accreditation body’s documented reporting procedures shall require the following.认可机构文件化的报告程序应规定下列要求： a)For an assessment, whether performed on-site or remotely, a meeting shall take place between the assessment team and the conformity assessment body at the end of the assessment. At this meeting, the assessment team shall report on the findings identified during the assessment and detail in writing any nonconformities. An opportunity shall be provided for the conformity assessment body to seek clarification on the findings including the nonconformities, if any, and their basis; 对于现场评审或远程评审，评审组在评审结束后应与合格评定机构召开会议，报告评审发现，以书面形式陈述所有不符合项，并应给予合格评定机构就评审发现（包括不符合）及其依据澄清的机会。 b)a written report on the outcome of the assessment shall be provided to the conformity assessment body without undue delay and within a defined timeframe. This assessment report shall contain comments on competence as determined through conformity, the scope assessed and shall identify nonconformities, if any, to be resolved in order to conform to all of the requirements for accreditation. Comments on competence as determined through conformity included in the assessment report shall be adequate to support the conclusions arising from the assessment. The team’s observations on areas for possible improvement may also be presented to the conformity assessment body but shall not recommend specific solutions; 认可机构应在规定时限内向合格评定机构提供关于评审结果的书面评审报告，不得有不当延误。该报告应包括对能力的评价意见以及所评审范围，还应明确为满足所有认可要求而需要解决的不符合（如有）。评审报告中的对能力评价的意见应能足以支持评审结论。评审组在某些方面提出的可能的改进建议也可提交给合格评定机构，但不应给出具体的解决方案。 c)if the report on the outcome of the assessment [See bullet b) above] differs from the outcome delivered at the close of the assessment [See bullet a) above], the accreditation body shall provide an explanation to the assessed conformity assessment body, in writing.如果有关评审结果的报告（见b）与评审结束时提供的结果[见a）] 不一致，认可机构应向被评审的合格评定机构做出书面解释。 | 7.8.3 | 改动
21 | 7.6.7 | 7.6.7The accreditation body shall be responsible for the content of all of its assessment reports.认可机构应对评审报告的所有内容负责。 | 7.8.4 | 改动
22 | 7.6.8 | 7.6.8When nonconformities are identified, the accreditation body shall define time limits for correction and/or corrective actions to be implemented. The accreditation body shall require the conformity assessment body to provide an analysis of the extent and cause (e.g. root cause analysis) of the nonconformities and to describe within a defined time the specific actions taken or planned to be taken to resolve the nonconformities.当识别出不符合，认可机构应规定采取纠正或纠正措施的时限。认可机构应要求合格评定机构对不符合项的程度及原因进行分析（如：根本原因分析），并说明在规定时间内为解决已识别的不符合采取或计划采取的特定措施。 | 无 | 新增
23 | 7.7.1 | 7.7.1The accreditation body shall describe its process for all types of accreditation decisions. 认可机构应对所有类型的认可决定过程做出描述。 | 无 | 新增
24 | 7.7.2 | 7.7.2The accreditation body shall ensure that each decision on granting, maintaining, extending, reducing, suspending and withdrawing of accreditation is taken by competent person(s) or committee(s) differentfrom those who carried out the assessment. However, where maintaining is not related to a reassessment (see 7.9.4) and there is no modification to the scope, or where the reduction, suspension or withdrawal is requested by the conformity assessment body, then the accreditation body can implement a process which does not require an independentdecision.认可机构应确保每项批准、保持、扩大、缩小、暂停或撤销的认可决定由具备能力的且未参与评审的人员或委员会做出。如果保持不涉及复评（见7.9.4）且不涉及修改范围，或合格评定机构主动要求缩小、暂停或撤销，认可机构可实施不包含独立认可决定过程。 | 4.3.5 | 4.3.5的改写与新增
25 | 7.7.3 | c)name(s) of the assessor(s) and if applicable technical expert(s) involved in the assessment;参加评审的评审员和（适用时）专家的姓名； h)sufficient information to demonstrate the satisfactory response to all nonconformities;能够证明所有不符合得到满意回应的足够信息； i)where relevant, any further information that may assist in determining the competence of the conformity assessment body as determined through conformity with requirements;相关时，任何有助于通过确定合格评定机构要求满足情况确认其能力的进一步信息； j)where appropriate, a recommendation as to the accreditation decision for the proposed scope.适用时，就建议的范围提出认可决定的推荐意见。 | 7.8.6 | 改写
26 | 7.7.5 | 7.7.5The accreditation body shall, without undue delay, make the accreditation decision on the basis of an evaluation of all information received and any other relevant information. Without undue delay, the conformity assessment body shall be notified in writing of the decision including justification where relevant. 认可机构应基于对获得的所有信息（见7.9.3）和任何其他相关信息的评价做出认可决定，不应有不当延误；认可决定及其理由（相关时）应通知合格评定机构，不应有不当延误。 | 7.9.3 | 改写
27 | 7.8.1 | 7.8.1The accreditation body shall provide information on the accreditation to the accredited conformity assessment body that shall identify the following: a)the identity and, where relevant, the logo of the accreditation body; b)the name of the accredited conformity assessment body and, the name of the legal entity, if different; c)scope of accreditation; d)locations of the accredited conformity assessment body, and as applicable the conformity assessment activities performed at each location and covered by the scope of accreditation; e)the unique accreditation identification of the accredited conformity assessment body; f)the effective date of accreditation and if applicable its expiry or renewal date; g)a statement of conformity and a reference to the international standard(s) and/or other normative document(s), including issue or revision used for assessment of the conformity assessment body. NOTE: The information can be provided in an accreditation certificate or other suitable means (e.g. electronic media). 认可机构应向已认可的合格评定机构提供认可信息。这些信息应标明： a）认可机构的身份标识与徽标(相关时)； b）获得认可的合格评定机构名称, 若该名称与其法律实体名称不同，还应标明其法律实体名称； c）认可范围； d) 获认可的合格评定机构的场所， 适用时包括每一场所实施的合格评定活动及覆盖的认可范围； e）获得认可的合格评定机构唯一的认可识别信息； f）认可的生效日期，适用时，认可的失效日期； g）符合性声明以及对该合格评定机构评审所采用的标准和/或其他规范性文件（包括版次或修订）。 注：信息可以认可证书或其他适当的方式（如电子媒介）提供。 | 7.9.4 | 改写
28 | 7.8.2 | 7.8.2The effective date of accreditation shall be the date of or a date after the accreditation decision. 初次认可的生效日期应是认可决定之日或之后的日期。 | 无 | 新增
29 | 7.8.3 | 全部 | 7.9.5 | 7.9.5的改写与新增
30 | 7.8.4 | 7.8.4When the accreditation body uses a flexible scope of accreditation, it shall have documented procedures on how it addresses and manages flexible scopes. The procedure shall include how the accreditation body addresses 7.8.3 bullets a) to h), including specifying how the information required for bullets (a) to (h) shall be maintained and made available on request.如果认可机构使用弹性范围，应有文件化的程序规定其如何处理与管理弹性范围。 该程序应包括认可机构如何满足条款7.8.3条款a)至h)的要求， 并规定条款a)至h)所要求的信息如何得到维护，如何在要求时提供。 | 无 | 新增
31 | 7.9.1 | 7.9.1An accreditation cycle shall begin at or after the date of the decision for granting the initial accreditation or decision after reassessment (see 7.9.4) and shall not be longer than 5 years. 认可周期开始于做出初次认可决定或复评（7.9.4）决定之日或之后，最长不应超过5年。 | 7.11.3 | 改写
32 | 7.9.2 | 7.9.2The accreditation body shall apply an assessment programme for assessing the conformity assessment body activities during the accreditation cycle to ensure that the conformity assessment activities representative of the scope of accreditation at the relevant locations are assessed during the accreditation cycle (see 7.4.4). Factors such as knowledge obtained by the accreditation body about the conformity assessment body’s management system and activities and the performance of the conformity assessment body shall be considered by the accreditation body when establishing the assessment programme. 在一个认可周期内，认可机构应运用评审方案来评审合格评定机构活动，确保认可范围内的相关场所中有代表性的所有合格评定活动得到评审（见7.4.4）。在制定评审方案时，认可机构应考虑其获取的有关合格评定机构管理体系及活动的信息以及合格评定机构的表现等因素。 | 7.11.2 | 改写
33 | 7.9.3 | 7.9.3The assessment programme shall ensure that the requirements of the international standards and other normative documents containing requirements for conformity assessment bodies and the scope of accreditation shall be assessed taking risk into consideration. A sample of the scope of accreditation shall be assessed at least every two years. The time between consecutive on-site assessments shall not exceed 2 years. However, if the accreditation body determines that an on-site assessment is not applicable it shall use another assessment technique to achieve the same objective as the on-site assessment being replaced and justify the use of such techniques e.g. remote assessment.基于风险考虑，评审方案应确保国际标准的要求、其他规范性文件要求（包括对合格评定机构的要求）以及认可范围得到评审。至少每2年应对认可范围的样本评审一次。两次连续的现场评审的时间间隔不应超过2年。如果认可机构确定现场评审不适用，应使用其他评审技术替代现场评审并达到相同的目的。 认可机构应证明使用该技术的适宜性（如：远程评审）。 | 7.11.3 | 改写
34 | 7.9.4 | 7.9.4Before the end of the accreditation cycle, a reassessment shall be planned and performed taking into consideration the information gathered from assessments performed over the accreditation cycle. The reassessment shall confirm the competence of the conformity assessment body and cover all the requirements of the standard(s) for which the conformity assessment body is accredited. An accreditation decision shall be made after the reassessment.认可周期结束前，应策划并实施复评，复评策划应考虑认可周期内从评审活动中收集的信息。复评应确认合格评定机构能力，并覆盖合格评定机构获得认可应符合的标准的全部要求。 应在复评后做出认可决定。 | 无 | 新增
35 | 7.9.5 | 7.9.5 The accreditation body may conduct extraordinary assessments as a result of complaints or changes, or other matters that may affect the ability of the conformity assessment body to fulfil requirements for accreditation. The accreditation body shall advise conformity assessment bodies of this possibility.认可机构可根据投诉、变更、可能影响合格评定机构满足认可要求能力的其他事件等来安排非例行评审。认可机构应告知合格评定机构这种可能性。 | 7.11.7 | 改写
36 | 7.10.1 | 7.10.1The accreditation body shall have a documented procedure for extending the scope of accreditation. Based on the risk associated with the activities or locations to be covered in the scope extension, the accreditation body shall define the appropriate assessment technique(s) to apply and consider the corresponding requirements defined in 7.3 to 7.9. 认可机构应有文件化的程序来扩大认可范围。基于拟扩大范围覆盖的活动或场所带来的风险， 认可机构应明确适用的评审技术并考虑7.3至7.9的相关要求。 | 7.12 | 改写
37 | 7.10.2 | 7.10.2The accreditation body shall take into account extensions granted when reviewing the assessment programme and planning the subsequent assessment.审核评审方案和策划后续评审时，认可机构应考虑已批准的扩大认可范围情况 | 无 | 新增
38 | 7.11.1 | 7.11.1The accreditation body shall have documented procedure(s) and criteria to decide in which circumstances the accreditation shall be suspended, withdrawn or reduced when an accredited conformity assessment body has failed to meet the requirements of accreditation or to abide by the rules for accreditation or has voluntarily requested a suspension, withdrawal or reduction. 认可机构应有文件化的程序和准则规定暂停、撤销和缩小认可的条件。当获认可的合格评定机构不能满足认可要求或认可规则时，或合格评定机构主动申请暂停、撤销或缩小认可时，认可机构应决定暂停、撤销或缩小认可。 | 7.13.1、7.13.2 | 改写
39 | 7.11.2 | 7.11.2Where there is evidence of fraudulent behaviour, or the conformity assessment body intentionally provides false information or conceals information, the accreditation body shall initiate its process for withdrawal of accreditation. 当证实存在欺诈行为，或合格评定机构故意提供虚假信息，或隐瞒信息，认可机构应撤销其认可资格。 | 无 | 新增
40 | 7.11.3 | 7.11.3The accreditation body shall have a documented procedure and criteria for lifting suspension of accreditation.认可机构应有文件化的程序和准则规定认可暂停的恢复。 | 无 | 新增
41 | 7.12 | 全部 | 无 | 新增
42 | 7.13.1 | 7.13.1The accreditation body shall have a documented process to receive, evaluate and make decisions on appeals.认可机构应有形成文件的过程来描述申诉的接收、评价和处理决定。 | 7.10.1 | 改写
43 | 7.13.2 | 7.13.2A description of the handling process for appeals shall be available to any interested party.利益相关方应可获得申诉处理过程的说明。 | 无 | 新增
44 | 7.13.3 | 7.13.3The accreditation body shall be responsible for all decisions at all levels of the handling process for appeals.认可机构应对申诉处理过程各个层次的所有决定负责。 | 无 | 新增
45 | 7.13.4 | 7.13.4Investigation and decision on appeals shall not result in any discriminatory actions.申诉的调查和决定不应带有歧视性。 | 无 | 新增
46 | 7.13.5 | 7.13.5The handling process for appeals shall include at least the following elements and methods: a)a description of the process for receiving, validating, investigating the appeal, and deciding what actions are to be taken in response to it; b)tracking and recording appeals, including actions undertaken to resolve them; c)ensuring that any appropriate action is taken in a timely manner. 申诉处理程序应至少包括以下要素和方法： a）申诉的接收、确认、调查以及决定采取何种措施回应申诉的过程描述； b）申诉的跟踪和记录，包括为解决申诉所采取的措施； c) 确保及时采取适当的措施。 | 无 | 新增
47 | 7.13.6 | 7.13.6The accreditation body receiving the appeal shall be responsible for gathering and verifying all necessary information to validate the appeal.认可机构应负责收集并核实所有必要的信息以对申诉进行确认。 | 无 | 新增
48 | 7.13.7 | 7.13.7The accreditation body shall acknowledge receipt of the appeal and provide the appellant with progress reports and the outcome.认可机构应告知投诉人已收到申诉，并向其提供申诉处理进程的报告和处理结果。 | 无 | 新增
49 | 7.13.8 | 7.13.8The decision to be communicated to the appellant shall be made by, or reviewed and approved by, individual(s) not involved in the activities in question.对送交申诉人的决定，应由与申诉所涉及的活动无关的人员做出、审查和批准。 | 无 | 新增
50 | 7.13.9 | 7.13.9The accreditation body shall give formal notice of the end of the appeals handling process to the appellant.认可机构应在申诉处理过程结束时正式通知申诉人。 | 无 | 新增
51 | 7.14.1 | 7.14.1The accreditation body shall maintain records on conformity assessment bodies to demonstrate that requirements for accreditation have been effectively fulfilled. 认可机构应保持合格评定机构的记录以证实认可要求得到了有效满足。 | 7.14.1 | 改写
52 | 7.14.2 | 7.14.2The accreditation body shall have a documented policy and documented procedures on the retention of records. Records of conformity assessment body shall be retained at least for the duration of the current cycle plus the previous full accreditation cycle.认可机构应有文件化的政策和程序规定记录的保存，应至少保存目前认可周期外加一个完整认可周期的合格评定机构记录。 | 7.14.2 | 改写

## 第八章
编号 | ISO/IEC 17011:2017 FDIS 条款号 | 内容 | 对应ISO/IEC 17011:2004条款号
1 | 8.1.1 | 8.1.1 The accreditation body shall be responsible for the management of all information obtained or created during the accreditation process. The accreditation body shall inform the conformity assessment body, in advance, of the information it intends to place in the public domain. Except for information that the conformity assessment body makes publicly available, or when agreed between the accreditation body and the conformity assessment body(e.g. for the purpose of responding to complaints), all other information obtained during accreditation process is considered proprietary information and shall be regarded as confidential.认可机构应对认可过程中获得或生成的所有信息承担管理责任。认可机构如打算在公共领域发布信息，应事先告知合格评定机构。认可过程中获得的所有信息应视为专有信息应予以保密，除非该信息是合格评定机构的公开信息或认可机构与合格评定机构达成了一致（如：对投诉做出的回应）的信息。 | 无 | 新增
2 | 8.1.2 | 8.1.2When the accreditation body is required by law or authorized by contractual arrangements to release confidential information, the conformity assessment body shall, unless prohibited by law, be notified of the information provided.当认可机构依据法律要求或合约安排授权发布保密信息时，除非法律禁止，应将所公开的信息通知相关合格评定机构。 | 无
3 | 8.1.3 | 8.1.3Information about the conformity assessment body obtained from sources other than the conformity assessment body (e.g. complainant, regulators) shall be confidential between the conformity assessment body and the accreditation body. The provider (source) of this information shall be confidential to the accreditation body and shall not be shared with the conformity assessment body, unless agreed by the source.从合格评定机构以外的其他来源（如投诉，监管机构）获得的有关信息应在合格评定机构和认可机构间保密。认可机构应对信息来源保密，未经信息提供者同意，不应与合格评定机构分享。 | 无
4 | 8.1.4 | 8.1.4Personnel, including any committee members, contractors, personnel of external bodies, or individuals acting on the accreditation body's behalf, shall keep confidential all information obtained or created during the performance of the accreditation body's activities. 人员（包括委员会成员、合同方、外部机构的人员或代表认可机构的个人） 应对在实施认可机构活动中获得或产生的所有信息保密。 | 无
5 | 8.2.1 | 8.2.1 The accreditation body shall make publicly available through publications, electronic media or other means, without request, and update at adequate intervals, the following: 认可机构应通过出版物，电子媒介或其他方式无条件公开，并按适当的时间间隔更新下列信息： a) information about the accreditation body: 关于认可机构的信息 1) information about the authority under which the accreditation body operates; 认可机构运作得到授权的信息。 2) a description of the accreditation body rights and duties; 认可机构权利和义务的说明； 3) general information about the means by which the accreditation body obtains financial support; 认可机构获得财务支持方式的基本信息 4) information about the accreditation body’s activities, other than accreditation; and除认可活动外，认可机构开展其他活动的信息 5) information about international recognition arrangements in which it is involved. 加入国际承认协议的信息 b) information about accreditation process: 关于认可过程的信息 1) detailed information about its accreditation schemes, including its assessment and accreditation processes; 关于认可方案的详细信息，包括认可评审和认可过程； 2） reference to the documents containing the requirements for accreditation; 包含认可要求的引用文件 3） general information about the fees relating to accreditation; 认可费用的信息； 4） a description of the rights and obligations of conformity assessment bodies; 合格评定机构权利和义务的说明； 5） information on procedures for lodging and handling complaints and appeals; and投诉和申诉的提出与处理程序的信息 6） information on the use of the accreditation symbol or other claims of accreditation. 认可标识使用或其他认可声明的信息 | 7.1.2 | 新增、修改
6 | 8.2.2 | 8.2.2 As a minimum the accreditation body shall make publicly available without request, information on conformity assessment bodies as described in 7.8.1 and, where applicable, information on suspension or withdrawal of accreditation, including dates and scopes. 认可机构应至少无条件公开条款7.8.1规定的合格评定机构信息，适用时公开暂停或撤销认可的信息，包括日期和范围。 NOTE In exceptional cases, access to certain information can be limited upon the request of the conformity assessment body (e.g. for security reasons). 注：在特殊情况下，特定信息可仅在合格评定机构要求时提供（如安全原因）。 | 8.2.1 | 修改
7 | 8.2.4 | 8.2.4 Following a decision on, and publication of, the changed requirements, the accreditation body shall verify that each accredited body conforms to the changed requirements. 认可机构在决定并公布认可要求变更后，应验证已认可的合格评定机构是否符合变更要求。 | 8.2.4 | 更改

## 第九章
编号 | ISO/IEC 17011:2017 FDIS条款号 | 内容 | 对应ISO/IEC 17011:2004条款号 | 备注
1 | 9.1 | 9.1 General总则 9.1.1 The accreditation body shall establish, document, implement and maintain a management system that is capable of supporting and demonstrating the consistent achievement of the requirements of this document. In addition to meeting the requirements of clauses in this document, the accreditation body shall implement a management system in accordance with option A(see 9.1.4) or with option B(see 9.1.5). 认可机构应建立、编制、实施和保持管理体系，该管理体系应能够支持和证明认可机构持续满足本标准要求。除满足本文件的要求外，认可机构应按照方式A（见9.1.4）或方式B（见9.1.5）来实施管理体系。 9.1.2 The accreditation body's management shall establish and document policies and objectives related to competence, consistency of operation and impartiality. The management shall provide evidence of its commitment to the development and implementation of the management system in accordance with the requirements of this document. The management shall ensure that the policies are understood, implemented and maintained at all levels of the accreditation body's organization. 认可机构管理层应制定有关认可机构能力、运作一致性和公正性的政策和目标，并形成文件。管理层应提供证据，以证实其对按本文件要求建立和实施管理体系的承诺。管理层应确保认可机构的政策在组织的各个层次上得到理解、实施和保持。 9.1.3 The accreditation body's top management shall assign responsibility and authority for: a) ensuring that policies and processes needed for the management system are established, implemented and maintained; b) reporting to top management on the performance of the management system and any need for improvement. 认可机构的最高管理者应分配以下职责和权力： a) 确保管理体系所需的政策和程序得到建立、实施和保持； b) 向最高管理者报告管理体系运行情况及任何改进需求。 9.1.4 Under option A, as a minimum, the management system of the accreditation body shall address the following, as elaborated in 9.2 to 9.8:  management system  document control  records control  nonconformities and corrective actions  improvement  internal audits management reviews 方式A，认可机构的管理体系应至少包括以下内容，这些内容在条款9.2至9.8中有详细规定：  管理体系；  文件控制；  记录控制；  不符合和纠正措施；  改进；  内部审核  管理评审； 9.1.5 Under option B, an accreditation body that has established and maintains a management system, in accordance with the requirements of ISO 9001, and that is capable of supporting and demonstrating the consistent fulfilment of ISO/IEC 17011, fulfils at least the management system section requirements. 方式B, 若认可机构已按照GB/T 19001要求建立并保持了管理体系，且能够支持并证实其持续符合本标准的要求，至少符合管理体系部分的要求。 9.1.5 Under option B, an accreditation body that has established and maintains a management system, in accordance with the requirements of ISO 9001, and that is capable of supporting and demonstrating the consistent fulfilment of this document, fulfils at least the management system section requirements. | 5.1 | “总则”基本全部修改
2 | 9.2.1 | The accreditation body shall operate a management system appropriate to the type, range and volume of work performed. All applicable requirements of this document shall be addressed either in a manual or in associated documents. The accreditation body shall ensure that the manual and relevant associated documents are accessible to its personnel and shall ensure effective implementation of the management system’s processes.认可机构应运行与其工作类型、范围和工作量相适应的管理体系。认可机构应在手册或关联文件中落实本文件中的所有适用要求。认可机构应确保其人员能够得到手册和相关文件，并确保管理体系过程的有效实施 | 5.2.2 | “体系程序的有效实施”改为“管理体系过程的有效实施”
3 | 9.2.2 | The accreditation body shall continually improve effectiveness of its management system in accordance with the requirements of this document.认可机构应按照本文件的要求持续改进管理体系的有效性。 | 无 | 新增
4 | 9.3 d) | d)to ensure that relevant versions of applicable documents are available at points of use;确保在使用地点能够获得适用文件的相关版本； | 5.3(d） | 更改
5 | 9.4.1 | 9.4.1The accreditation body shall establish documented procedures to define the controls needed for the identification, storage, protection, retrieval, retention time and disposition of its records.认可机构应建立文件化的程序来规定记录的识别、贮存、保护、检索、保存期限和处置的控制要求。 | 5.4.1 | 更改
6 | 9.4.2 | 9.4.2 The accreditation body shall establish documented procedures for retaining records for a period consistent with its contractual and obligations. Access to these records shall be consistent with the confidentiality arrangements. 认可机构应建立文件化的记录保存程序，记录保存期限应符合合同及义务。记录的调阅应符合保密安排。 | 5.4.2 | 更改：将“法律义务”改为“义务”
7 | 9.5 | a)identifying nonconformities (from complaints, internal audits or other sources);识别不符合（例如通过投诉、内部审核或其他来源发现不符合）； | 5.5 | 更改：增加“其他来源”
8 | 9.6 | 9.6Improvement改进 The accreditation body shall establish documented procedures to identify opportunities for improvement and to identify risks and take appropriate actions (see also 4.4).认可机构应建立文件化的程序，以识别改进机会及风险并采取适当措施（见条款4.4）。 | 5.6 | 更改
9 | 9.7.2 | Internal audits shall be performed normally once a year.内部审核通常应每年执行一次。认可机构应建立内部审核方案，建立时应考虑被审核的过程和区域的重要性及以往审核的结果。 | 5.7.2 | 更改：将“通常应每年至少进行一次”改为“核通常应每年执行一次”
10 | 9.7.4 a) | a) internal audits are conducted by competent personnel knowledgeable in accreditation, auditing and the requirements of this document; a) 内部审核由具有认可、审核及本文件要求知识的有能力的人员实施； | 5.7.3 a) | 更改：将“有资格的”改为“有能力的”
11 | 9.8.1 | 9.8.1 The accreditation body's management shall establish documented procedures to review its management system at planned intervals to ensure its continuing adequacy and effectiveness in satisfying the relevant requirements, including this document and the stated policies and objectives. These reviews shall be conducted at least once a year. 认可机构管理层应建立按策划的时间间隔对管理体系进行评审的文件化程序，以确保管理体系在满足包括本文件及规定方针和目标在内的相关要求方面， 具有持续的充分性和有效性。管理评审通常应至少每年进行一次。 | 5.8.1 | 更改，将“最高管理者”改为“管理层”
12 | 9.8.2 | d)safeguarding impartiality;维护公正性 ； h）status of corrective actions; 纠正措施的状况； i)the status of actions to address risks and opportunities; 针对风险或机会的措施的状况； m）analysis of appeals; and对申诉的分析； | 5.8.2 | 新增、修改